calibGenCAL Handbook

Version: v3r7

Zach Fewtrell

Aug '04, 2005

Requirements

This manual assumes you have the following software modules in working order.  In some circumstances you can get away w/ recent or similar versions, but this is the configuration that I have tested the software under...

- Windows XP

- EngineeringModel v5r0608p3

- calibGenCAL v3r7

- MRvcmt v0r18

- Python 2.4.1

  - Numeric 23.8

  - PyXML 0.8.4

calibGenCAL does run on Linux, but that is not covered in this guide.

Launching Applications & Scripts

The calibGenCAL CMT package is set up so that all component scripts and applications will be accessible to the system PATH environment variable once a 'cmt config' has been performed for the package.

The simplest way to do this is via the 'spawn' button in MRvcmt.

Note: You will need to properly ‘config’ and ‘make’ the calibGenCAL package and its dependents before starting.  You only need to do this once.  You will need to do it again if you change package versions or paths.

The 'spawn' button will spawn a system shell with the CMT environment fully configured.

The 'spawn' shell can be launched by right clicking the package name in MRvcmt.

Once the shell has been spawned, the user may execute any calibGenCAL application or script simply by typing in the name of the script

runSuiteParallel

PURPOSE:

- Loops through all towers & perform intNonlin, muonCalib, muTrigEff analysis on each tower

- Merge all single tower outputs

- Validate output

INPUTS

- cal digi event root files from calibGen, calu_collect_mu, & muTrg

WHAT IT DOESN’T DO

- genDACsettings, tholdCIGen

EXAMPLE CFG FILE

calibGenCAL/python/cfg/runSuiteParallel.cfg

WINDOWS COMMANDLINE

“runSuiteParallel cfgfile”

NOTES:

- The command line is simplified by the fact that we created a .bat file launcher (so the user doesn’t have to type “python blah.py etc..”

- The validation scripts are not official tests, they are mostly simple range checking.  A failure does not necessarily mean that the data is bad, but you should look at the outlying values which are selected by the val script and make your own determination of their validity.

- Each section is modular and may be individually enabled/disabled.  You should still fill out the parameters for all sections though, as successive phases will use info from previous phases to generate meta filenames & find their input files.

- Outputs are all written to the same folder & some are read back in by later stages from the same folder…. Don’t get fancy (

- Muon calibration is broken into 2 phases.

  - pedestals, which can be performed on 10k/tower event file w/ 4-range readout, non zero-suppressed

  - optical (asym, mevPerDac), which requires ideally 500k/tower events, 4-range readout.  Zero suppression is preferred but not required for speed & disk space reasons.

genFLEsettings, genFHEsettings, genULDsettings, genLACsettings

PURPOSE:

- Generate single tower online instrument configuration XML file for a single tower.

INPUTS

- FLE

  - fle2adc characterization xml file

  - adc2nrg xml file

  - relgain xml file

  - fle_fhe_bias xml file

- FHE

  - fhe2adc characterization xml file

  - adc2nrg xml file

  - relgain xml file

  - fle_fhe_bias xml file

- LAC

  - lac2adc characterization xml file

  - adc2nrg xml file

  - relgain xml file

- ULD

  - uld2adc characterization xml file

EXAMPLE CFG FILE

calibGenCAL/pythong/cfg/genXXXsettings.cfg

NOTES

This tool & its inputs are still single tower; you will have to execute it once per installed LAT tower.

To see an official command line usage statement, simply execute the program w/ no args.

WINDOWS COMMANDLINE

“genFLEsettings [-V] <MeV> <cfg_file> <out_xml_file>”

“genFHEsettings [-V] <GeV> <cfg_file> <out_xml_file>”

“genLACsettings [-V] <MeV> <cfg_file> <out_xml_file>”

“genULDsettings [-V] <cfg_file> <out_xml_file>”

tholdCIGen

PURPOSE

- generates full set (ULD,LAC,FLE,FHE) of threshold levels for offline simulation/reconstruction

INPUTS

- snapshot instrument configuration xml file (one per lat)

- (optional) override parts of snapshot configuration w/ fragment xml files

- uld2adc,fle2adc,fhe2adc,lac2adc characterization xml files (per tower)

- online pedestal xml file (per tower)

- fle_fhe bias files (per tower)

- intNonlin xml file (per lat)

WINDOWS COMMANDLINE

“tholdCIGen [-V] <cfg_file> <out_xml_file>”

EXAMPLE CFG FILE

calibGenCAL/python/cfg/tholdCIGen.cfg

NOTES

It is difficult to run this along w/ the other calibGenCAL analysis as (of late) calibGenCAL analysis has been performed after calibration runs but before muon collection runs.  To work properly tholdCIGen needs a snapshot file w/ properly calibrated config for muon collection.

Component Applications

There is a top level script, runSuiteParallel which will automate the process of launching most of these applications... It is modular to some extent... But if you need to repeat certain sub-stages, or if you have non-parallel input data, you will need to execute the component applications individually.

runCIFit.exe

OUTPUTS:

- integral nonlinearity (ADC->DAC) xml file for offline use

- txt file for internal use.

INPUT:

- 2 singlex16 files from calibGen online suite w/ the following configurations

1) le_only, he_gain=muon, le_gain=nominal, tack_delay=nominal,triggers=nominal, calib_gain=on

2) he_only, he_gain=muon, le_gain=nominal, tack_delay=nominal,triggers=nominal, calib_gain=off

Note: these files correspond respectively to the 3rd & 4th singlex16 runs of an 8 run calibGen suite.

EXAMPLE CFG:

calibGenCAL/src/ciFit_option.xml

NOTES:

Supports multi tower input, but processes only 1 tower @ a time

Note: Don’t forget to set TOWER_BAY config parameter to tower you wish to process.

WINDOWS COMMAND LINE

“runCIFit.exe config.xml”

runMuonCalib.exe

OUTPUTS

- pedestal, asymmetry, mevPerDAC xml files for offline use

- adc2nrg xml file for online use

- pedestal txt file for internal use

INPUT

1 or more 4-range muon collection files.

EXAMPLE CFG

calibGenCAL/src/muonCalib_option.xml

NOTES

-supports multi tower input, but processes only 1 tower @ a time

-each section (ped, asym, mevPerDAC) can be run separately by enabling/disabling appropriate Booleans in config file.

Note: Don’t forget to set TOWER_BAY config parameter to tower you wish to process.

WINDOWS COMMANDLINE

“runMuonCalib config.xml”

runMuTrigEff.exe

OUTPUTS:

fle_fhe_bias file for online use.

INPUT:

1 singlex16 CI file from muTrg suite

2 muon collection files from muTrg suite

1 pedestal txt file from muonCalib

EXAMPLE CFG:

calibGenCAL/src/MuTrigEff_option.xml

NOTES:

Supports multi tower input, but processes only 1 tower @ a time

Note: Don’t forget to set TOWER_BAY config parameter to tower you wish to process.

WINDOWS COMMANDLINE

“runMuTrigEff config.xml”

pedMerge, asymMerge, mevPerDacMerge, intNonlinMerge

*note: this file was generated by runSuiteParallel & contains merge parameters for all 4 calibration types.  Each merge script will read in only the parameters it requires.

OUTPUTS

Merged offline xml calibration files for full LAT

INPUTS

Single tower offline xml calibration files.

EXAMPLE CFG FILE(S)

calibGenCAL/python/cfg/xxxMerge.cfg

pedVal, asymVal, intNonlinVal, mevPerDacVal

PURPOSE

-validates offline calibration xml files

WINDOWS COMMANDLINE

pedVal [-V] [-L <log_file>] [-E <err_limit>] [-W <warn_limit>] [-R <root_file>] <xml_file>

asymVal [-V] [-L <log_file>] [-E <err_limit>] [-W <warn_limit>] [-R <root_file>] <xml_file>

mevPerDacVal [-V] [-L <log_file>] [-E <err_limit>] [-W <warn_limit>] [-R <root_file>] <xml_file>

intNonlinVal [-V] [-L <log_file>] [-E <err_limit>] [-W <warn_limit>] [-R <root_file>] <xml_file>

err_limit, warn_limit, root_file, log_file are all optional parameters

EXAMPLE CFG

None, all parameters are command line

NOTES

- The validation scripts are not official tests, they are mostly simple range checking.  A failure does not necessarily mean that the data is bad, but you should look at the outlying values which are selected by the validation script and make your own determination of their validity.