## data4plot
Tower 3 | CPT before sidewalls installation - No Cable 0 (Pisa) | CPT after turn over (Pisa) | CPT vacuum pre-test | LPT during rump up from RT to 1st hot soak 30C | CPT during 1st hot soak | LPT from1st hot to 1st cold soak 30C | LPT from1st hot to 1st cold soak 15C | LPT from 1st hot to 1st cold soak 0C | CPT during 1st cold soak -15C | LPT from1st cold to 2nd hot soak at 0C | LPT from1st cold to 2nd hot soak at 15C | LPT from1st cold to 2nd hot soak at 30C | CPT 2nd hot soak | LPT from 2nd hot to 2nd cold at -10C | CPT 2nd cold soak | LPT during 3rd ramp up at 0C | LPT from 2nd cold to 3rd hot soak at 0C | LPT from 2nd cold to 3rd hot soak at 0C\ | LPT from 2nd cold to 3rd hot soak at 15C | LPT from 2nd cold to 3rd hot soak at 30C | CPT 3rd hot Soak | LPT from 3rd hot to 3rd cold Soak at 30C | LPT from 3rd hot to 3rd cold Soak at 15C | LPT from 3rd hot to 3rd cold Soak at 0C | CPT during 3rd cold Soak | LPT from 3rd cold to 4th hot Soak at 0C | LPT from 3rd cold to 4th hot Soak (15C) | LPT from 3rd cold to 4th hot Soak (30C) | CPT 4th hot soak | LPT from 4th Hot to 4th Cold Soak at 30C | LPT from 4th Hot to 4th Cold Soak at 15C | LPT from 4th Hot to 4th Cold Soak at 0C | CPT 4th Cold Soak at -15C | LPT from 4th Cold Soak to RT | CPT at RT | CPT at SATP
Y17 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
X17 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 |  |  | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2
X16 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 |  |  | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3
Y16 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Y15 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
X15 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 |  |  | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4
X14 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Y14 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Y13 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5 |  |  | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5
X13 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
X12 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 1 | 1 | 0 | 0 | 0 | 0 | 1 | 1 | 1 | 0 | 0
Y12 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Y11 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
X11 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
X10 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Y10 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Y9 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
X9 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 |  |  | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1
X8 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Y8 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Y7 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 |  |  | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1
X7 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
X6 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Y6 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Y5 | 4 | 4 | 4 | 4 | 4 | 4 | 3 | 3 | 3 | 4 | 4 | 4 | 4 | 4 | 3 |  |  | 4 | 4 | 4 | 4 | 4 | 4 | 3 | 3 | 3 | 4 | 4 | 4 | 4 | 4 | 3 | 3 | 4 | 4 | 4
X5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
X4 | 10 | 9 | 9 | 10 | 10 | 10 | 9 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 9 |  |  | 10 | 9 | 10 | 9 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 9 | 10 | 10 | 10 | 10 | 10 | 10 | 9
Y4 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Y3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
X3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
X2 | 8 | 8 | 8 | 8 | 5 | 8 | 8 | 8 | 8 | 8 | 8 | 7 | 5 | 8 | 8 |  |  | 8 | 8 | 8 | 6 | 8 | 8 | 8 | 8 | 8 | 8 | 7 | 6 | 8 | 8 | 8 | 8 | 8 | 8 | 8
Y2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Y1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
X1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
X0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Y0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  |  | 0 | 1 | 1 | 1 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 1 | 0 | 0 | 1 | 1 | 1 | 1 | 1
| 16 | 16 | 16 | 16 | 16 | 16 | 16 | 16 | 16 | 16 | 16 | 16 | 16 | 16 | 16 | 16 | 16 | 16 | 16 | 16 | 16 | 16 | 16 | 16 | 16 | 16 | 16 | 16 | 16 | 16 | 16 | 16 | 16 | 16 | 16 | 16

## Disconnected chans Data
Tower 5 | [5 empty] | MCM (UCSC data) |  | CPT before sidewalls installation (INFN-Pisa gamma 37) |  |  |  | CPT after turn over (INFN-Pisa gamma 38) |  |  |  | CPT afterVib Test (Alenia) |  |  |  | CPT at SATP (Alenia) |  |  |  | CPT at SATP in vacuum (Alenia) |  |  |  | LPT during ramp up from RT to hot 30C |  |  |  | CPT during 1st hot soak (ALENIA beta 2) |  |  |  | LPT form 1st hot soak to 1st cold soak 30C |  |  |  | LPT form 1st hot soak to 1st cold soak 15C |  |  |  | LPT form 1st hot soak to 1st cold soak 0C |  |  |  | CPT during 1st cold soak -15C |  |  |  | LPT from 1stcold to 2nd hot soak at 0C |  |  |  | LPT from 1stcold to 2nd hot soakat 15C |  |  |  | LPT from 1stcold to 2nd hot soak at 30C |  |  |  | LPT from 2nd hot to 2nd cold at -10C |  |  |  | CPT 2nd cold soak |  |  |  | LPT from 2nd cold to 3rd hot soak at 0C |  |  |  | LPT from 2nd cold to 3rd hot soak at 15C |  |  |  | LPT from 2nd cold to 3rd hot soak at 30C |  |  |  | CPT during 3rd Hot Soak |  |  |  | LPT ramp down from 3rd hot to 3rd cold soak (30C) |  |  |  | LPT ramp down from 3rd hot to 3rd cold soak (15C) |  |  |  | LPT ramp down from 3rd hot to 3rd cold soak (0C) |  |  |  | CPT during 3rd cold soak |  |  |  | LPT ramp up from 3rd cold to 4th hot soak (0C) |  |  |  | LPT from 3rd cold to 4th hot Soak (15C) |  |  |  | LPT from 3rd cold to 4th hot Soak (30C) |  |  |  | CPT 4th Hot soak |  |  |  | LPT from 4th Hot to 4th Cold Soak 30C |  |  |  | LPT 4th Hot to 4th Cold Soak at 15C |  |  |  | LPT 4th Hot to 4th Cold Soak at 0C |  |  |  | CPT at 4th Cold Soak |  |  |  | LPT from 4th cold to RT (15C) |  |  |  | CPT at RT in vacuum |  |  |  | CPT at SATP |  |  |  | CPT at SATP
(GTCCs, GTRC) | Layer | Tray | Box | Side | MCM | n disc. ch. | disc. Chans | n disc. | disc. Chans | Variation | Notes | n disc. | disc. Chans | Variation | Notes | n disc. | disc. Chans | Variation | Notes | n disc. | disc. Chans | Variation | Notes | n disc. | disc. Chans | Variation | Notes | n disc. | disc. Chans | Variation | Notes | n disc. | disc. Chans | Variation | Notes | n disc. | disc. Chans | Variation | Notes | n disc. | disc. Chans | Variation | Notes | n disc. | disc. Chans | Variation | Notes | n disc. | disc. Chans | Variation | Notes | n disc. | disc. Chans | Variation | Notes | n disc. | disc. Chans | Variation | Notes | n disc. | disc. Chans | Variation | Notes | n disc. | disc. Chans | Variation | Notes | n disc. | disc. Chans | Variation | Notes | n disc. | disc. Chans | Variation | Notes | n disc. | disc. Chans | Variation | Notes | n disc. | disc. Chans | Variation | Notes | n disc. | disc. Chans | Variation | Notes | n disc. | disc. Chans | Variation | Notes | n disc. | disc. Chans | Variation | Notes | n disc. | disc. Chans | Variation | Notes | n disc. | disc. Chans | Variation | Notes | n disc. | disc. Chans | Variation | Notes | n disc. | disc. Chans | Variation | Notes | n disc. | disc. Chans | Variation | Notes | n disc. | disc. Chans | Variation | Notes | n disc. | disc. Chans | Variation | Notes | n disc. | disc. Chans | Variation | Notes | n disc. | disc. Chans | Variation | Notes | n disc. | disc. Chans | Variation | Notes | n disc. | disc. Chans | Variation | Notes | n disc. | disc. Chans | Variation | Notes | n disc. | disc. Chans | Variation | Notes | n disc. | disc. Chans | Variation | Notes
[6 empty] | (Pitch adaptor) |  | (Low ENC) |  |  |  | (Low ENC) |  |  |  | (Low ENC) |  |  |  | (Low ENC) |  |  |  | (Low ENC) |  |  |  | (Low ENC) |  |  |  | (Low ENC) |  |  |  | (Low ENC) |  |  |  | (Low ENC) |  |  |  | (Low ENC) |  |  |  | (Low ENC) |  |  |  | (Low ENC) |  |  |  | (Low ENC) |  |  |  | (Low ENC) |  |  |  | (Low ENC) |  |  |  | (Low ENC) |  |  |  | (Low ENC) |  |  |  | (Low ENC) |  |  |  | (Low ENC) |  |  |  | (Low ENC) |  |  |  | (Low ENC) |  |  |  | (Low ENC) |  |  |  | (Low ENC) |  |  |  | (Low ENC) |  |  |  | (Low ENC) |  |  |  | (Low ENC) |  |  |  | (Low ENC) |  |  |  | (Low ENC) |  |  |  | (Low ENC) |  |  |  | (Low ENC) |  |  |  | (Low ENC) |  |  |  | (Low ENC) |  |  |  | (Low ENC) |  |  |  | (Low ENC) |  |  |  | (Low ENC) |  |  |  | (Low ENC)
(4, 5, 8) | Y17 | TOP 008 | 98 | Back | 11347 |  |  | 0 | - |  |  | 0 | - | - | [5 empty] | 0 | - | - |  | 0 | - | - |  | 0 | - | - |  | 0 | - | - |  | 0 | - | - |  | 0 | - | - |  | 0 | - | - |  | 0 | - | - |  | 0 |  | - |  | 0 |  | - |  | 0 |  | - |  | 0 |  | - |  | 0 |  | - |  | 0 |  | - |  | 0 |  | - |  | 0 |  | - |  | 0 |  | - |  | 0 |  | - |  | 0 |  | - |  | 0 |  | - |  | 0 |  | - |  | 0 |  | - |  | 0 |  | - |  | 0 |  | - |  | 0 |  | - |  | 0 |  | - |  | 0 |  | - |  | 0 |  | - |  | 0 |  | - |  | 0 |  | - |  | 0 |  | - |  | 0 |  | - |  | 0 |  | -
(6, 7, 8) | X17 | MID 034 | 113 | Front | 543 |  |  | 2 | 738, 748 |  |  | 2 | 738, 748 | - | [5 empty] | 2 | 738, 748 | - |  | 2 | 738, 748 | - |  | 2 | 738, 748 | - |  | 2 | 738, 748 | - |  | 2 | 738, 748 | - |  | 2 | 738, 748 | - |  | 2 | 738, 748 | - |  | 2 | 738, 748 | - |  | 2 | 738, 748 | - |  | 2 | 738, 748 | - |  | 2 | 738, 748 | - |  | 2 | 738, 748 | - |  | 2 | 738, 748 | - |  | 2 | 738, 748 | - |  | 2 | 738, 748 | - |  | 2 | 738, 748 | - |  | 2 | 738, 748 | - |  | 2 | 738, 748 | - |  | 2 | 738, 748 | - |  | 2 | 738, 748 | - |  | 2 | 738, 748 | - |  | 2 | 738, 748 | - |  | 2 | 738, 748 | - |  | 2 | 738, 748 | - |  | 2 | 738, 748 | - |  | 2 | 738, 748 | - |  | 2 | 738, 748 | - |  | 2 | 738, 748 | - |  | 2 | 738, 748 | - |  | 2 | 738, 748 | - |  | 2 | 738, 748 | - |  | 2 | 738, 748 | - |  | 2 | 738, 748 | -
(2, 3, 8) | X16 |  |  | Back | 11377 |  |  | 3 | 586, 739, 751 |  |  | 3 | 586, 739, 751 | - | [5 empty] | 3 | 586, 739, 751 | - |  | 3 | 586, 739, 751 | - |  | 3 | 586, 739, 751 | - |  | 3 | 586, 739, 751 | - |  | 3 | 586, 739, 751 | - |  | 3 | 586, 739, 751 | - |  | 3 | 586, 739, 751 | - |  | 3 | 586, 739, 751 | - |  | 3 | 586, 739, 751 | - |  | 3 | 586, 739, 751 | - |  | 3 | 586, 739, 751 | - |  | 3 | 586, 739, 751 | - |  | 3 | 586, 739, 751 | - |  | 3 | 586, 739, 751 | - |  | 3 | 586, 739, 751 | - |  | 3 | 586, 739, 751 | - |  | 3 | 586, 739, 751 | - |  | 3 | 586, 739, 751 | - |  | 3 | 586, 739, 751 | - |  | 3 | 586, 739, 751 | - |  | 3 | 586, 739, 751 | - |  | 3 | 586, 739, 751 | - |  | 3 | 586, 739, 751 | - |  | 3 | 586, 739, 751 | - |  | 3 | 586, 739, 751 | - |  | 3 | 586, 739, 751 | - |  | 3 | 586, 739, 751 | - |  | 3 | 586, 739, 751 | - |  | 3 | 586, 739, 751 | - |  | 3 | 586, 739, 751 | - |  | 3 | 586, 739, 751 | - |  | 3 | 586, 739, 751 | - |  | 3 | 586, 739, 751 | -
(0, 1, 8) | Y16 | MID 033 | 108 | Front | 312 |  |  | 0 | - |  |  | 0 | - | - | [5 empty] | 0 | - | - |  | 0 | - | - |  | 0 | - | - |  | 0 | - | - |  | 0 | - | - |  | 0 | - | - |  | 0 | - | - |  | 0 | - | - |  | 0 |  | - |  | 0 |  | - |  | 0 |  | - |  | 0 |  | - |  | 0 |  | - |  | 0 |  | - |  | 0 |  | - |  | 0 |  | - |  | 0 |  | - |  | 0 |  | - |  | 0 |  | - |  | 0 |  | - |  | 0 |  | - |  | 0 |  | - |  | 0 |  | - |  | 0 |  | - |  | 0 |  | - |  | 0 |  | - |  | 0 |  | - |  | 0 |  | - |  | 0 |  | - |  | 0 |  | - |  | 0 |  | - |  | 0 |  | - |  | 0 |  | -
(4, 5, 7) | Y15 |  |  | Back | 11029 |  |  | 0 | - |  |  | 0 | - | - | [5 empty] | 0 | - | - |  | 0 | - | - |  | 0 | - | - |  | 0 | - | - |  | 0 | - | - |  | 0 | - | - |  | 0 | - | - |  | 0 | - | - |  | 0 |  | - |  | 0 |  | - |  | 0 |  | - |  | 0 |  | - |  | 0 |  | - |  | 0 |  | - |  | 0 |  | - |  | 0 |  | - |  | 0 |  | - |  | 0 |  | - |  | 0 |  | - |  | 0 |  | - |  | 0 |  | - |  | 0 |  | - |  | 0 |  | - |  | 0 |  | - |  | 0 |  | - |  | 0 |  | - |  | 0 |  | - |  | 0 |  | - |  | 0 |  | - |  | 0 |  | - |  | 0 |  | - |  | 0 |  | - |  | 0 |  | -
(6, 7, 7) | X15 | MID 054 | 106 | Front | 11296 |  |  | 4 | 31, 72, 1432, 1494 |  |  | 4 | 31, 72, 1432, 1494 | - | [5 empty] | 4 | 31, 72, 1432, 1494 | - |  | 4 | 31, 72, 1432, 1494 | - |  | 4 | 31, 72, 1432, 1494 | - |  | 4 | 31, 72, 1432, 1494 | - |  | 4 | 31, 72, 1432, 1494 | - |  | 4 | 31, 72, 1432, 1494 | - |  | 4 | 31, 72, 1432, 1494 | - |  | 4 | 31, 72, 1432, 1494 | - |  | 4 | 31, 72, 1432, 1494 | - |  | 4 | 31, 72, 1432, 1494 | - |  | 4 | 31, 72, 1432, 1494 | - |  | 4 | 31, 72, 1432, 1494 | - |  | 4 | 31, 72, 1432, 1494 | - |  | 4 | 31, 72, 1432, 1494 | - |  | 4 | 31, 72, 1432, 1494 | - |  | 4 | 31, 72, 1432, 1494 | - |  | 4 | 31, 72, 1432, 1494 | - |  | 4 | 31, 72, 1432, 1494 | - |  | 4 | 31, 72, 1432, 1494 | - |  | 4 | 31, 72, 1432, 1494 | - |  | 4 | 31, 72, 1432, 1494 | - |  | 4 | 31, 72, 1432, 1494 | - |  | 4 | 31, 72, 1432, 1494 | - |  | 4 | 31, 72, 1432, 1494 | - |  | 4 | 31, 72, 1432, 1494 | - |  | 4 | 31, 72, 1432, 1494 | - |  | 4 | 31, 72, 1432, 1494 | - |  | 4 | 31, 72, 1432, 1494 | - |  | 4 | 31, 72, 1432, 1494 | - |  | 4 | 31, 72, 1432, 1494 | - |  | 4 | 31, 72, 1432, 1494 | - |  | 4 | 31, 72, 1432, 1494 | - |  | 4 | 31, 72, 1432, 1494 | -
(2, 3, 7) | X14 |  |  | Back | 677 |  |  | 0 | - |  |  | 0 | - | - | [5 empty] | 0 | - | - |  | 0 | - | - |  | 0 | - | - |  | 0 | - | - |  | 0 | - | - |  | 0 | - | - |  | 0 | - | - |  | 0 | - | - |  | 0 |  | - |  | 0 |  | - |  | 0 |  | - |  | 0 |  | - |  | 0 |  | - |  | 0 |  | - |  | 0 |  | - |  | 0 |  | - |  | 0 |  | - |  | 0 |  | - |  | 0 |  | - |  | 0 |  | - |  | 0 |  | - |  | 0 |  | - |  | 0 |  | - |  | 0 |  | - |  | 0 |  | - |  | 0 |  | - |  | 0 |  | - |  | 0 |  | - |  | 0 |  | - |  | 0 |  | - |  | 0 |  | - |  | 0 |  | - |  | 0 |  | -
(0, 1, 7) | Y14 | MID 003 | 107 | Front | 456 |  |  | 0 | - |  |  | 0 | - | - | [5 empty] | 0 | - | - |  | 0 | - | - |  | 0 | - | - |  | 0 | - | - |  | 0 | - | - |  | 0 | - | - |  | 0 | - | - |  | 0 | - | - |  | 0 |  | - |  | 0 |  | - |  | 0 |  | - |  | 0 |  | - |  | 0 |  | - |  | 0 |  | - |  | 0 |  | - |  | 0 |  | - |  | 0 |  | - |  | 0 |  | - |  | 0 |  | - |  | 0 |  | - |  | 0 |  | - |  | 0 |  | - |  | 0 |  | - |  | 0 |  | - |  | 0 |  | - |  | 0 |  | - |  | 0 |  | - |  | 0 |  | - |  | 0 |  | - |  | 0 |  | - |  | 0 |  | - |  | 0 |  | - |  | 0 |  | -
(4, 5, 6) | Y13 |  |  | Back | 11398 |  |  | 5 | 65, 66, 67, 68, 69 |  | bonds removed during assembly | 5 | 65, 66, 67, 68, 69 | - | [5 empty] | 5 | 65, 66, 67, 68, 69 | - |  | 5 | 65, 66, 67, 68, 69 | - |  | 5 | 65, 66, 67, 68, 69 | - |  | 5 | 65, 66, 67, 68, 69 | - |  | 5 | 65, 66, 67, 68, 69 | - |  | 5 | 65, 66, 67, 68, 69 | - |  | 5 | 65, 66, 67, 68, 69 | - |  | 5 | 65, 66, 67, 68, 69 | - |  | 5 | 65, 66, 67, 68, 69 | - |  | 5 | 65, 66, 67, 68, 69 | - |  | 5 | 65, 66, 67, 68, 69 | - |  | 5 | 65, 66, 67, 68, 69 | - |  | 5 | 65, 66, 67, 68, 69 | - |  | 5 | 65, 66, 67, 68, 69 | - |  | 5 | 65, 66, 67, 68, 69 | - |  | 5 | 65, 66, 67, 68, 69 | - |  | 5 | 65, 66, 67, 68, 69 | - |  | 5 | 65, 66, 67, 68, 69 | - |  | 5 | 65, 66, 67, 68, 69 | - |  | 5 | 65, 66, 67, 68, 69 | - |  | 5 | 65, 66, 67, 68, 69 | - |  | 5 | 65, 66, 67, 68, 69 | - |  | 5 | 65, 66, 67, 68, 69 | - |  | 5 | 65, 66, 67, 68, 69 | - |  | 5 | 65, 66, 67, 68, 69 | - |  | 5 | 65, 66, 67, 68, 69 | - |  | 5 | 65, 66, 67, 68, 69 | - |  | 5 | 65, 66, 67, 68, 69 | - |  | 5 | 65, 66, 67, 68, 69 | - |  | 5 | 65, 66, 67, 68, 69 | - |  | 5 | 65, 66, 67, 68, 69 | - |  | 5 | 65, 66, 67, 68, 69 | - |  | 5 | 65, 66, 67, 68, 69 | -
(6, 7, 6) | X13 | MID 109 | 112 | Front | 655 |  |  | 0 | - |  |  | 0 | - | - | [5 empty] | 0 | - | - |  | 0 | - | - |  | 0 | - | - |  | 0 | - | - |  | 0 | - | - |  | 0 | - | - |  | 0 | - | - |  | 0 | - | - |  | 0 |  | - |  | 0 |  | - |  | 0 |  | - |  | 0 |  | - |  | 0 |  | - |  | 0 |  | - |  | 0 |  | - |  | 0 |  | - |  | 0 |  | - |  | 0 |  | - |  | 0 |  | - |  | 0 |  | - |  | 0 |  | - |  | 0 |  | - |  | 0 |  | - |  | 0 |  | - |  | 0 |  | - |  | 0 |  | - |  | 0 |  | - |  | 0 |  | - |  | 0 |  | - |  | 0 |  | - |  | 0 |  | - |  | 0 |  | - |  | 0 |  | -
(2, 3, 6) | X12 |  |  | Back | 591 |  |  | 0 | - |  |  | 0 | - | - | [5 empty] | 0 | - | - |  | 0 | - | - |  | 0 | - | - |  | 0 | - | - |  | 0 | - | - |  | 0 | - | - |  | 0 | - | - |  | 0 | - | - |  | 0 |  | - |  | 0 |  | - |  | 0 |  | - |  | 0 |  | - |  | 0 |  | - |  | 0 |  | - |  | 0 |  | - |  | 0 |  | - |  | 0 |  | - |  | 0 |  | - |  | 0 |  | - |  | 1 | 768 | 1 |  | 1 | 768 | - |  | 1 | 768 | - |  | 1 | 768 | - |  | 0 |  | -1 |  | 0 |  | - |  | 0 |  | - |  | 0 |  | - |  | 1 | 768 | 1 |  | 1 | 768 | - |  | 1 | 768 | - |  | 0 |  | -1 |  | 0 |  | - |  | 0 |  | -
(0, 1, 6) | Y12 | MID 098 | 117 | Front | 340 |  |  | 0 | - |  |  | 0 | - | - | [5 empty] | 0 | - | - |  | 0 | - | - |  | 0 | - | - |  | 0 | - | - |  | 0 | - | - |  | 0 | - | - |  | 0 | - | - |  | 0 | - | - |  | 0 |  | - |  | 0 |  | - |  | 0 |  | - |  | 0 |  | - |  | 0 |  | - |  | 0 |  | - |  | 0 |  | - |  | 0 |  | - |  | 0 |  | - |  | 0 |  | - |  | 0 |  | - |  | 0 |  | - |  | 0 |  | - |  | 0 |  | - |  | 0 |  | - |  | 0 |  | - |  | 0 |  | - |  | 0 |  | - |  | 0 |  | - |  | 0 |  | - |  | 0 |  | - |  | 0 |  | - |  | 0 |  | - |  | 0 |  | - |  | 0 |  | -
(4, 5, 5) | Y11 |  |  | Back | 570 |  |  | 0 | - |  |  | 0 | - | - | [5 empty] | 0 | - | - |  | 0 | - | - |  | 0 | - | - |  | 0 | - | - |  | 0 | - | - |  | 0 | - | - |  | 0 | - | - |  | 0 | - | - |  | 0 |  | - |  | 0 |  | - |  | 0 |  | - |  | 0 |  | - |  | 0 |  | - |  | 0 |  | - |  | 0 |  | - |  | 0 |  | - |  | 0 |  | - |  | 0 |  | - |  | 0 |  | - |  | 0 |  | - |  | 0 |  | - |  | 0 |  | - |  | 0 |  | - |  | 0 |  | - |  | 0 |  | - |  | 0 |  | - |  | 0 |  | - |  | 0 |  | - |  | 0 |  | - |  | 0 |  | - |  | 0 |  | - |  | 0 |  | - |  | 0 |  | -
(6, 7, 5) | X11 | MID 087 | 114 | Front | 11496 |  |  | 0 | - |  |  | 0 | - | - | [5 empty] | 0 | - | - |  | 0 | - | - |  | 0 | - | - |  | 0 | - | - |  | 0 | - | - |  | 0 | - | - |  | 0 | - | - |  | 0 | - | - |  | 0 |  | - |  | 0 |  | - |  | 0 |  | - |  | 0 |  | - |  | 0 |  | - |  | 0 |  | - |  | 0 |  | - |  | 0 |  | - |  | 0 |  | - |  | 0 |  | - |  | 0 |  | - |  | 0 |  | - |  | 0 |  | - |  | 0 |  | - |  | 0 |  | - |  | 0 |  | - |  | 0 |  | - |  | 0 |  | - |  | 0 |  | - |  | 0 |  | - |  | 0 |  | - |  | 0 |  | - |  | 0 |  | - |  | 0 |  | - |  | 0 |  | -
(2, 3, 5) | X10 |  |  | Back | 592 |  |  | 1 | 1050 |  |  | 0 | - | -1 | [5 empty] | 0 | - | - |  | 0 | - | - |  | 0 | - | - |  | 0 | - | - |  | 0 | - | - |  | 0 | - | - |  | 0 | - | - |  | 0 | - | - |  | 0 |  | - |  | 0 |  | - |  | 0 |  | - |  | 0 |  | - |  | 0 |  | - |  | 0 |  | - |  | 0 |  | - |  | 0 |  | - |  | 0 |  | - |  | 0 |  | - |  | 0 |  | - |  | 0 |  | - |  | 0 |  | - |  | 0 |  | - |  | 0 |  | - |  | 0 |  | - |  | 0 |  | - |  | 0 |  | - |  | 0 |  | - |  | 0 |  | - |  | 0 |  | - |  | 0 |  | - |  | 0 |  | - |  | 0 |  | - |  | 0 |  | -
(0, 1, 5) | Y10 | MID 070 | 73 | Front | 11520 |  |  | 0 | - |  |  | 0 | - | - | [5 empty] | 0 | - | - |  | 0 | - | - |  | 0 | - | - |  | 0 | - | - |  | 0 | - | - |  | 0 | - | - |  | 0 | - | - |  | 0 | - | - |  | 0 |  | - |  | 0 |  | - |  | 0 |  | - |  | 0 |  | - |  | 0 |  | - |  | 0 |  | - |  | 0 |  | - |  | 0 |  | - |  | 0 |  | - |  | 0 |  | - |  | 0 |  | - |  | 0 |  | - |  | 0 |  | - |  | 0 |  | - |  | 0 |  | - |  | 0 |  | - |  | 0 |  | - |  | 0 |  | - |  | 0 |  | - |  | 0 |  | - |  | 0 |  | - |  | 0 |  | - |  | 0 |  | - |  | 0 |  | - |  | 0 |  | -
(4, 5, 4) | Y9 |  |  | Back | 11459 |  |  | 0 | - |  |  | 0 | - | - | [5 empty] | 0 | - | - |  | 0 | - | - |  | 0 | - | - |  | 0 | - | - |  | 0 | - | - |  | 0 | - | - |  | 0 | - | - |  | 0 | - | - |  | 0 |  | - |  | 0 |  | - |  | 0 |  | - |  | 0 |  | - |  | 0 |  | - |  | 0 |  | - |  | 0 |  | - |  | 0 |  | - |  | 0 |  | - |  | 0 |  | - |  | 0 |  | - |  | 0 |  | - |  | 0 |  | - |  | 0 |  | - |  | 0 |  | - |  | 0 |  | - |  | 0 |  | - |  | 0 |  | - |  | 0 |  | - |  | 0 |  | - |  | 0 |  | - |  | 0 |  | - |  | 0 |  | - |  | 0 |  | - |  | 0 |  | -
(6, 7, 4) | X9 | MID 086 | 109 | Front | 11368 |  |  | 1 | 80 |  |  | 1 | 80 | - | [5 empty] | 1 | 80 | - |  | 1 | 80 | - |  | 1 | 80 | - |  | 1 | 80 | - |  | 1 | 80 | - |  | 1 | 80 | - |  | 1 | 80 | - |  | 1 | 80 | - |  | 1 | 80 | - |  | 1 | 80 | - |  | 1 | 80 | - |  | 1 | 80 | - |  | 1 | 80 | - |  | 1 | 80 | - |  | 1 | 80 | - |  | 1 | 80 | - |  | 1 | 80 | - |  | 1 | 80 | - |  | 1 | 80 | - |  | 1 | 80 | - |  | 1 | 80 | - |  | 1 | 80 | - |  | 1 | 80 | - |  | 1 | 80 | - |  | 1 | 80 | - |  | 1 | 80 | - |  | 1 | 80 | - |  | 1 | 80 | - |  | 1 | 80 | - |  | 1 | 80 | - |  | 1 | 80 | - |  | 1 | 80 | - |  | 1 | 80 | -
(2, 3, 4) | X8 |  |  | Back | 11379 |  |  | 0 | - |  |  | 0 | - | - | [5 empty] | 0 | - | - |  | 0 | - | - |  | 0 | - | - |  | 0 | - | - |  | 0 | - | - |  | 0 | - | - |  | 0 | - | - |  | 0 | - | - |  | 0 |  | - |  | 0 |  | - |  | 0 |  | - |  | 0 |  | - |  | 0 |  | - |  | 0 |  | - |  | 0 |  | - |  | 0 |  | - |  | 0 |  | - |  | 0 |  | - |  | 0 |  | - |  | 0 |  | - |  | 0 |  | - |  | 0 |  | - |  | 0 |  | - |  | 0 |  | - |  | 0 |  | - |  | 0 |  | - |  | 0 |  | - |  | 0 |  | - |  | 0 |  | - |  | 0 |  | - |  | 0 |  | - |  | 0 |  | - |  | 0 |  | -
(0, 1, 4) | Y8 | MID 084 | 74 | Front | 11384 |  |  | 0 | - |  |  | 0 | - | - | [5 empty] | 0 | - | - |  | 0 | - | - |  | 0 | - | - |  | 0 | - | - |  | 0 | - | - |  | 0 | - | - |  | 0 | - | - |  | 0 | - | - |  | 0 |  | - |  | 0 |  | - |  | 0 |  | - |  | 0 |  | - |  | 0 |  | - |  | 0 |  | - |  | 0 |  | - |  | 0 |  | - |  | 0 |  | - |  | 0 |  | - |  | 0 |  | - |  | 0 |  | - |  | 0 |  | - |  | 0 |  | - |  | 0 |  | - |  | 0 |  | - |  | 0 |  | - |  | 0 |  | - |  | 0 |  | - |  | 0 |  | - |  | 0 |  | - |  | 0 |  | - |  | 0 |  | - |  | 0 |  | - |  | 0 |  | -
(4, 5, 3) | Y7 |  |  | Back | 342 |  |  | 1 | 116 |  |  | 1 | 116 | - | [5 empty] | 1 | 116 | - |  | 1 | 116 | - |  | 1 | 116 | - |  | 1 | 116 | - |  | 1 | 116 | - |  | 1 | 116 | - |  | 1 | 116 | - |  | 1 | 116 | - |  | 1 | 116 | - |  | 1 | 116 | - |  | 1 | 116 | - |  | 1 | 116 | - |  | 1 | 116 | - |  | 1 | 116 | - |  | 1 | 116 | - |  | 1 | 116 | - |  | 1 | 116 | - |  | 1 | 116 | - |  | 1 | 116 | - |  | 1 | 116 | - |  | 1 | 116 | - |  | 1 | 116 | - |  | 1 | 116 | - |  | 1 | 116 | - |  | 1 | 116 | - |  | 1 | 116 | - |  | 1 | 116 | - |  | 1 | 116 | - |  | 1 | 116 | - |  | 1 | 116 | - |  | 1 | 116 | - |  | 1 | 116 | - |  | 1 | 116 | -
(6, 7, 3) | X7 | MID 104 | 105 | Front | 11030 |  |  | 0 | - |  |  | 0 | - | - | [5 empty] | 0 | - | - |  | 0 | - | - |  | 0 | - | - |  | 0 | - | - |  | 0 | - | - |  | 0 | - | - |  | 0 | - | - |  | 0 | - | - |  | 0 |  | - |  | 0 |  | - |  | 0 |  | - |  | 0 |  | - |  | 0 |  | - |  | 0 |  | - |  | 0 |  | - |  | 0 |  | - |  | 0 |  | - |  | 0 |  | - |  | 0 |  | - |  | 0 |  | - |  | 0 |  | - |  | 0 |  | - |  | 0 |  | - |  | 0 |  | - |  | 0 |  | - |  | 0 |  | - |  | 0 |  | - |  | 0 |  | - |  | 0 |  | - |  | 0 |  | - |  | 0 |  | - |  | 0 |  | - |  | 0 |  | -
(2, 3, 3) | X6 |  |  | Back | 11423 |  |  | 0 | - |  |  | 0 | - | - | [5 empty] | 0 | - | - |  | 0 | - | - |  | 0 | - | - |  | 0 | - | - |  | 0 | - | - |  | 0 | - | - |  | 0 | - | - |  | 0 | - | - |  | 0 |  | - |  | 0 |  | - |  | 0 |  | - |  | 0 |  | - |  | 0 |  | - |  | 0 |  | - |  | 0 |  | - |  | 0 |  | - |  | 0 |  | - |  | 0 |  | - |  | 0 |  | - |  | 0 |  | - |  | 0 |  | - |  | 0 |  | - |  | 0 |  | - |  | 0 |  | - |  | 0 |  | - |  | 0 |  | - |  | 0 |  | - |  | 0 |  | - |  | 0 |  | - |  | 0 |  | - |  | 0 |  | - |  | 0 |  | - |  | 0 |  | -
(0, 1, 3) | Y6 | HVY 013 | 115 | Front | 799 |  |  | 0 | - |  | 6 dead chans | 0 | - | - | 6 dead chans |  |  |  |  | 0 | - | - |  | 0 | - | - |  | 0 | - | - |  | 0 | - | - |  | 0 | - | - |  | 0 | - | - |  | 0 | - | - |  | 0 | - | - |  | 0 |  | - |  | 0 |  | - |  | 0 |  | - |  | 0 |  | - |  | 0 |  | - |  | 0 |  | - |  | 0 |  | - |  | 0 |  | - |  | 0 |  | - |  | 0 |  | - |  | 0 |  | - |  | 0 |  | - |  | 0 |  | - |  | 0 |  | - |  | 0 |  | - |  | 0 |  | - |  | 0 |  | - |  | 0 |  | - |  | 0 |  | - |  | 0 |  | - |  | 0 |  | - |  | 0 |  | - |  | 0 |  | - |  | 0 |  | - |  | 0 |  | -
(4, 5, 2) | Y5 |  |  | Back | 1067 |  |  | 4 | 1358, 1359, 1461, 1462 |  |  | 4 | 1358, 1359, 1461, 1462 | - | [5 empty] | 4 | 1358, 1359, 1461, 1462 | - |  | 4 | 1358, 1359, 1461, 1462 | - |  | 4 | 1358, 1359, 1461, 1462 | - |  | 4 | 1358, 1359, 1461, 1462 | - |  | 4 | 1358, 1359, 1461, 1462 | - |  | 3 | 1358, 1461, 1462 | -1 |  | 3 | 1358, 1461, 1462 | - |  | 3 | 1358, 1461, 1462 | - |  | 4 | 1358, 1359, 1461, 1462 | 1 |  | 4 | 1358, 1359, 1461, 1462 | - |  | 4 | 1358, 1359, 1461, 1462 | - |  | 4 | 1358, 1359, 1461, 1462 | - |  | 3 | 1358, 1461, 1462 | -1 |  | 4 | 1358, 1359, 1461, 1462 | 1 |  | 4 | 1358, 1359, 1461, 1462 | - |  | 4 | 1358, 1359, 1461, 1462 | - |  | 4 | 1358, 1359, 1461, 1462 | - |  | 4 | 1358, 1359, 1461, 1462 | - |  | 4 | 1358, 1359, 1461, 1462 | - |  | 3 | 1358, 1461, 1462 | -1 |  | 3 | 1358, 1461, 1462 | - |  | 3 | 1358, 1461, 1462 | - |  | 4 | 1358, 1359, 1461, 1462 | 1 |  | 4 | 1358, 1359, 1461, 1462 | - |  | 4 | 1358, 1359, 1461, 1462 | - |  | 4 | 1358, 1359, 1461, 1462 | - |  | 4 | 1358, 1359, 1461, 1462 | - |  | 3 | 1358, 1461, 1462 | -1 |  | 3 | 1358, 1461, 1462 | - |  | 4 | 1358, 1359, 1461, 1462 | 1 |  | 4 | 1358, 1359, 1461, 1462 | - |  | 4 | 1358, 1359, 1461, 1462 | - |  | 4 | 1358, 1359, 1461, 1462 | -
(6, 7, 2) | X5 | HVY 029 | 116 | Front | 11071 |  |  | 0 | - |  |  | 0 | - | - | [5 empty] | 0 | - | - |  | 0 | - | - |  | 0 | - | - |  | 0 | - | - |  | 0 | - | - |  | 0 | - | - |  | 0 | - | - |  | 0 | - | - |  | 0 |  | - |  | 0 |  | - |  | 0 |  | - |  | 0 |  | - |  | 0 |  | - |  | 0 |  | - |  | 0 |  | - |  | 0 |  | - |  | 0 |  | - |  | 0 |  | - |  | 0 |  | - |  | 0 |  | - |  | 0 |  | - |  | 0 |  | - |  | 0 |  | - |  | 0 |  | - |  | 0 |  | - |  | 0 |  | - |  | 0 |  | - |  | 0 |  | - |  | 0 |  | - |  | 0 |  | - |  | 0 |  | - |  | 0 |  | - |  | 0 |  | -
(2, 3, 2) | X4 |  |  | Back | 1063 |  |  | 10 | 785, 788, 794, 860, 864, 870, 872, 1094, 1095, 1097 |  |  | 9 | 785, 788, 794, 860, 864, 872, 1094, 1095, 1097 | -1 | [5 empty] | 9 | 785, 788, 794, 860, 864, 872, 1094, 1095, 1097 | - |  | 9 | 785, 788, 794, 860, 864, 872, 1094, 1095, 1097 | - |  | 10 | 785, 788, 794, 860, 864, 870, 872, 1094, 1095, 1097 | 1 |  | 10 | 785, 788, 794, 860, 864, 870, 872, 1094, 1095, 1097 | - |  | 10 | 785, 788, 794, 860, 864, 870, 872, 1094, 1095, 1097 | - |  | 9 | 785, 788, 794, 860, 864,872, 1094, 1095, 1097 | -1 |  | 10 | 785, 788, 794, 860, 864, 870, 872, 1094, 1095, 1097 | 1 |  | 10 | 785, 788, 794, 860, 864, 870, 872, 1094, 1095, 1097 | - |  | 10 | 785, 788, 794, 860, 864, 870, 872, 1094, 1095, 1097 | - |  | 10 | 785, 788, 794, 860, 864, 870, 872, 1094, 1095, 1097 | - |  | 10 | 785, 788, 794, 860, 864, 870, 872, 1094, 1095, 1097 | - |  | 10 | 785, 788, 794, 860, 864, 870, 872, 1094, 1095, 1097 | - |  | 9 | 785, 788, 794, 860, 864, 872, 1094, 1095, 1097 | -1 |  | 10 | 785, 788, 794, 860, 864, 870, 872, 1094, 1095, 1097 | 1 |  | 9 | 785, 788, 794, 860, 864, 872, 1094, 1095, 1097 | -1 |  | 10 | 785, 788, 794, 860, 864, 870, 872, 1094, 1095, 1097 | 1 |  | 9 | 785, 788, 794, 860, 864, 872, 1094, 1095, 1097 | -1 |  | 10 | 785, 788, 794, 860, 864, 870, 872, 1094, 1095, 1097 | 1 |  | 10 | 785, 788, 794, 860, 864, 870, 872, 1094, 1095, 1097 | - |  | 10 | 785, 788, 794, 860, 864, 870, 872, 1094, 1095, 1097 | - |  | 10 | 785, 788, 794, 860, 864, 870, 872, 1094, 1095, 1097 | - |  | 10 | 785, 788, 794, 860, 864, 870, 872, 1094, 1095, 1097 | - |  | 10 | 785, 788, 794, 860, 864, 870, 872, 1094, 1095, 1097 | - |  | 10 | 785, 788, 794, 860, 864, 870, 872, 1094, 1095, 1097 | - |  | 9 | 785, 788, 794, 860, 864, 872, 1094, 1095, 1097 | -1 |  | 10 | 785, 788, 794, 860, 864, 870, 872, 1094, 1095, 1097 | 1 |  | 10 | 785, 788, 794, 860, 864, 870, 872, 1094, 1095, 1097 | - |  | 10 | 785, 788, 794, 860, 864, 870, 872, 1094, 1095, 1097 | - |  | 10 | 785, 788, 794, 860, 864, 870, 872, 1094, 1095, 1097 | - |  | 10 | 785, 788, 794, 860, 864, 870, 872, 1094, 1095, 1097 | - |  | 10 | 785, 788, 794, 860, 864, 870, 872, 1094, 1095, 1097 | - |  | 9 | 785, 788, 794, 860, 864, 870, 872, 1094, 1095, 1097 | -1 |  | 10 | 785, 788, 794, 860, 864, 870, 872, 1094, 1095, 1097 | 1
(0, 1, 2) | Y4 | HVY 002 | 118 | Front | 11336 |  |  | 0 | - |  | 4 dead chans | 0 | - | - | 4 dead chans |  |  |  |  | 0 | - | - |  | 0 | - | - |  | 0 | - | - |  | 0 | - | - |  | 0 | - | - |  | 0 | - | - |  | 0 | - | - |  | 0 | - | - |  | 0 |  | - |  | 0 |  | - |  | 0 |  | - |  | 0 |  | - |  | 0 |  | - |  | 0 |  | - |  | 0 |  | - |  | 0 |  | - |  | 0 |  | - |  | 0 |  | - |  | 0 |  | - |  | 0 |  | - |  | 0 |  | - |  | 0 |  | - |  | 0 |  | - |  | 0 |  | - |  | 0 |  | - |  | 0 |  | - |  | 0 |  | - |  | 0 |  | - |  | 0 |  | - |  | 0 |  | - |  | 0 |  | - |  | 0 |  | - |  | 0 |  | -
(4, 5, 1) | Y3 |  |  | Back | 1062 |  |  | 0 | - |  |  | 0 | - | - | [5 empty] | 0 | - | - |  | 0 | - | - |  | 0 | - | - |  | 0 | - | - |  | 0 | - | - |  | 0 | - | - |  | 0 | - | - |  | 0 | - | - |  | 0 |  | - |  | 0 |  | - |  | 0 |  | - |  | 0 |  | - |  | 0 |  | - |  | 0 |  | - |  | 0 |  | - |  | 0 |  | - |  | 0 |  | - |  | 0 |  | - |  | 0 |  | - |  | 0 |  | - |  | 0 |  | - |  | 0 |  | - |  | 0 |  | - |  | 0 |  | - |  | 0 |  | - |  | 0 |  | - |  | 0 |  | - |  | 0 |  | - |  | 0 |  | - |  | 0 |  | - |  | 0 |  | - |  | 0 |  | - |  | 0 |  | -
(6, 7, 1) | X3 | HVY 021 | 110 | Front | 11498 |  |  | 0 | - |  |  | 0 | - | - | [5 empty] | 0 | - | - |  | 0 | - | - |  | 0 | - | - |  | 0 | - | - |  | 0 | - | - |  | 0 | - | - |  | 0 | - | - |  | 0 | - | - |  | 0 |  | - |  | 0 |  | - |  | 0 |  | - |  | 0 |  | - |  | 0 |  | - |  | 0 |  | - |  | 0 |  | - |  | 0 |  | - |  | 0 |  | - |  | 0 |  | - |  | 0 |  | - |  | 0 |  | - |  | 0 |  | - |  | 0 |  | - |  | 0 |  | - |  | 0 |  | - |  | 0 |  | - |  | 0 |  | - |  | 0 |  | - |  | 0 |  | - |  | 0 |  | - |  | 0 |  | - |  | 0 |  | - |  | 0 |  | - |  | 0 |  | -
(2, 3, 1) | X2 |  |  | Back | 1096 |  |  | 8 | 408, 530, 535, 1060, 1064, 1153, 1155, 1157 |  | 7 dead chans | 8 | 408, 530, 535, 1060, 1064, 1153, 1155, 1157 | - | 9 dead |  |  |  |  | 8 | 408, 530, 535, 1060, 1064, 1153, 1155, 1157 | - |  | 8 | 408, 530, 535, 1060, 1064, 1153, 1155, 1157 | - |  | 8 | 408, 530, 535, 1060, 1064, 1153, 1155, 1157 | - |  | 5 | 408, 530, 535, 1060, 1064 | -3 |  | 8 | 408, 530, 535, 1060, 1064, 1153, 1155, 1157 | 3 |  | 8 | 408, 530, 535, 1060, 1064, 1153, 1155, 1157 | - |  | 8 | 408, 530, 535, 1060, 1064, 1153, 1155, 1157 | - |  | 8 | 408, 530, 535, 1060, 1064, 1153, 1155, 1157 | - |  | 8 | 408, 530, 535, 1060, 1064, 1153, 1155, 1157 | - |  | 8 | 408, 530, 535, 1060, 1064, 1153, 1155, 1157 | - |  | 7 | 408, 530, 535, 1060, 1064, 1153, 1157 | -1 |  | 8 | 408, 530, 535, 1060, 1064, 1153, 1155, 1157 | 1 |  | 8 | 408, 530, 535, 1060, 1064, 1153, 1155, 1157 | - |  | 8 | 408, 530, 535, 1060, 1064, 1153, 1155, 1157 | - |  | 8 | 408, 530, 535, 1060, 1064, 1153, 1155, 1157 | - |  | 8 | 408, 530, 535, 1060, 1064, 1153, 1155, 1157 | - |  | 6 | 408, 530, 535, 1060, 1064, 1157 | -2 |  | 8 | 408, 530, 535, 1060, 1064, 1153, 1155, 1157 | 2 |  | 8 | 408, 530, 535, 1060, 1064, 1153, 1155, 1157 | - |  | 8 | 408, 530, 535, 1060, 1064, 1153, 1155, 1157 | - |  | 8 | 408, 530, 535, 1060, 1064, 1153, 1155, 1157 | - |  | 8 | 408, 530, 535, 1060, 1064, 1153, 1155, 1157 | - |  | 8 | 408, 530, 535, 1060, 1064, 1153, 1155, 1157 | - |  | 7 | 408, 530, 535, 1060, 1064, 1153, 1157 | -1 |  | 6 | 408, 530, 535, 1060, 1064, 1157 | -1 |  | 8 | 408, 530, 535, 1060, 1064, 1153, 1155, 1157 | 2 |  | 8 | 408, 530, 535, 1060, 1064, 1153, 1155, 1157 | - |  | 8 | 408, 530, 535, 1060, 1064, 1153, 1155, 1157 | - |  | 8 | 408, 530, 535, 1060, 1064, 1153, 1155, 1157 | - |  | 8 | 408, 530, 535, 1060, 1064, 1153, 1155, 1157 | - |  | 8 | 408, 530, 535, 1060, 1064, 1153, 1155, 1157 | - |  | 8 | 408, 530, 535, 1060, 1064, 1153, 1155, 1157 | - |  | 8 | 408, 530, 535, 1060, 1064, 1153, 1155, 1157 | -
(0, 1, 1) | Y2 | LGT 007 | 82 | Front | 11038 |  |  | 0 | - |  |  | 0 | - | - | [5 empty] | 0 | - | - |  | 0 | - | - |  | 0 | - | - |  | 0 | - | - |  | 0 | - | - |  | 0 | - | - |  | 0 | - | - |  | 0 | - | - |  | 0 |  | - |  | 0 |  | - |  | 0 |  | - |  | 0 |  | - |  | 0 |  | - |  | 0 |  | - |  | 0 |  | - |  | 0 |  | - |  | 0 |  | - |  | 0 |  | - |  | 0 |  | - |  | 0 |  | - |  | 0 |  | - |  | 0 |  | - |  | 0 |  | - |  | 0 |  | - |  | 0 |  | - |  | 0 |  | - |  | 0 |  | - |  | 0 |  | - |  | 0 |  | - |  | 0 |  | - |  | 0 |  | - |  | 0 |  | - |  | 0 |  | -
(4, 5, 0) | Y1 |  |  | Back | 484 |  |  | 0 | - |  |  | 0 | - | - | [5 empty] | 0 | - | - |  | 0 | - | - |  | 0 | - | - |  | 0 | - | - |  | 0 | - | - |  | 0 | - | - |  | 0 | - | - |  | 0 | - | - |  | 0 |  | - |  | 0 |  | - |  | 0 |  | - |  | 0 |  | - |  | 0 |  | - |  | 0 |  | - |  | 0 |  | - |  | 0 |  | - |  | 0 |  | - |  | 0 |  | - |  | 0 |  | - |  | 0 |  | - |  | 0 |  | - |  | 0 |  | - |  | 0 |  | - |  | 0 |  | - |  | 0 |  | - |  | 0 |  | - |  | 0 |  | - |  | 0 |  | - |  | 0 |  | - |  | 0 |  | - |  | 0 |  | - |  | 0 |  | - |  | 0 |  | -
(6, 7, 0) | X1 | LGT 014 | 69 | Front | 511 |  |  | 0 | - |  |  | 0 | - | - | [5 empty] | 0 | - | - |  | 0 | - | - |  | 0 | - | - |  | 0 | - | - |  | 0 | - | - |  | 0 | - | - |  | 0 | - | - |  | 0 | - | - |  | 0 |  | - |  | 0 |  | - |  | 0 |  | - |  | 0 |  | - |  | 0 |  | - |  | 0 |  | - |  | 0 |  | - |  | 0 |  | - |  | 0 |  | - |  | 0 |  | - |  | 0 |  | - |  | 0 |  | - |  | 0 |  | - |  | 0 |  | - |  | 0 |  | - |  | 0 |  | - |  | 0 |  | - |  | 0 |  | - |  | 0 |  | - |  | 0 |  | - |  | 0 |  | - |  | 0 |  | - |  | 0 |  | - |  | 0 |  | - |  | 0 |  | -
(2, 3, 0) | X0 |  |  | Back | 11004 |  |  | 0 | - |  |  | 0 | - | - | [5 empty] | 0 | - | - |  | 0 | - | - |  | 0 | - | - |  | 0 | - | - |  | 0 | - | - |  | 0 | - | - |  | 0 | - | - |  | 0 | - | - |  | 0 |  | - |  | 0 |  | - |  | 0 |  | - |  | 0 |  | - |  | 0 |  | - |  | 0 |  | - |  | 0 |  | - |  | 0 |  | - |  | 0 |  | - |  | 0 |  | - |  | 0 |  | - |  | 0 |  | - |  | 0 |  | - |  | 0 |  | - |  | 0 |  | - |  | 0 |  | - |  | 0 |  | - |  | 0 |  | - |  | 0 |  | - |  | 0 |  | - |  | 0 |  | - |  | 0 |  | - |  | 0 |  | - |  | 0 |  | - |  | 0 |  | -
(0, 1, 0) | Y0 | BTM 008 | 6 | Front | 11421 |  |  | 0 | - |  |  | 0 | - | - | [5 empty] | 0 | - | - |  | 0 | - | - |  | 0 | - | - |  | 0 | - | - |  | 0 | - | - |  | 0 | - | - |  | 0 | - | - |  | 0 | - | - |  | 0 |  | - |  | 0 |  | - |  | 0 |  | - |  | 0 |  | - |  | 0 |  | - |  | 0 |  | - |  | 1 | 757 | 1 |  | 1 | 757 | - |  | 1 | 757 | - |  | 0 |  | -1 |  | 0 |  | - |  | 0 |  | - |  | 0 |  | - |  | 0 |  | - |  | 1 | 757 | 1 |  | 1 | 757 | - |  | 1 | 757 | - |  | 0 | 0 | -1 |  | 0 | 0 | - |  | 1 | 318 | 1 |  | 1 | 318 | - |  | 1 | 757 | - |  | 1 | 757 | - |  | 1 | 757 | - |  | 7 | 715, 721, 757, 759, 780, 781, 814 | 6
|  | Total |  |  |  | 0 |  | 39 |  | 0 |  | 37 |  | -2 | [5 empty] | 37 |  | 0 |  | 37 |  | 0 |  | 38 |  | 1 |  | 35 |  | -3 |  | 38 |  | 3 |  | 36 |  | -2 |  | 37 |  | 1 |  | 37 |  | 0 |  | 38 |  | 1 |  | 38 |  | 0 |  | 37 |  | -1 |  | 38 |  | 1 |  | 36 |  | -2 |  | 38 |  | 2 |  | 38 |  | 0 |  | 39 |  | 1 |  | 36 |  | -3 |  | 38 |  | 2 |  | 38 |  | 0 |  | 38 |  | 0 |  | 38 |  | 0 |  | 38 |  | 0 |  | 40 |  | 2 |  | 38 |  | -2 |  | 36 |  | -2 |  | 38 |  | 2 |  | 38 |  | 0 |  | 39 |  | 1 |  | 39 |  | 0 |  | 40 |  | 1 |  | 39 |  | -1 |  | 38 |  | -1 |  | 45 | 7
Note:
| Used Test |  | Description
n disc. ch. (Low ENC) | NoiseAndGain |  | ENC < 500 e-
TRAY XXX