## Bad chans Data
Tower 8 - after MID 007 replacement |  |  |  |  | TWR 8 retest: CPT in air |  |  |  |  | TWR 8 retest: CPT at RT in vacuum |  |  |  |  | TWR 8 retest: LPT @ 30 C |  |  |  |  | TWR 8 retest: 1st hot soak |  |  |  |  | TWR 8 retest: lpt at 30C from 1st hot to 1st cold |  |  |  |  | TWR 8 retest: lpt at 15C from 1st hot to 1st cold |  |  |  |  | TWR 8 retest: lpt at 0C from 1st hot to 1st cold |  |  |  |  | TWR 8 retest: CPT at 1st Cold Soak |  |  |  |  | TWR 8 retest: LPT at 0C |  |  |  |  | TWR 8 retest: LPT at 15C |  |  |  |  | TWR 8 retest: LPT at 30C |  |  |  |  | TWR 8 retest: CPT at 2nd hot soak |  |  |  |  | TWR 8 retest: LPt at 30C |  |  |  |  | TWR 8 retest: LPt at 15C |  |  |  |  | TWR 8 retest: LPt at 0C |  |  |  |  | TWR 8 retest: CPT at 2nd Cold Soak |  |  |  |  | TWR 8 retest: LPT at 0C |  |  |  |  | TWR 8 retest: LPT at 30C |  |  |  |  | TWR 8 retest: 3rd hot soak |  |  |  |  | TWR 8 retest: LPT at 30C |  |  |  |  | TWR 8 retest: LPT at 15C |  |  |  |  | TWR 8 retest: LPT at 0C |  |  |  |  | TWR 8 retest: CPT at 3rd Cold |  |  |  |  | TWR 8 retest: LPT at 0C |  |  |  |  | TWR 8 retest: LPT at 15C |  |  |  |  | TWR 8 retest: LPT at 30C |  |  |  |  | TWR 8 retest: CPT at 4th Hot soak |  |  |  |  | TWR 8 retest: LPT at 30C |  |  |  |  | TWR 8 retest: LPT at 15C |  |  |  |  | TWR 8 retest: LPT at 0C |  |  |  |  | TWR 8 retest: CPT at 4th Cold Soak |  |  |  |  | TWR 8 retest: lpt at 0C from 4th cold to RT |  |  |  |  | TWR 8 retest: CPT at RT |  |  |  |  | TWR 8 retest: CPT at STP
(GTCCs, GTRC) | Layer | Tray | Side | MCM | n disc. | n dead | n noisy | Bad Total | Notes | n disc. | n dead | n noisy | Bad Total | Notes | n disc. | n dead | n noisy | Bad Total | Notes | n disc. | n dead | n noisy | Bad Total | Notes | n disc. | n dead | n noisy | Bad Total | Notes | n disc. | n dead | n noisy | Bad Total | Notes | n disc. | n dead | n noisy | Bad Total | Notes | n disc. | n dead | n noisy | Bad Total | Notes | n disc. | n dead | n noisy | Bad Total | Notes | n disc. | n dead | n noisy | Bad Total | Notes | n disc. | n dead | n noisy | Bad Total | Notes | n disc. | n dead | n noisy | Bad Total | Notes | n disc. | n dead | n noisy | Bad Total | Notes | n disc. | n dead | n noisy | Bad Total | Notes | n disc. | n dead | n noisy | Bad Total | Notes | n disc. | n dead | n noisy | Bad Total | Notes | n disc. | n dead | n noisy | Bad Total | Notes | n disc. | n dead | n noisy | Bad Total | Notes | n disc. | n dead | n noisy | Bad Total | Notes | n disc. | n dead | n noisy | Bad Total | Notes | n disc. | n dead | n noisy | Bad Total | Notes | n disc. | n dead | n noisy | Bad Total | Notes | n disc. | n dead | n noisy | Bad Total | Notes | n disc. | n dead | n noisy | Bad Total | Notes | n disc. | n dead | n noisy | Bad Total | Notes | n disc. | n dead | n noisy | Bad Total | Notes | n disc. | n dead | n noisy | Bad Total | Notes | n disc. | n dead | n noisy | Bad Total | Notes | n disc. | n dead | n noisy | Bad Total | Notes | n disc. | n dead | n noisy | Bad Total | Notes | n disc. | n dead | n noisy | Bad Total | Notes | n disc. | n dead | n noisy | Bad Total | Notes | n disc. | n dead | n noisy | Bad Total | Notes | n disc. | n dead | n noisy | Bad Total | Notes
[5 empty] | (Low ENC) |  |  |  |  | (Low ENC) |  |  |  |  | (Low ENC) |  |  |  |  | (Low ENC) |  |  |  |  | (Low ENC) |  |  |  |  | (Low ENC) |  |  |  |  | (Low ENC) |  |  |  |  | (Low ENC) |  |  |  |  | (Low ENC) |  |  |  |  | (Low ENC) |  |  |  |  | (Low ENC) |  |  |  |  | (Low ENC) |  |  |  |  | (Low ENC) |  |  |  |  | (Low ENC) |  |  |  |  | (Low ENC) |  |  |  |  | (Low ENC) |  |  |  |  | (Low ENC) |  |  |  |  | (Low ENC) |  |  |  |  | (Low ENC) |  |  |  |  | (Low ENC) |  |  |  |  | (Low ENC) |  |  |  |  | (Low ENC) |  |  |  |  | (Low ENC) |  |  |  |  | (Low ENC) |  |  |  |  | (Low ENC) |  |  |  |  | (Low ENC) |  |  |  |  | (Low ENC) |  |  |  |  | (Low ENC) |  |  |  |  | (Low ENC) |  |  |  |  | (Low ENC) |  |  |  |  | (Low ENC) |  |  |  |  | (Low ENC) |  |  |  |  | (Low ENC) |  |  |  |  | (Low ENC)
(4, 5, 8) | Y17 | TOP 015 | Back | 2259 | 0 | 1 | 1 | 2 |  | 0 | 1 | 1 | 2 |  |  | 1 | 1 | 2 |  |  | 1 | 1 | 2 |  |  | 1 | 1 | 2 |  |  | 1 | 1 | 2 |  |  | 1 | 1 | 2 |  |  | 1 | 1 | 2 |  |  | 1 | 1 | 2 |  |  | 1 | 1 | 2 |  |  | 1 | 1 | 2 |  |  | 1 | 1 | 2 |  |  | 1 | 1 | 2 |  |  | 1 | 1 | 2 |  |  | 1 | 1 | 2 |  |  | 1 | 1 | 2 |  |  | 1 | 1 | 2 |  |  | 1 | 1 | 2 |  |  | 1 | 1 | 2 |  |  | 1 | 1 | 2 |  |  | 1 | 1 | 2 |  |  | 1 | 1 | 2 |  |  | 1 | 1 | 2 |  |  | 1 | 1 | 2 |  |  | 1 | 1 | 2 |  |  | 1 | 1 | 2 |  |  | 1 | 1 | 2 |  |  | 1 | 1 | 2 |  |  | 1 | 1 | 2 |  |  | 1 | 1 | 2 |  |  | 1 | 1 | 2 |  |  | 1 | 1 | 2 |  |  | 1 | 1 | 2 |  |  | 1 | 1 | 2
(6, 7, 8) | X17 | MID 132 | Front | 2487 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 |  |  |  |  | 0 |  |  |  |  | 0 |  |  |  | 1 | 1 |  |  |  | 0 | 0 |  |  |  | 0 | 0 |  |  |  | 0 | 0 |  |  |  | 0 | 0 |  |  |  | 0 | 0 |  |  |  | 1 | 1 |  |  |  | 0 | 0 |  |  |  | 0 | 0 |  |  |  | 0 | 0 |  |  |  |  | 0 |  |  |  |  | 0 |  |  |  |  | 0 |  |  |  |  | 0 |  |  |  |  | 0 |  |  |  |  | 0 |  |  |  |  | 0 |  |  |  |  | 0 |  |  |  |  | 0 |  |  |  |  | 0 |  |  |  |  | 0 |  |  |  |  | 0 |  |  |  |  | 0 |  |  |  |  | 0 |  |  |  |  | 0 |  |  |  |  | 0 |  |  |  |  | 0 |  |  |  |  | 0 |  |  |  |  | 0 |  |  |  |  | 0
(2, 3, 8) | X16 |  | Back | 2675 | 0 | 1 | 0 | 1 |  | 0 | 1 | 0 | 1 |  |  | 1 |  | 1 |  |  | 1 |  | 1 |  |  | 1 |  | 1 |  |  | 1 |  | 1 |  |  | 1 |  | 1 |  |  | 1 |  | 1 |  |  | 1 |  | 1 |  |  | 1 |  | 1 |  |  | 1 |  | 1 |  |  | 1 |  | 1 |  |  | 1 |  | 1 |  |  | 1 |  | 1 |  |  | 1 |  | 1 |  |  | 1 |  | 1 |  |  | 1 |  | 1 |  |  | 1 |  | 1 |  |  | 1 |  | 1 |  |  | 1 |  | 1 |  |  | 1 |  | 1 |  |  | 1 |  | 1 |  |  | 1 |  | 1 |  |  | 1 |  | 1 |  |  | 1 |  | 1 |  |  | 1 |  | 1 |  |  | 1 |  | 1 |  |  | 1 |  | 1 |  |  | 1 |  | 1 |  |  | 1 |  | 1 |  |  | 1 |  | 1 |  |  | 1 |  | 1 |  |  | 1 |  | 1 |  |  | 1 |  | 1
(0, 1, 8) | Y16 | MID 129 | Front | 2451 | 0 | 2 | 3 | 5 |  | 0 | 0 | 3 | 3 |  |  |  |  | 0 |  |  |  |  | 0 |  |  |  |  | 0 |  |  |  |  | 0 |  |  |  |  | 0 |  |  |  |  | 0 |  |  |  |  | 0 |  |  |  |  | 0 |  |  |  |  | 0 |  |  |  |  | 0 |  |  |  |  | 0 |  |  |  |  | 0 |  |  |  |  | 0 |  |  |  |  | 0 |  |  |  |  | 0 |  |  |  |  | 0 |  |  |  |  | 0 |  |  |  |  | 0 |  |  |  |  | 0 |  |  |  |  | 0 |  |  |  |  | 0 |  |  |  |  | 0 |  |  |  |  | 0 |  |  |  |  | 0 |  |  |  |  | 0 |  |  |  |  | 0 |  |  |  |  | 0 |  |  |  |  | 0 |  |  |  |  | 0 |  |  |  |  | 0 |  |  |  |  | 0 |  |  |  |  | 0
(4, 5, 7) | Y15 |  | Back | 2633 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 |  |  |  |  | 0 |  |  |  |  | 0 |  |  |  |  | 0 |  |  |  |  | 0 |  |  |  |  | 0 |  |  |  |  | 0 |  |  |  |  | 0 |  |  |  |  | 0 |  |  |  |  | 0 |  |  |  |  | 0 |  |  |  |  | 0 |  |  |  |  | 0 |  |  |  |  | 0 |  |  |  |  | 0 |  |  |  |  | 0 |  |  |  |  | 0 |  |  |  |  | 0 |  |  |  |  | 0 |  |  |  |  | 0 |  |  |  |  | 0 |  |  |  |  | 0 |  |  |  |  | 0 |  |  |  |  | 0 |  |  |  |  | 0 |  |  |  |  | 0 |  |  |  |  | 0 |  |  |  |  | 0 |  |  |  |  | 0 |  |  |  |  | 0 |  |  |  |  | 0 |  |  |  |  | 0 |  |  |  |  | 0
(6, 7, 7) | X15 | MID 128 | Front | 2442 | 0 | 0 | 1 | 1 |  | 0 | 0 | 1 | 1 |  |  |  | 1 | 1 |  |  |  | 1 | 1 |  |  |  | 1 | 1 |  |  |  |  | 0 |  |  |  |  | 0 |  |  |  |  | 0 |  |  |  |  | 0 |  |  |  |  | 0 |  |  |  |  | 0 |  |  |  |  | 0 |  |  |  |  | 0 |  |  |  |  | 0 |  |  |  |  | 0 |  |  |  |  | 0 |  |  |  |  | 0 |  |  |  |  | 0 |  |  |  |  | 0 |  |  |  |  | 0 |  |  |  |  | 0 |  |  |  |  | 0 |  |  |  |  | 0 |  |  |  |  | 0 |  |  |  |  | 0 |  |  |  |  | 0 |  |  |  |  | 0 |  |  |  |  | 0 |  |  |  |  | 0 |  |  |  |  | 0 |  |  |  |  | 0 |  |  |  |  | 0 |  |  |  |  | 0 |  |  |  |  | 0
(2, 3, 7) | X14 |  | Back | 2610 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 |  |  |  |  | 0 |  |  |  |  | 0 |  |  |  |  | 0 |  |  |  |  | 0 |  |  |  |  | 0 |  |  |  |  | 0 |  |  |  |  | 0 |  |  |  |  | 0 |  |  |  |  | 0 |  |  |  |  | 0 |  |  |  |  | 0 |  |  |  |  | 0 |  |  |  |  | 0 |  |  |  |  | 0 |  |  |  |  | 0 |  |  |  |  | 0 |  |  |  |  | 0 |  |  |  |  | 0 |  |  |  |  | 0 |  |  |  |  | 0 |  |  |  |  | 0 |  |  |  |  | 0 |  |  |  |  | 0 |  |  |  |  | 0 |  |  |  |  | 0 |  |  |  |  | 0 |  |  |  |  | 0 |  |  |  |  | 0 |  |  |  |  | 0 |  |  |  |  | 0 |  |  |  |  | 0 |  |  |  |  | 0
(0, 1, 7) | Y14 | MID 131 | Front | 2273 | 0 | 3 | 0 | 3 |  | 0 | 3 | 0 | 3 |  |  | 3 |  | 3 |  |  | 3 |  | 3 |  |  | 3 |  | 3 |  |  | 3 |  | 3 |  |  | 3 |  | 3 |  |  | 3 |  | 3 |  |  | 3 |  | 3 |  |  | 3 |  | 3 |  |  | 3 |  | 3 |  |  | 3 |  | 3 |  |  | 3 |  | 3 |  |  | 3 |  | 3 |  |  | 3 |  | 3 |  |  | 3 |  | 3 |  |  | 3 |  | 3 |  |  | 3 |  | 3 |  |  | 3 |  | 3 |  |  | 3 |  | 3 |  |  | 3 |  | 3 |  |  | 3 |  | 3 |  |  | 3 |  | 3 |  |  | 3 |  | 3 |  |  | 3 |  | 3 |  |  | 3 |  | 3 |  |  | 3 |  | 3 |  |  | 3 |  | 3 |  |  | 3 |  | 3 |  |  | 3 |  | 3 |  |  | 3 |  | 3 |  |  | 3 |  | 3 |  |  | 3 |  | 3 |  |  | 3 |  | 3
(4, 5, 6) | Y13 |  | Back | 2396 | 1 | 0 | 0 | 1 |  | 1 | 0 | 0 | 1 |  | 1 |  |  | 1 |  | 1 |  |  | 1 |  | 1 |  |  | 1 |  | 1 |  |  | 1 |  | 1 |  |  | 1 |  | 1 |  |  | 1 |  | 1 |  |  | 1 |  | 1 |  |  | 1 |  | 1 |  |  | 1 |  | 1 |  |  | 1 |  | 1 |  |  | 1 |  | 1 |  |  | 1 |  | 1 |  |  | 1 |  | 1 |  |  | 1 |  | 1 |  |  | 1 |  | 1 |  |  | 1 |  | 1 |  |  | 1 |  | 1 |  |  | 1 |  | 1 |  |  | 1 |  | 1 |  |  | 1 |  | 1 |  |  | 1 |  | 1 |  |  | 1 |  | 1 |  |  | 1 |  | 1 |  |  | 1 |  | 1 |  |  | 1 |  | 1 |  |  | 1 |  | 1 |  |  | 1 |  | 1 |  |  | 1 |  | 1 |  |  | 1 |  | 1 |  |  | 1 |  | 1 |  |  | 1 |  | 1 |  |  | 1
(6, 7, 6) | X13 | MID 130 | Front | 2459 | 0 | 1 | 0 | 1 |  | 0 | 1 | 0 | 1 |  |  | 1 |  | 1 |  |  | 1 |  | 1 |  |  | 1 |  | 1 |  |  | 1 |  | 1 |  |  | 1 |  | 1 |  |  | 1 |  | 1 |  |  | 1 |  | 1 |  |  | 1 |  | 1 |  |  | 1 |  | 1 |  |  | 0 |  | 0 |  |  | 0 |  | 0 |  |  | 0 |  | 0 |  |  | 1 |  | 1 |  |  | 1 |  | 1 |  |  | 1 |  | 1 |  |  |  |  | 0 |  |  |  |  | 0 |  |  |  |  | 0 |  |  |  |  | 0 |  |  |  |  | 0 |  |  |  |  | 0 |  |  |  |  | 0 |  |  |  |  | 0 |  |  |  |  | 0 |  |  |  |  | 0 |  |  |  |  | 0 |  |  |  |  | 0 |  |  |  |  | 0 |  |  |  |  | 0 |  |  |  |  | 0 |  |  |  |  | 0 |  |  |  |  | 0
(2, 3, 6) | X12 |  | Back | 2670 | 1 | 0 | 0 | 1 |  | 1 | 0 | 0 | 1 |  |  |  |  | 0 |  |  |  |  | 0 |  |  |  |  | 0 |  |  |  |  | 0 |  |  |  |  | 0 |  | 1 |  |  | 1 |  | 1 |  |  | 1 |  | 0 |  |  | 0 |  | 0 |  |  | 0 |  | 0 |  |  | 0 |  | 0 |  |  | 0 |  | 1 |  |  | 1 |  |  |  |  | 0 |  | 1 |  |  | 1 |  | 1 |  |  | 1 |  |  |  |  | 0 |  |  |  |  | 0 |  |  |  |  | 0 |  |  |  |  | 0 |  | 1 |  |  | 1 |  | 1 |  |  | 1 |  | 1 |  |  | 1 |  |  |  | 1 | 1 |  |  |  |  | 0 |  |  |  |  | 0 |  |  |  |  | 0 |  |  |  |  | 0 |  | 1 |  |  | 1 |  | 1 |  |  | 1 |  | 1 |  |  | 1 |  | 1 |  |  | 1 |  |  |  |  | 0
(0, 1, 6) | Y12 | MID 149 | Front | 2551 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 |  |  |  |  | 0 |  |  |  |  | 0 |  |  |  |  | 0 |  |  |  |  | 0 |  |  |  |  | 0 |  |  |  |  | 0 |  |  |  |  | 0 |  |  |  |  | 0 |  |  |  |  | 0 |  |  |  |  | 0 |  |  |  |  | 0 |  |  |  |  | 0 |  |  |  |  | 0 |  |  |  |  | 0 |  |  |  |  | 0 |  |  |  |  | 0 |  |  |  |  | 0 |  |  |  |  | 0 |  |  |  |  | 0 |  |  |  |  | 0 |  |  |  |  | 0 |  |  |  |  | 0 |  |  |  |  | 0 |  |  |  |  | 0 |  |  |  |  | 0 |  |  |  |  | 0 |  |  |  |  | 0 |  |  |  |  | 0 |  |  |  |  | 0 |  |  |  |  | 0 |  |  |  |  | 0 |  |  |  |  | 0
(4, 5, 5) | Y11 |  | Back | 2747 | 0 | 0 | 1 | 1 |  | 0 | 0 | 1 | 1 |  |  |  |  | 0 |  |  |  |  | 0 |  |  |  |  | 0 |  |  |  |  | 0 |  |  |  |  | 0 |  |  |  |  | 0 |  |  |  |  | 0 |  |  |  |  | 0 |  |  |  |  | 0 |  |  |  |  | 0 |  |  |  |  | 0 |  |  |  |  | 0 |  |  |  |  | 0 |  |  |  |  | 0 |  |  |  |  | 0 |  |  |  |  | 0 |  |  |  |  | 0 |  |  |  |  | 0 |  |  |  |  | 0 |  |  |  |  | 0 |  |  |  |  | 0 |  |  |  |  | 0 |  |  |  |  | 0 |  |  |  |  | 0 |  |  |  |  | 0 |  |  |  |  | 0 |  |  |  |  | 0 |  |  |  |  | 0 |  |  |  |  | 0 |  |  |  |  | 0 |  |  |  |  | 0 |  |  |  |  | 0
(6, 7, 5) | X11 | MID 185 | Front | 2595 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 |  |  |  |  | 0 |  |  |  |  | 0 |  |  |  |  | 0 |  |  |  |  | 0 |  |  |  |  | 0 |  |  |  |  | 0 |  |  |  |  | 0 |  |  |  |  | 0 |  |  |  |  | 0 |  |  |  |  | 0 |  |  |  |  | 0 |  |  |  |  | 0 |  |  |  |  | 0 |  |  |  |  | 0 |  |  |  |  | 0 |  |  |  |  | 0 |  |  |  |  | 0 |  |  |  |  | 0 |  |  |  |  | 0 |  |  |  |  | 0 |  |  |  |  | 0 |  |  |  |  | 0 |  |  |  |  | 0 |  |  |  |  | 0 |  |  |  |  | 0 |  |  |  |  | 0 |  |  |  |  | 0 |  |  |  |  | 0 |  |  |  |  | 0 |  |  |  |  | 0 |  |  |  |  | 0 |  |  |  |  | 0
(2, 3, 5) | X10 |  | Back | 2710 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 |  |  |  |  | 0 |  |  |  |  | 0 |  |  |  |  | 0 |  |  |  |  | 0 |  |  |  |  | 0 |  |  |  |  | 0 |  |  |  |  | 0 |  |  |  |  | 0 |  |  |  |  | 0 |  |  |  |  | 0 |  |  |  |  | 0 |  |  |  |  | 0 |  |  |  |  | 0 |  |  |  |  | 0 |  |  |  |  | 0 |  |  |  |  | 0 |  |  |  |  | 0 |  |  |  |  | 0 |  |  |  |  | 0 |  |  | 1 |  | 1 |  |  | 1 |  | 1 |  |  | 1 |  | 1 |  |  |  |  | 0 |  |  |  |  | 0 |  |  |  |  | 0 |  |  |  |  | 0 |  |  |  |  | 0 |  |  |  |  | 0 |  |  |  |  | 0 |  |  |  |  | 0 |  |  |  |  | 0 |  |  |  |  | 0
(0, 1, 5) | Y10 | MID 151 | Front | 2559 | 0 | 0 | 1 | 1 |  | 0 | 0 | 1 | 1 |  |  |  |  | 0 |  |  |  | 1 | 1 |  |  |  | 1 | 1 |  |  |  |  | 0 |  |  |  |  | 0 |  |  |  |  | 0 |  |  |  |  | 0 |  |  |  |  | 0 |  |  |  |  | 0 |  |  |  | 1 | 1 |  |  |  | 0 | 0 |  |  |  | 0 | 0 |  |  |  |  | 0 |  |  |  |  | 0 |  |  |  |  | 0 |  |  |  |  | 0 |  |  |  |  | 0 |  |  |  |  | 0 |  |  |  |  | 0 |  |  |  |  | 0 |  |  |  |  | 0 |  |  |  |  | 0 |  |  |  |  | 0 |  |  |  |  | 0 |  |  |  |  | 0 |  |  |  |  | 0 |  |  |  |  | 0 |  |  |  |  | 0 |  |  |  |  | 0 |  |  |  |  | 0 |  |  |  |  | 0 |  |  |  |  | 0
(4, 5, 4) | Y9 |  | Back | 11190 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 |  |  |  |  | 0 |  |  |  |  | 0 |  |  |  |  | 0 |  |  |  |  | 0 |  |  |  |  | 0 |  |  |  |  | 0 |  |  |  |  | 0 |  |  |  |  | 0 |  |  |  |  | 0 |  |  |  |  | 0 |  |  |  |  | 0 |  |  |  |  | 0 |  |  |  |  | 0 |  |  |  |  | 0 |  |  |  |  | 0 |  |  |  |  | 0 |  |  |  |  | 0 |  |  |  |  | 0 |  |  |  |  | 0 |  |  |  |  | 0 |  |  |  |  | 0 |  |  |  |  | 0 |  |  |  |  | 0 |  |  |  |  | 0 |  |  |  |  | 0 |  |  |  |  | 0 |  |  |  |  | 0 |  |  |  |  | 0 |  |  |  |  | 0 |  |  |  |  | 0 |  |  |  |  | 0 |  |  |  |  | 0
(6, 7, 4) | X9 | MID 155 | Front | 2016 | 1 | 0 | 0 | 1 |  | 1 | 0 | 0 | 1 |  | 1 |  |  | 1 |  | 1 |  |  | 1 |  | 1 |  |  | 1 |  | 1 |  |  | 1 |  | 1 |  |  | 1 |  | 1 |  |  | 1 |  | 1 |  |  | 1 |  | 1 |  |  | 1 |  | 1 |  |  | 1 |  | 1 |  |  | 1 |  | 1 |  |  | 1 |  | 1 |  |  | 1 |  | 1 |  |  | 1 |  | 1 |  |  | 1 |  | 1 |  |  | 1 |  | 1 |  |  | 1 |  | 1 |  |  | 1 |  | 1 |  |  | 1 |  | 1 |  |  | 1 |  | 1 |  |  | 1 |  | 1 |  |  | 1 |  | 1 |  |  | 1 |  | 1 |  |  | 1 |  | 1 |  |  | 1 |  | 1 |  |  | 1 |  | 1 |  |  | 1 |  | 1 |  |  | 1 |  | 1 |  |  | 1 |  | 1 |  |  | 1 |  | 1 |  |  | 1 |  | 1 |  |  | 1 |  | 1 |  |  | 1
(2, 3, 4) | X8 |  | Back | 2143 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 |  |  |  |  | 0 |  |  |  |  | 0 |  |  |  |  | 0 |  |  |  |  | 0 |  |  |  |  | 0 |  |  |  |  | 0 |  |  |  |  | 0 |  |  |  |  | 0 |  |  |  |  | 0 |  |  |  |  | 0 |  |  |  |  | 0 |  |  |  |  | 0 |  |  |  |  | 0 |  |  |  |  | 0 |  |  |  |  | 0 |  |  |  |  | 0 |  |  |  |  | 0 |  |  |  |  | 0 |  |  |  |  | 0 |  |  |  |  | 0 |  |  |  |  | 0 |  |  |  |  | 0 |  |  |  |  | 0 |  |  |  |  | 0 |  |  |  |  | 0 |  |  |  |  | 0 |  |  |  |  | 0 |  |  |  |  | 0 |  |  |  |  | 0 |  |  |  |  | 0 |  |  |  |  | 0 |  |  |  |  | 0
(0, 1, 4) | Y8 | MID 162 | Front | 2582 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 |  |  |  |  | 0 |  |  |  |  | 0 |  |  |  |  | 0 |  |  |  |  | 0 |  |  |  |  | 0 |  |  |  |  | 0 |  |  |  |  | 0 |  |  |  |  | 0 |  |  |  |  | 0 |  |  |  |  | 0 |  |  |  |  | 0 |  |  |  |  | 0 |  |  |  |  | 0 |  |  |  |  | 0 |  |  |  |  | 0 |  |  |  |  | 0 |  |  |  |  | 0 |  |  |  |  | 0 |  |  |  |  | 0 |  |  |  |  | 0 |  |  |  |  | 0 |  |  |  |  | 0 |  |  |  |  | 0 |  |  |  |  | 0 |  |  |  |  | 0 |  |  |  |  | 0 |  |  |  |  | 0 |  |  |  |  | 0 |  |  |  |  | 0 |  |  |  |  | 0 |  |  |  |  | 0 |  |  |  |  | 0
(4, 5, 3) | Y7 |  | Back | 2679 | 0 | 4 | 1 | 5 |  | 0 | 1 | 1 | 2 |  |  | 1 | 2 | 3 |  |  | 1 | 2 | 3 |  |  | 1 | 2 | 3 |  |  | 1 |  | 1 |  |  | 1 |  | 1 |  |  |  |  | 0 |  |  |  |  | 0 |  |  |  | 1 | 1 |  |  |  | 1 | 1 |  |  |  | 1 | 1 |  |  |  | 1 | 1 |  |  |  |  | 0 |  |  |  |  | 0 |  |  |  |  | 0 |  |  |  |  | 0 |  |  |  | 1 | 1 |  |  |  | 1 | 1 |  |  |  |  | 0 |  |  |  |  | 0 |  |  |  |  | 0 |  |  |  |  | 0 |  |  |  |  | 0 |  |  |  |  | 0 |  |  |  |  | 0 |  |  |  |  | 0 |  |  |  |  | 0 |  |  |  |  | 0 |  |  |  |  | 0 |  |  |  |  | 0 |  |  |  |  | 0 |  |  |  |  | 0 |  |  |  |  | 0
(6, 7, 3) | X7 |  | Front |  | 1 | 4 | 4 | 9 |  | 1 | 6 | 4 | 11 |  | 1 | 6 | 8 | 15 |  | 1 | 6 | 8 | 15 |  | 1 | 5 | 7 | 13 |  | 1 | 5 | 2 | 8 |  | 1 | 5 | 2 | 8 |  | 1 | 5 | 2 | 8 |  | 1 | 5 | 2 | 8 |  | 1 | 5 | 3 | 9 |  | 1 | 5 | 4 | 10 |  | 1 | 5 | 4 | 10 |  | 1 | 5 | 2 | 8 |  | 1 | 5 | 2 | 8 |  | 1 | 5 | 2 | 8 |  | 1 | 5 | 1 | 7 |  | 1 | 5 | 2 | 8 |  | 1 | 5 | 3 | 9 |  | 1 | 5 | 4 | 10 |  | 1 | 5 | 2 | 8 |  | 1 | 4 | 2 | 7 |  | 1 | 4 | 1 | 6 |  | 1 | 4 | 1 | 6 |  | 1 | 4 | 1 | 6 |  | 1 | 4 | 2 | 7 |  | 1 | 5 | 3 | 9 |  | 1 | 5 | 3 | 9 |  | 1 | 4 | 2 | 7 |  | 1 | 4 | 2 | 7 |  | 1 | 4 | 1 | 6 |  |  | 4 | 1 | 5 |  |  | 4 | 1 | 5 |  |  | 4 | 2 | 6 |  | 1 | 5 | 4 | 10
(2, 3, 3) | X6 |  | Back |  | 0 | 8 | 2 | 10 |  | 0 | 7 | 2 | 9 |  | 0 | 7 | 2 | 9 |  | 0 | 7 | 2 | 9 |  | 0 | 7 | 2 | 9 |  | 0 | 7 | 2 | 9 |  | 0 | 7 | 2 | 9 |  | 0 | 7 | 2 | 9 |  | 0 | 7 | 2 | 9 |  | 0 | 7 | 2 | 9 |  | 0 | 7 | 2 | 9 |  | 0 | 7 | 2 | 9 |  | 0 | 7 | 2 | 9 |  | 0 | 7 | 2 | 9 |  |  | 7 | 2 | 9 |  |  | 7 | 2 | 9 |  |  | 7 | 2 | 9 |  |  | 7 | 2 | 9 |  |  | 7 | 2 | 9 |  |  | 7 | 2 | 9 |  |  | 7 | 2 | 9 |  |  | 7 | 2 | 9 |  |  | 7 | 2 | 9 |  |  | 7 | 2 | 9 |  |  | 7 | 2 | 9 |  |  | 7 | 2 | 9 |  |  | 7 | 2 | 9 |  |  | 7 | 2 | 9 |  |  | 7 | 2 | 9 |  |  | 7 | 2 | 9 |  |  | 7 | 2 | 9 |  |  | 7 | 2 | 9 |  |  | 7 | 2 | 9 |  |  | 7 | 2 | 9
(0, 1, 3) | Y6 | HVY 054 | Front | 2454 | 0 | 2 | 0 | 2 |  | 0 | 2 | 0 | 2 |  |  | 2 |  | 2 |  |  | 2 |  | 2 |  |  | 2 |  | 2 |  |  | 2 |  | 2 |  |  | 2 |  | 2 |  |  | 2 |  | 2 |  |  | 2 |  | 2 |  |  | 2 |  | 2 |  |  | 2 |  | 2 |  |  | 2 |  | 2 |  |  | 2 |  | 2 |  |  | 2 |  | 2 |  |  | 2 |  | 2 |  |  | 2 |  | 2 |  |  | 2 |  | 2 |  |  | 2 |  | 2 |  |  | 2 |  | 2 |  |  | 2 |  | 2 |  |  | 2 |  | 2 |  |  | 2 |  | 2 |  |  | 2 |  | 2 |  |  | 2 |  | 2 |  |  | 2 |  | 2 |  |  | 2 |  | 2 |  |  | 2 |  | 2 |  |  | 2 |  | 2 |  |  | 2 |  | 2 |  |  | 2 |  | 2 |  |  | 2 |  | 2 |  |  | 2 |  | 2 |  |  | 2 |  | 2 |  |  | 2 |  | 2
(4, 5, 2) | Y5 |  | Back | 3057 | 0 | 2 | 0 | 2 |  | 0 | 2 | 0 | 2 |  |  | 2 |  | 2 |  |  | 2 |  | 2 |  |  | 2 |  | 2 |  |  | 2 |  | 2 |  |  | 2 |  | 2 |  |  | 2 |  | 2 |  |  | 2 |  | 2 |  |  | 2 |  | 2 |  |  | 2 |  | 2 |  |  | 2 |  | 2 |  |  | 2 |  | 2 |  |  | 2 |  | 2 |  |  | 2 |  | 2 |  |  | 2 |  | 2 |  |  | 2 |  | 2 |  |  | 2 |  | 2 |  |  | 2 |  | 2 |  |  | 2 |  | 2 |  |  | 2 |  | 2 |  |  | 2 |  | 2 |  |  | 2 |  | 2 |  |  | 2 |  | 2 |  |  | 2 |  | 2 |  |  | 2 |  | 2 |  |  | 2 |  | 2 |  |  | 2 |  | 2 |  |  | 2 |  | 2 |  |  | 2 |  | 2 |  |  | 2 |  | 2 |  |  | 2 |  | 2 |  |  | 2 |  | 2 |  |  | 2 |  | 2
(6, 7, 2) | X5 | HVY 057 | Front | 2163 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 |  |  | 0 |  | 0 |  |  | 0 |  | 0 |  |  | 0 |  | 0 |  |  | 0 |  | 0 |  |  | 0 |  | 0 |  |  | 0 |  | 0 |  |  | 0 |  | 0 |  |  | 0 |  | 0 |  |  | 0 |  | 0 |  |  | 0 |  | 0 |  |  | 0 |  | 0 |  |  | 0 |  | 0 |  |  |  |  | 0 |  |  |  |  | 0 |  |  |  |  | 0 |  |  |  |  | 0 |  |  |  |  | 0 |  |  |  |  | 0 |  |  |  |  | 0 |  |  |  |  | 0 |  |  |  |  | 0 |  |  |  |  | 0 |  |  |  |  | 0 |  |  |  |  | 0 |  |  |  |  | 0 |  |  |  |  | 0 |  |  |  |  | 0 |  |  |  |  | 0 |  |  |  |  | 0 |  |  |  |  | 0 |  |  |  |  | 0 |  |  |  |  | 0
(2, 3, 2) | X4 |  | Back | 3080 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 |  |  |  |  | 0 |  |  |  |  | 0 |  |  |  |  | 0 |  |  |  |  | 0 |  |  |  |  | 0 |  |  |  |  | 0 |  |  |  |  | 0 |  |  |  |  | 0 |  |  |  |  | 0 |  |  |  |  | 0 |  |  |  |  | 0 |  |  |  |  | 0 |  |  |  |  | 0 |  |  |  |  | 0 |  |  |  |  | 0 |  |  |  |  | 0 |  |  |  |  | 0 |  |  |  |  | 0 |  |  |  |  | 0 |  |  |  |  | 0 |  |  |  |  | 0 |  |  |  |  | 0 |  |  |  |  | 0 |  |  |  |  | 0 |  |  |  |  | 0 |  |  |  |  | 0 |  |  |  |  | 0 |  |  |  |  | 0 |  |  |  |  | 0 |  |  |  |  | 0 |  |  |  |  | 0 |  |  |  |  | 0
(0, 1, 2) | Y4 | HVY 058 | Front | 2408 | 0 | 2 | 0 | 2 |  | 0 | 1 | 0 | 1 |  |  | 1 |  | 1 |  |  | 1 |  | 1 |  |  | 1 |  | 1 |  |  | 1 |  | 1 |  |  | 1 |  | 1 |  |  | 1 |  | 1 |  |  | 1 |  | 1 |  |  | 1 |  | 1 |  |  | 1 |  | 1 |  |  | 1 |  | 1 |  |  | 1 |  | 1 |  |  | 1 |  | 1 |  |  | 1 |  | 1 |  |  | 1 |  | 1 |  |  | 1 |  | 1 |  |  | 1 |  | 1 |  |  | 1 |  | 1 |  |  | 1 |  | 1 |  |  | 1 |  | 1 |  |  | 1 |  | 1 |  |  | 1 |  | 1 |  |  | 1 |  | 1 |  |  | 1 |  | 1 |  |  | 1 |  | 1 |  |  | 1 |  | 1 |  |  | 1 |  | 1 |  |  | 1 |  | 1 |  |  | 1 |  | 1 |  |  | 1 |  | 1 |  |  | 1 |  | 1 |  |  | 1 |  | 1 |  |  | 1 |  | 1
(4, 5, 1) | Y3 |  | Back | 3088 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 |  |  |  |  | 0 |  |  |  |  | 0 |  |  |  |  | 0 |  |  |  |  | 0 |  |  |  |  | 0 |  |  |  |  | 0 |  |  |  |  | 0 |  |  |  |  | 0 |  |  |  |  | 0 |  |  |  |  | 0 |  |  |  |  | 0 |  |  |  |  | 0 |  |  |  |  | 0 |  |  |  |  | 0 |  |  |  |  | 0 |  |  |  |  | 0 |  |  |  |  | 0 |  |  |  |  | 0 |  |  |  |  | 0 |  |  |  |  | 0 |  |  |  |  | 0 |  |  |  |  | 0 |  |  |  |  | 0 |  |  |  |  | 0 |  |  |  |  | 0 |  |  |  |  | 0 |  |  |  |  | 0 |  |  |  |  | 0 |  |  |  |  | 0 |  |  |  |  | 0 |  |  |  |  | 0 |  |  |  |  | 0
(6, 7, 1) | X3 | HVY 039 | Front | 2351 | 0 | 7 | 3 | 10 |  | 0 | 6 | 3 | 9 |  |  | 5 | 1 | 6 |  |  | 6 | 1 | 7 |  |  | 6 | 2 | 8 |  |  | 6 | 2 | 8 |  |  | 6 |  | 6 |  |  | 6 | 1 | 7 |  |  | 6 | 1 | 7 |  |  | 6 | 2 | 8 |  |  | 10 | 30 | 40 |  |  | 7 | 3 | 10 |  |  | 6 | 2 | 8 |  |  | 6 | 2 | 8 |  |  | 6 |  | 6 |  |  | 6 |  | 6 |  |  | 6 | 2 | 8 |  |  | 6 | 323 | 329 |  |  | 6 | 2 | 8 |  |  | 6 | 2 | 8 |  |  | 6 | 2 | 8 |  |  | 6 |  | 6 |  |  | 6 |  | 6 |  |  | 6 | 2 | 8 |  |  | 6 | 2 | 8 |  |  | 15 | 68 | 83 |  |  | 6 | 2 | 8 |  |  | 6 | 2 | 8 |  |  | 6 | 2 | 8 |  |  | 6 |  | 6 |  |  | 6 |  | 6 |  |  | 6 | 1 | 7 |  |  | 6 | 2 | 8 |  |  | 5 | 1 | 6
(2, 3, 1) | X2 |  | Back | 3089 | 0 | 2 | 1 | 3 |  | 0 | 2 | 1 | 3 |  |  | 2 | 1 | 3 |  |  | 2 | 1 | 3 |  |  | 2 | 1 | 3 |  |  | 2 | 1 | 3 |  |  | 2 | 1 | 3 |  |  | 2 | 1 | 3 |  |  | 2 | 1 | 3 |  |  | 2 | 1 | 3 |  |  | 2 | 1 | 3 |  |  | 2 | 1 | 3 |  |  | 2 | 1 | 3 |  |  | 2 | 1 | 3 |  |  | 2 | 1 | 3 |  |  | 2 | 1 | 3 |  |  | 2 | 1 | 3 |  |  | 2 | 1 | 3 |  |  | 2 | 1 | 3 |  |  | 2 | 1 | 3 |  |  | 2 | 1 | 3 |  |  | 2 | 1 | 3 |  |  | 2 | 1 | 3 |  |  | 2 | 1 | 3 |  |  | 2 | 1 | 3 |  |  | 2 | 1 | 3 |  |  | 2 | 1 | 3 |  |  | 2 | 1 | 3 |  |  | 2 | 1 | 3 |  |  | 2 | 1 | 3 |  |  | 2 | 1 | 3 |  |  | 2 | 1 | 3 |  |  | 2 | 1 | 3 |  |  | 2 | 1 | 3
(0, 1, 1) | Y2 | LGT 025 | Front | 2033 | 0 | 3 | 3 | 6 |  | 0 | 3 | 3 | 6 |  |  | 3 | 3 | 6 |  |  | 3 | 3 | 6 |  |  | 3 | 3 | 6 |  |  | 3 | 3 | 6 |  |  | 3 | 3 | 6 |  |  | 3 | 3 | 6 |  |  | 3 | 3 | 6 |  |  | 3 | 3 | 6 |  |  | 3 | 3 | 6 |  |  | 3 | 3 | 6 |  |  | 3 | 3 | 6 |  |  | 3 | 3 | 6 |  |  | 3 | 3 | 6 |  |  | 3 | 3 | 6 |  |  | 3 | 3 | 6 |  |  | 3 | 3 | 6 |  |  | 3 | 3 | 6 |  |  | 3 | 3 | 6 |  |  | 3 | 3 | 6 |  |  | 3 | 3 | 6 |  |  | 3 | 3 | 6 |  |  | 3 | 3 | 6 |  |  | 3 | 3 | 6 |  |  | 3 | 3 | 6 |  |  | 3 | 3 | 6 |  |  | 3 | 3 | 6 |  |  | 3 | 3 | 6 |  |  | 3 | 3 | 6 |  |  | 3 | 3 | 6 |  |  | 3 | 3 | 6 |  |  | 3 | 3 | 6 |  |  | 3 | 3 | 6
(4, 5, 0) | Y1 |  | Back | 2230 | 0 | 2 | 0 | 2 |  | 0 | 2 | 0 | 2 |  |  | 2 |  | 2 |  |  | 2 |  | 2 |  |  | 2 |  | 2 |  |  | 2 |  | 2 |  |  | 2 |  | 2 |  |  | 2 |  | 2 |  |  | 2 |  | 2 |  |  | 2 |  | 2 |  |  | 2 |  | 2 |  |  | 2 |  | 2 |  |  | 2 |  | 2 |  |  | 2 |  | 2 |  |  | 2 |  | 2 |  |  | 2 |  | 2 |  |  | 2 |  | 2 |  |  | 2 |  | 2 |  |  | 2 |  | 2 |  |  | 2 |  | 2 |  |  | 2 |  | 2 |  |  | 2 |  | 2 |  |  | 2 |  | 2 |  |  | 2 |  | 2 |  |  | 2 |  | 2 |  |  | 2 |  | 2 |  |  | 2 |  | 2 |  |  | 2 |  | 2 |  |  | 2 |  | 2 |  |  | 2 |  | 2 |  |  | 2 |  | 2 |  |  | 2 |  | 2 |  |  | 2 |  | 2 |  |  | 2 |  | 2
(6, 7, 0) | X1 | LGT 020 | Front | 2123 | 1 | 0 | 0 | 1 |  | 1 | 0 | 0 | 1 |  | 1 |  |  | 1 |  | 1 |  |  | 1 |  | 1 |  |  | 1 |  | 1 |  |  | 1 |  | 1 |  |  | 1 |  | 1 |  |  | 1 |  | 1 |  |  | 1 |  | 1 |  |  | 1 |  | 1 |  |  | 1 |  | 1 |  |  | 1 |  | 1 |  |  | 1 |  | 1 |  |  | 1 |  | 1 |  |  | 1 |  | 1 |  |  | 1 |  | 1 |  |  | 1 |  | 1 |  |  | 1 |  | 1 |  |  | 1 |  | 1 |  |  | 1 |  | 1 |  |  | 1 |  | 1 |  |  | 1 |  | 1 |  |  | 1 |  | 1 |  |  | 1 |  | 1 |  |  | 1 |  | 1 |  |  | 1 |  | 1 |  |  | 1 |  | 1 |  |  | 1 |  | 1 |  |  | 1 |  | 1 |  |  | 1 |  | 1 |  |  | 1 |  | 1 |  |  | 1 |  | 1 |  |  | 1 |  | 1 |  |  | 1
(2, 3, 0) | X0 |  | Back | 2087 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 |  |  |  |  | 0 |  |  |  |  | 0 |  |  |  |  | 0 |  |  |  |  | 0 |  |  |  |  | 0 |  |  |  |  | 0 |  |  |  |  | 0 |  |  |  |  | 0 |  |  |  |  | 0 |  |  |  |  | 0 |  |  |  |  | 0 |  |  |  |  | 0 |  |  |  |  | 0 |  |  |  |  | 0 |  |  |  |  | 0 |  |  |  |  | 0 |  |  |  |  | 0 |  |  |  |  | 0 |  |  |  |  | 0 |  |  |  |  | 0 |  |  |  |  | 0 |  |  |  |  | 0 |  |  |  |  | 0 |  |  |  |  | 0 |  |  |  |  | 0 |  |  |  |  | 0 |  |  |  |  | 0 |  |  |  |  | 0 |  |  |  |  | 0 |  |  |  |  | 0 |  |  |  |  | 0 |  |  |  |  | 0
(0, 1, 0) | Y0 | BTM 013 | Front | 2364 | 0 | 8 | 0 | 8 |  | 0 | 8 | 0 | 8 |  |  | 8 |  | 8 |  |  | 8 |  | 8 |  |  | 8 |  | 8 |  |  | 8 |  | 8 |  |  | 8 |  | 8 |  |  | 8 |  | 8 |  |  | 8 |  | 8 |  |  | 8 |  | 8 |  |  | 8 |  | 8 |  |  | 8 |  | 8 |  |  | 8 |  | 8 |  |  | 8 |  | 8 |  |  | 8 |  | 8 |  |  | 8 |  | 8 |  |  | 8 |  | 8 |  |  | 8 |  | 8 |  |  | 8 |  | 8 |  |  | 8 |  | 8 |  |  | 8 |  | 8 |  |  | 8 |  | 8 |  |  | 8 |  | 8 |  |  | 8 |  | 8 |  |  | 8 | 96 | 104 |  |  | 8 |  | 8 |  |  | 8 |  | 8 |  |  | 8 |  | 8 |  |  | 8 |  | 8 |  |  | 8 |  | 8 |  |  | 8 |  | 8 |  |  | 8 |  | 8 |  |  | 8 |  | 8 |  |  | 8 |  | 8
|  | Total |  |  | 5 | 52 | 21 | 78 |  | 5 | 46 | 21 | 72 |  | 4 | 45 | 19 | 68 |  | 4 | 46 | 20 | 70 |  | 4 | 45 | 21 | 70 |  | 4 | 45 | 11 | 60 |  | 4 | 45 | 9 | 58 |  | 5 | 44 | 10 | 59 |  | 5 | 44 | 10 | 59 |  | 4 | 44 | 13 | 61 |  | 4 | 48 | 43 | 95 |  | 4 | 44 | 16 | 64 |  | 4 | 43 | 12 | 59 |  | 5 | 43 | 11 | 59 |  | 4 | 44 | 9 | 57 |  | 5 | 44 | 8 | 57 |  | 5 | 44 | 11 | 60 |  | 4 | 43 | 334 | 381 |  | 4 | 43 | 14 | 61 |  | 4 | 43 | 11 | 58 |  | 4 | 42 | 11 | 57 |  | 5 | 43 | 8 | 56 |  | 5 | 43 | 8 | 56 |  | 5 | 43 | 10 | 58 |  | 4 | 42 | 108 | 154 |  | 4 | 52 | 78 | 134 |  | 4 | 43 | 12 | 59 |  | 4 | 42 | 11 | 57 |  | 4 | 42 | 11 | 57 |  | 5 | 42 | 8 | 55 |  | 4 | 42 | 8 | 54 |  | 4 | 42 | 9 | 55 |  | 4 | 42 | 11 | 57 |  | 4 | 42 | 12 | 58
Note: | [9 empty] | 0 | -6 | 0 | -6 |  | -1 | -1 | -2 | -4 |  | 0 | 1 | 1 | 2 |  | 0 | -1 | 1 | 0 |  | 0 | 0 | -10 | -10 |  | 0 | 0 | -2 | -2 |  | 1 | -1 | 1 | 1 |  | 0 | 0 | 0 | 0 |  | -1 | 0 | 3 | 2 |  | 0 | 4 | 30 | 34 |  | 0 | -4 | -27 | -31 |  | 0 | -1 | -4 | -5 |  | 1 | 0 | -1 | 0 |  | -1 | 1 | -2 | -2 |  | 1 | 0 | -1 | 0 |  | 0 | 0 | 3 | 3 |  | -1 | -1 | 323 | 321 |  | 0 | 0 | -320 | -320 |  | 0 | 0 | -3 | -3 |  | 0 | -1 | 0 | -1 |  | 1 | 1 | -3 | -1 |  | 0 | 0 | 0 | 0 |  | 0 | 0 | 2 | 2 |  | -1 | -1 | 98 | 96 |  | 0 | 10 | -30 | -20 |  | 0 | -9 | -66 | -75 |  | 0 | -1 | -1 | -2 |  | 0 | 0 | 0 | 0 |  | 1 | 0 | -3 | -2 |  | -1 | 0 | 0 | -1 |  | 0 | 0 | 1 | 1 |  | 0 | 0 | 2 | 2 |  | 0 | 0 | 1 | 1
Used Test
n disc. ch. (Low ENC) | NoiseAndGain
n daed | NoiseAndGain
n noisy | NoiseOccupancy
TRAY XXX
MID 007 replaced in Pisa!!!!

## data4plot
Tower 6 - No Cables 3 & 5 | CPT No Sidewalls | CPT pre TV test | CPT vacuum RT | LPT at 30C | CPT at 1st Hot Soak | LPT at 30C from 1st Hot to 1st Cold Soak | LPT at 15C from 1st Hot to 1st Cold Soak | LPT at 0C from 1st Hot to 1st Cold Soak | CPT 1st cold soak | LPT at 0C from 1st Cold to 2nd Hot Soak | CPT 2nd Hot Soak | LPT at 0C from 2nd Hot to 2nd Cold Soak | CPT 2nd Cold Soak | LPT at 0C from 2nd Cold to 3rd Hot Soak | LPT 15C from 2nd Cold to 3rd Hot Soak |  |  | CPT 3rd Hot Soak | TWR 8 LPT at 30C | TWR 8 LPT at 15C | TWR 8 LPT at 0C | TWR 8 CPT at -15C 3rd Cold Soak | TWR 8 LPT at 0C 3rd Cold --> 4th Hot Soak | TWR 8 LPT at 15C 3rd Cold --> 4th Hot Soak | TWR 8 LPT at 30C 3rd Cold --> 4th Hot Soak | TWR 8: CPT 4th Hot Soak | TWR 8 LPT at 30C 4th Hot --> 4th Cold Soak | TWR 8 LPT at 0C 4th Hot --> 4th Cold Soak |  |  |  |  | TWR 8: CPT -15C 4th Cold Soak |  |  |  |  | TWR 8: CPT RT in vacuum 4th | TWR 8: CPT RT and room pressure | TWR 8 retest: CPT RT and room pressure | TWR 8 retest: CPT RT in vacuum | TWR 8 retest:1st hot soak | TWR 8 retest:lpt at 30C from 1st hot to 1st cold | TWR 8 retest:lpt at 15C from 1st hot to 1st cold | TWR 8 retest:lpt at 0C from 1st hot to 1st cold | TWR 8 retest:st Cold Soak | TWR 8 retest LPT at 0C | TWR 8 retest LPT at 15C | TWR 8 retest LPT at 30C | TWR 8 retest CPT at 2nd hot soak | TWR 8 retest LPT at 30C | TWR 8 retest LPT at 15C | TWR 8 retest LPT at 0C | TWR 8 retest: CPT at 2nd Cold Soak | TWR 8 retest LPT at 0C | TWR 8 retest LPT at 30C | TWR 8 retest: CPT at 3rd Hot Soak | TWR 8 retest LPT at 30C | TWR 8 retest LPT at 15C | TWR 8 retest LPT at 0C | TWR 8 retest CPT at 3rd Cold | TWR 8 retest LPT at 0C | TWR 8 retest LPT at 15C | TWR 8 retest LPT at 30C | TWR 8 retest CPT at 4th hot soak | TWR 8 retest LPT at 30C | TWR 8 retest LPT at 15C | TWR 8 retest LPT at 0C | TWR 8 retest CPT at 4th cold soak | TKR8 Re-test: LPT at 0 from 4th cold to RT | CPT at RT | CPT at STP
Y17 | 2 | 4 | 2 | 7 | 6 | 4 | 2 | 2 | 2 | 2 | 6 | 2 | 2 | 2 | 2 |  |  | 7 | 3 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 |  |  |  |  | 2 |  |  |  |  | 2 | 2 | 2 | 3 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2
X17 | 3 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  |  | 2 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 0 |  |  |  |  | 0 |  |  |  |  | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
X16 | 6 | 5 | 3 | 2 | 10 | 4 | 2 | 1 | 1 | 1 | 5 | 1 | 1 | 1 | 1 |  |  | 6 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 |  |  |  |  | 1 |  |  |  |  | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1
Y16 | 4 | 3 | 0 | 0 | 0 | 1 | 1 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 |  |  | 1 | 1 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 1 | 0 |  |  |  |  | 0 |  |  |  |  | 0 | 0 | 0 | 3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Y15 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  |  |  |  | 0 |  |  |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
X15 | 0 | 0 | 1 | 1 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  |  |  |  | 0 |  |  |  |  | 0 | 0 | 0 | 1 | 1 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
X14 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 4 | 0 | 0 | 0 | 0 |  |  | 3 | 2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  |  |  |  | 0 |  |  |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Y14 | 4 | 4 | 3 | 4 | 5 | 3 | 4 | 3 | 3 | 3 | 4 | 3 | 3 | 3 | 3 |  |  | 6 | 4 | 4 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 |  |  |  |  | 3 |  |  |  |  | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3
Y13 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 2 | 1 | 1 | 1 | 1 |  |  | 2 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 |  |  |  |  | 1 |  |  |  |  | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1
X13 | 4 | 4 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 |  |  | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 |  |  |  |  | 1 |  |  |  |  | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 0 | 0 | 0 | 1 | 1 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
X12 | 0 | 2 | 1 | 0 | 1 | 1 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 |  |  | 3 | 0 | 0 | 1 | 1 | 1 | 0 | 0 | 0 | 0 | 1 |  |  |  |  | 1 |  |  |  |  | 1 | 1 | 1 | 1 | 0 | 0 | 0 | 0 | 1 | 1 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 1 | 0 | 0 | 0 | 0 | 1 | 1 | 1 | 1 | 0 | 0 | 0 | 0 | 1 | 1 | 1 | 1 | 0
Y12 | 0 | 2 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  |  |  |  | 0 |  |  |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Y11 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  |  |  |  | 0 |  |  |  |  | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
X11 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  |  |  |  | 0 |  |  |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
X10 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 |  |  | 5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  |  |  |  | 0 |  |  |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Y10 | 0 | 2 | 1 | 2 | 3 | 1 | 0 | 0 | 1 | 2 | 5 | 0 | 0 | 0 | 0 |  |  | 5 | 2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  |  |  |  | 0 |  |  |  |  | 0 | 0 | 0 | 1 | 1 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Y9 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  |  |  |  | 0 |  |  |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
X9 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 |  |  | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 |  |  |  |  | 1 |  |  |  |  | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1
X8 | 0 | 0 | 0 | 0 | 2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  |  | 2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  |  |  |  | 0 |  |  |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Y8 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  |  |  |  | 0 |  |  |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Y7 | 1 | 2 | 2 | 3 | 3 | 2 | 1 | 1 | 0 | 1 | 2 | 0 | 0 | 0 | 0 |  |  | 1 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  |  |  |  | 0 |  |  |  |  | 0 | 0 | 0 | 1 | 3 | 3 | 1 | 1 | 0 | 0 | 1 | 1 | 1 | 1 | 0 | 0 | 0 | 0 | 1 | 1 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
X7 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 |  |  | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 |  |  |  |  | 3 |  |  |  |  | 3 | 3 | 3 | 13 | 15 | 13 | 8 | 8 | 8 | 8 | 9 | 10 | 10 | 8 | 8 | 8 | 7 | 8 | 9 | 10 | 10 | 7 | 6 | 6 | 6 | 7 | 9 | 9 | 7 | 7 | 6 | 5 | 5 | 6 | 10
X6 | 2 | 1 | 327 | 2 | 5 | 2 | 2 | 0 | 0 | 0 | 143 | 0 | 0 | 0 | 0 |  |  | 393 | 372 | 0 | 0 | 0 | 0 | 1 | 1 | 254 | 232 | 0 |  |  |  |  | 0 |  |  |  |  | 53 | 1 | 1 | 9 | 9 | 9 | 9 | 9 | 9 | 9 | 9 | 9 | 9 | 9 | 9 | 9 | 9 | 9 | 9 | 9 | 9 | 9 | 9 | 9 | 9 | 9 | 9 | 9 | 9 | 9 | 9 | 9 | 9 | 9 | 9
Y6 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 |  |  | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 |  |  |  |  | 2 |  |  |  |  | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2
Y5 | 2 | 2 | 2 | 2 | 3 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 |  |  | 4 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 |  |  |  |  | 2 |  |  |  |  | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2
X5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 4 | 0 | 0 | 0 | 0 |  |  | 2 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  |  |  |  | 0 |  |  |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
X4 | 2 | 2 | 2 | 5 | 12 | 2 | 0 | 1 | 1 | 2 | 18 | 0 | 1 | 1 | 1 |  |  | 26 | 8 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  |  |  |  | 0 |  |  |  |  | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Y4 | 4 | 1 | 2 | 4 | 6 | 1 | 1 | 1 | 1 | 1 | 8 | 1 | 1 | 1 | 1 |  |  | 12 | 3 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 |  |  |  |  | 1 |  |  |  |  | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1
Y3 | 2 | 2 | 6 | 16 | 28 | 4 | 1 | 0 | 0 | 0 | 29 | 1 | 0 | 0 | 0 |  |  | 43 | 13 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  |  |  |  | 0 |  |  |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
X3 | 11 | 11 | 10 | 10 | 10 | 10 | 11 | 13 | 11 | 13 | 11 | 13 | 9 | 9 | 10 |  |  | 112 | 10 | 13 | 13 | 8 | 8 | 13 | 12 | 12 | 11 | 13 |  |  |  |  | 13 |  |  |  |  | 12 | 10 | 10 | 9 | 7 | 8 | 8 | 6 | 7 | 7 | 8 | 40 | 10 | 8 | 8 | 6 | 6 | 8 | 329 | 8 | 8 | 8 | 6 | 6 | 8 | 8 | 83 | 8 | 8 | 8 | 6 | 6 | 7 | 8 | 6
X2 | 8 | 7 | 7 | 11 | 21 | 7 | 4 | 3 | 4 | 5 | 21 | 4 | 4 | 4 | 4 |  |  | 39 | 11 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 |  |  |  |  | 3 |  |  |  |  | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3
Y2 | 3 | 2 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 |  |  | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 |  |  |  |  | 3 |  |  |  |  | 3 | 3 | 3 | 6 | 6 | 6 | 6 | 6 | 6 | 6 | 6 | 6 | 6 | 6 | 6 | 6 | 6 | 6 | 6 | 6 | 6 | 6 | 6 | 6 | 6 | 6 | 6 | 6 | 6 | 6 | 6 | 6 | 6 | 6 | 6
Y1 | 2 | 3 | 3 | 3 | 3 | 2 | 2 | 2 | 2 | 2 | 3 | 2 | 2 | 2 | 2 |  |  | 3 | 3 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 |  |  |  |  | 2 |  |  |  |  | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2
X1 | 2 | 2 | 2 | 3 | 4 | 2 | 2 | 2 | 2 | 2 | 3 | 2 | 2 | 2 | 2 |  |  | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 |  |  |  |  | 2 |  |  |  |  | 2 | 2 | 2 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1
X0 | 14 | 12 | 4 | 16 | 34 | 0 | 1 | 0 | 0 | 0 | 25 | 0 | 0 | 0 | 0 |  |  | 48 | 20 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  |  |  |  | 0 |  |  |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Y0 | 8 | 8 | 8 | 8 | 8 | 8 | 8 | 8 | 8 | 8 | 9 | 8 | 8 | 8 | 8 |  |  | 8 | 8 | 8 | 8 | 8 | 8 | 8 | 8 | 8 | 8 | 8 |  |  |  |  | 8 |  |  |  |  | 8 | 8 | 8 | 8 | 8 | 8 | 8 | 8 | 8 | 8 | 8 | 8 | 8 | 8 | 8 | 8 | 8 | 8 | 8 | 8 | 8 | 8 | 8 | 8 | 8 | 104 | 8 | 8 | 8 | 8 | 8 | 8 | 8 | 8 | 8
| 16 | 16 | 16 | 16 | 16 | 16 | 16 | 16 | 16 | 16 | 16 | 16 | 16 | 16 | 16 | 16 | 16 | 16 | 16 | 16 | 16 | 16 | 16 | 16 | 16 | 16 | 16 | 16 | 16 | 16 | 16 | 16 | 16 | 16 | 16 | 16 | 16 | 16 | 16 | 16 | 16 | 16 | 16 | 16 | 16 | 16 | 16 | 16 | 16 | 16 | 16 | 16 | 16 | 16 | 16 |  | 16 | 16 | 16 | 16 | 16 | 16 | 16 | 16 | 16 | 16 | 16 | 16 | 16 | 16 | 16 | 16 | 16 | 16 | 16 | 16 | 16 | 16 | 16 | 16 | 16 | 16 | 16 | 16 | 16 | 16 | 16 | 16 | 16 | 16 | 16 | 16 | 16 | 16 | 16 | 16 | 16 | 16 | 16 | 16 | 16 | 16 | 16 | 16 | 16 | 16 | 16 | 16 | 16 | 16 | 16 | 16 | 16 | 16 | 16 | 16 | 16 | 16 | 16 | 16 | 16 | 16 | 16 | 16 | 16 | 16 | 16 | 16 | 16 | 16 | 16 | 16 | 16 | 16 | 16 | 16 | 16 | 16 | 16 | 16 | 16 | 16 | 16 | 16 | 16 | 16 | 16 | 16 | 16 | 16 | 16 | 16 | 16 | 16 | 16 | 16 | 16 | 16 | 16 | 16 | 16 | 16 | 16 | 16 | 16 | 16 | 16 | 16 | 16 | 16 | 16 | 16 | 16 | 16 | 16 | 16 | 16 | 16 | 16 | 16 | 16 | 16 | 16 | 16 | 16 | 16 | 16 | 16 | 16 | 16 | 16 | 16 | 16 | 16 | 16 | 16 | 16 | 16 | 16 | 16 | 16 | 16 | 16 | 16 | 16 | 16 | 16 | 16 | 16 | 16 | 16 | 16 | 16 | 16 | 16 | 16 | 16 | 16 | 16 | 16 | 16 | 16 | 16 | 16 | 16 | 16 | 16 | 16 | 16 | 16 | 16 | 16 | 16 | 16 | 16