Request For Action Number: 15 Project Gamma-ray Large Area Space Telescope (GLAST) System/Instrument: Large Area Telescope (LAT) Review: Critical Design Review (CDR) Date: May 12-16, 2003 Originator: Jim Ryan Sharon Seipel Phone: 301-286-4975 301-286-8147 Organization: GSFC/543 GSFC Category: Mechanical Title: Mechanical Qualification Testing with Spacecraft Flexures Action Requested: LAT should perform mechanical qualification of the instrument using the spacecraft flexure set being provided by Spectrum Astro. Supporting Rationale: Using the spacecraft flexures will provide the correct load path for qualification testing of the LAT structural design. If they are not used, extensive pre-test analyses will be required to show that proper load levels (limit X1.25) are being developed with the test GSE and in the proper distribution. Project Response: