Meeting:	GLAST Preliminary Design Review, January 8-11, 2002

Subsystem:	Product Assurance 	Response Accepted/

RFA Closed:

RFA Number:	17	_________________

(Originator’s initials)

Originator:	Steven S. Scott, Code 500, 301-286-2529

Specific Request:

Describe the metrology program that will be used to ensure that equipment used in assembly and testing will measure and assemble correctly. For example, how does an assembler know that the tools and equipment being used are calibrated?

Supporting Rational:

This is a normal part of a PA program, but it is not clear what is being done for the LAT.

Response:

Quality System Procedure LAT-MD-00470, Inspection, Measuring & Test Equipment, has been established to ensure that monitoring and measurement can be carried out and are carried out in a manner that is consistent with the monitoring and measurement requirements.  Where necessary to ensure valid results, measuring equipment shall: a) be calibrated or verified at specified intervals or prior to use, against measurement standards traceable to international or national measurement standards; b) be identified to enable calibration status to be determined; c) be safeguarded from adjustments that would invalidate the measurement result; d) be protected from damage and deterioration during handling, maintenance and storage.  Document LAT-MD-00470 is available on the LAT website.