| Table 3. Test Instrumentation (page 2 of 2) - Thermocouples | Rev Date: | 03-Mar-02 |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  |  | Print Date: | 11-Feb-04 |  |  |  |  |  |
|  | Description of Instrumentation |  | Source of Instrumentation |  |  |  |  |  |
|  |  |  |  |  |  | Side of | Test Instrument. |  |  |  |
| Line # | Description | Type | Part No. | SS | Location | Shield | Fly-Away | Remov. | Total | Count |
| 27 | EMI Shield | Thermocouple |  | I&T | Outside of EMI Shield, halfway along z | Out |  | 12 | 12 | 3 positions x 4 sides |
| 28 | Grid +Z | Thermocouple |  | I&T | Grid interior web intersections | Out | 12 |  | 12 | 1/int cross, top/ot |
| 29 | ACD Subsystem TS | Thermocouple |  | ACD | +X face, -Y lower corner | Out | 1 |  | 1 | 1 per location |
| 30 | ACD Subsystem TS | Thermocouple |  | ACD | +X face, -Y upper corner | Out | 1 |  | 1 | 1 per location |
| 31 | ACD Subsystem TS | Thermocouple |  | ACD | +X face, +Y upper corner | Out | 1 |  | 1 | 1 per location |
| 32 | ACD Subsystem TS | Thermocouple |  | ACD | +Y face, +X lower corner | Out | 1 |  | 1 | 1 per location |
| 33 | ACD Subsystem TS | Thermocouple |  | ACD | +Y face, +X lower corner title flexure (tile 424) | Out | 1 |  | 1 | 1 per location |
| 34 | ACD Subsystem TS | Thermocouple |  | ACD | -X face, +Y lower corner | Out | 1 |  | 1 | 1 per location |
| 35 | ACD Subsystem TS | Thermocouple |  | ACD | -X face, +Y upper corner | Out | 1 |  | 1 | 1 per location |
| 36 | ACD Subsystem TS | Thermocouple |  | ACD | -X face, -Y upper corner | Out | 1 |  | 1 | 1 per location |
| 37 | ACD Subsystem TS | Thermocouple |  | ACD | -Y face, -X lower corner | Out | 1 |  | 1 | 1 per location |
| 38 | ACD Subsystem TS | Thermocouple |  | ACD | -Y face, -X lower corner tile (tile 220) | Out | 1 |  | 1 | 1 per location |
|  |  |  |  |  | Total |  | 91 | 208 | 299 |  |
|  | Notes: (1) Temperature sensors in shaded areas are retained for Observatory testing, total = 16+4+16+6+4+4+4 |  | 54 |  |  |  |
|  | (2) The following line # goes together: 11&14, 5&10, 15&25, 19&20. |  |  |  |  |  |
|  | (3) "SS" indicates which subsystem is responsible for purchase of the test sensors |  |  |  |  |  |