## data4plot
| Test before MID 63 replacement | CPT after MID 063 replacement | CPT after Vibe test | CPT Vacum pretest | CPT 1st rump up from RT to hot | CPT 1st hot soak | CPT 1st cold soak | CPT 2nd hot soak | CPT 2nd cold soak | CPT 3rd hot soak | LPT from 3rd hot to 3rd cold soak, <T>=16C | LPT from 3rd hot to 3rd cold soak <T>=0C | CPT 3rd cold soak | CPT 4th hot soak | CPT from 4th hot to 4th cold soak <T>=30 | CPT from 4th hot to 4th cold soak <T>=13.5 | CPT from 4th hot to 4th cold soak <T>=1 | CPT 4th cold soak | LPT from 4th cold soak to RT | Final CPT in vacuum at RT | CPT at SATP (ALENIA alpha 180)
Y17 | 11 | 10 | 10 | 10 | 11 | 11 | 10 | 11 | 10 | 11 | 11 | 10 | 10 | 11 | 11 | 11 | 11 | 11 | 10 | 11 | 11
X17 | 28 | 28 | 29 | 27 | 27 | 29 | 27 | 31 | 30 | 34 | 33 | 33 | 30 | 35 | 35 | 34 | 32 | 32 | 31 | 35 | 33
X16 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Y16 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 0 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3
Y15 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
X15 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1
X14 | 6 | 6 | 7 | 7 | 7 | 7 | 6 | 7 | 7 | 7 | 8 | 7 | 7 | 7 | 8 | 7 | 7 | 7 | 7 | 7 | 7
Y14 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1
Y13 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 4 | 3 | 4 | 3 | 4 | 3 | 4 | 3 | 4 | 4 | 4 | 4 | 4
X13 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
X12 | 6 | 6 | 6 | 6 | 6 | 6 | 5 | 6 | 5 | 6 | 6 | 6 | 5 | 6 | 6 | 6 | 6 | 5 | 5 | 6 | 6
Y12 | 6 | 7 | 7 | 7 | 7 | 6 | 7 | 7 | 8 | 7 | 9 | 8 | 10 | 8 | 10 | 10 | 10 | 10 | 10 | 10 | 10
Y11 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
X11 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
X10 | 7 | 7 | 7 | 7 | 7 | 7 | 5 | 7 | 9 | 7 | 8 | 9 | 10 | 8 | 9 | 10 | 10 | 9 | 10 | 9 | 10
Y10 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Y9 | 8 | 8 | 8 | 8 | 8 | 8 | 8 | 8 | 8 | 8 | 8 | 8 | 8 | 8 | 8 | 8 | 8 | 8 | 8 | 8 | 8
X9 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
X8 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Y8 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Y7 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5
X7 | 2 | 1 | 3 | 1 | 2 | 1 | 2 | 1 | 4 | 0 | 2 | 2 | 3 | 0 | 0 | 0 | 2 | 4 | 4 | 3 | 2
X6 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Y6 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Y5 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1
X5 | 14 | 14 | 14 | 14 | 14 | 14 | 14 | 14 | 15 | 14 | 15 | 15 | 15 | 13 | 15 | 15 | 15 | 15 | 15 | 15 | 15
X4 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1
Y4 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1
Y3 | 29 | 26 | 26 | 29 | 28 | 24 | 38 | 24 | 39 | 24 | 31 | 37 | 42 | 25 | 30 | 35 | 39 | 42 | 38 | 30 | 30
X3 | 11 | 11 | 11 | 11 | 11 | 11 | 11 | 11 | 11 | 11 | 11 | 11 | 11 | 11 | 11 | 11 | 11 | 11 | 11 | 11 | 11
X2 | 6 | 6 | 6 | 6 | 6 | 6 | 6 | 6 | 6 | 6 | 6 | 6 | 6 | 6 | 6 | 6 | 6 | 6 | 6 | 6 | 6
Y2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Y1 | 8 | 9 | 9 | 9 | 9 | 9 | 9 | 9 | 9 | 9 | 9 | 9 | 9 | 9 | 9 | 9 | 9 | 6 | 9 | 9 | 9
X1 | 7 | 7 | 7 | 7 | 7 | 7 | 8 | 8 | 8 | 8 | 9 | 9 | 9 | 9 | 9 | 9 | 9 | 9 | 9 | 9 | 9
X0 | 9 | 8 | 9 | 9 | 10 | 10 | 7 | 10 | 7 | 9 | 8 | 8 | 6 | 10 | 10 | 9 | 8 | 6 | 8 | 10 | 0
Y0 | 31 | 31 | 32 | 32 | 32 | 29 | 39 | 32 | 42 | 34 | 44 | 45 | 45 | 42 | 46 | 47 | 48 | 48 | 48 | 46 | 47
16 | 16 | 16 | 16 | 16 | 16 | 16 | 16 | 16 | 16 | 16 | 16 | 16 | 16 | 16 | 16 | 16 | 16 | 16 | 16 | 16
| 205 | 201 | 207 | 206 | 208 | 201 | 219 | 208 | 235 | 211 | 232 | 239 | 243 | 224 | 240 | 243 | 248 | 246 | 246 | 242 | 231

## Disconnected chans Data
Tower 1 | [5 empty] | Last electrical test before MID 63 replacement |  |  | CPT after MID 063 replacement (INFN-Pisa gamma 31) |  |  |  | CPT after Vibe test (ALENIA alpha 180) |  |  |  | CPT Vacum pretest (ALENIA alpha 180) |  |  |  | CPT 1st rump up from RT to hot (ALENIA alpha 180) |  |  |  | CPT 1st hot soak (ALENIA alpha 180) |  |  |  | CPT 1st cold soak (ALENIA alpha 180) |  |  |  | CPT 2nd hot soak (ALENIA alpha 180) |  |  |  | CPT 2nd cold soak (ALENIA alpha 180) |  |  |  | CPT 3rd hot soak (ALENIA alpha 180) |  |  |  | LPT transition from 3rd hot to 3rd cold soak <T>=16C (ALENIA alpha 180) |  |  |  | LPT transition from 3rd hot to 3rd cold soak <T>=0C (ALENIA alpha 180) |  |  |  | LPT transition from 3rd hot to 3rd cold soak <T>=0C (ALENIA alpha 180) |  |  |  | CPT 3rd cold soak (ALENIA alpha 180) |  |  |  | CPT 4th hot soak (ALENIA alpha 180) |  |  |  | CPT from 4th hot to 4th cold soak <T>=30(ALENIA alpha 180) |  |  |  | CPT from 4th hot to 4th cold soak <T>=13.5(ALENIA alpha 180) |  |  |  | CPT from 4th hot to 4th cold soak <T>=1(ALENIA alpha 180) |  |  |  | CPT 4th cold soak (ALENIA alpha 180) |  |  |  | Rump to ambient temperature LPT (ALENIA alpha 180) |  |  |  | Ambient temperature CPT (ALENIA alpha 180) |  |  |  | CPT at SATP (ALENIA alpha 213)
(GTCCs, GTRC) | Layer | Tray | Box | Side | MCM | n disc. | disc. Chans | Notes | n disc. | disc. Chans | Variation | Notes | n disc. | disc. Chans | Variation | Notes | n disc. | disc. Chans | Variation | Notes | n disc. | disc. Chans | Variation | Notes | n disc. | disc. Chans | Variation | Notes | n disc. | disc. Chans | Variation | Notes | n disc. | disc. Chans | Variation | Notes | n disc. | disc. Chans | Variation | Notes | n disc. | disc. Chans | Variation | Notes | n disc. | disc. Chans | Variation | Notes | n disc. | disc. Chans | Variation | Notes | n disc. | disc. Chans | Variation | Notes | n disc. | disc. Chans | Variation | Notes | n disc. | disc. Chans | Variation | Notes | n disc. | disc. Chans | Variation | Notes | n disc. | disc. Chans | Variation | Notes | n disc. | disc. Chans | Variation | Notes | n disc. | disc. Chans | Variation | Notes | n disc. | disc. Chans | Variation | Notes | n disc. | disc. Chans | Variation | Notes | n disc. | disc. Chans | Variation | Notes
[6 empty] | (Low ENC) |  |  | (Low ENC) |  |  |  | (Low ENC) |  |  |  | (Low ENC) |  |  |  | (Low ENC) |  |  |  | (Low ENC) |  |  |  | (Low ENC) |  |  |  | (Low ENC) |  |  |  | (Low ENC) |  |  |  | (Low ENC) |  |  |  | (Low ENC) |  |  |  | (Low ENC) |  |  |  | (Low ENC) |  |  |  | (Low ENC) |  |  |  | (Low ENC) |  |  |  | (Low ENC) |  |  |  | (Low ENC) |  |  |  | (Low ENC) |  |  |  | (Low ENC) |  |  |  | (Low ENC) |  |  |  | (Low ENC) |  |  |  | (Low ENC)
(4, 5, 8) | Y17 | TOP 006 | 57 | Back | 732 | 11 | 229, 231- 234, 559-561, 736-738 | - | 10 | 229, 23- 234, 559, 561, 736- 738 | -1 |  | 10 | 229, 231, 232, 233, 234, 559, 561, 736, 737, 738 | - |  | 10 | 229, 231, 232, 233, 234, 559, 561, 736, 737, 738 | - |  | 11 | 229, 231, 232, 233, 234, 559, 560, 561, 736, 737, 738 | 1 |  | 11 | 229, 231, 232, 233, 234, 559, 560, 561, 736, 737, 738 | - |  | 10 | 229, 231, 232, 233, 234, 559, 561, 736, 737, 738 | -1 |  | 11 | 229, 231, 232, 233, 234, 559, 560, 561, 736, 737, 738 | 1 |  | 10 | 229, 231, 232, 233, 234, 559, 561, 736, 737, 738 | -1 |  | 11 | 229, 231, 232, 233, 234, 559, 560, 561, 736, 737, 738 | 1 |  | 11 | 229, 231, 232, 233, 234, 559, 560, 561, 736, 737, 738 | - |  | 10 | 229, 231, 232, 233, 234, 559, 561, 736, 737, 738 | -1 |  | 10 | 229, 231, 232, 233, 234, 559, 561, 736, 737, 738 | - |  | 10 | 229, 231, 232, 233, 234, 559, 561, 736, 737, 738 | - |  | 11 | 229, 231, 232, 233, 234, 559, 560, 561, 736, 737, 738 | 1 |  | 11 | 229, 231, 232, 233, 234, 559, 560, 561, 736, 737, 738 | - |  | 11 | 229, 231, 232, 233, 234, 559, 560, 561, 736, 737, 738 | - |  | 11 | 229, 231, 232, 233, 234, 559, 560, 561, 736, 737, 738 | - |  | 11 | 229, 231, 232, 233, 234, 559, 560, 561, 736, 737, 738 | - |  | 10 | 229, 231, 232, 233, 234, 559, 561, 736, 737, 738 | -1 |  | 11 | 229, 231, 232, 233, 234, 559, 560, 561, 736, 737, 738 | 1 |  | 11 | 229, 231, 232, 233, 234, 559, 560, 561, 736, 737, 738 | -
(6, 7, 8) | X17 | MID 027 | 86 | Front | 696 | 28 | 211, 215, 216, 219, 220, 224, 225, 226, 227, 231, 235, 239, 242, 245, 246, 255, 649, 651, 653, 657, 667, 711, 757, 960, 961, 962, 963, 964 | - | 28 | 211, 215, 216, 219, 220, 224, 225, 226, 227, 231, 235, 239, 242, 245, 255, 269, 270, 649, 651, 653, 657, 667, 711, 757, 960, 961, 962, 963 | - |  | 29 | 211, 215, 216, 219, 220, 224, 225, 226, 227, 231, 235, 239, 242, 245, 255, 269, 270, 649, 651, 653, 657, 667, 711, 757, 960, 961, 962, 963 | 1 |  | 27 | 211, 215, 216, 219, 220, 224, 225, 227, 231, 235, 239, 242, 245, 255, 269, 270, 649, 651, 653, 657, 667, 711, 757, 960, 961, 962, 963 | -2 |  | 27 | 211, 215, 216, 219, 220, 224, 225, 227, 231, 235, 239, 242, 245, 255, 269, 270, 649, 651, 653, 657, 667, 711, 757, 960, 961, 962, 963] | - |  | 29 | 211, 215, 216, 219, 220, 224, 225, 226, 227, 231, 235, 239, 242, 245, 255, 269, 270, 272, 649, 651, 653, 657, 667, 711, 757, 960, 961, 962, 963 | 2 |  | 27 | 211, 215, 216, 219, 220, 224, 225, 227, 231, 235, 239, 242, 245, 255, 270, 630, 649, 651, 653, 657, 667, 711, 757, 960, 961, 962, 963 | -2 |  | 31 | 211, 215, 216, 219, 220, 224, 225, 226, 227, 231, 235, 239, 242, 245, 246, 255, 266, 269, 270, 272, 649, 651, 653, 657, 667, 711, 757, 960, 961, 962, 963 | 4 |  | 30 | 211, 215, 216, 219, 220, 224, 225, 227, 231, 235, 239, 242, 245, 255, 269, 270, 272, 630, 649, 651, 653, 657, 667, 708, 711, 757, 960, 961, 962, 963 | -1 |  | 34 | 211, 215, 216, 219, 220, 224, 225, 226, 227, 231, 235, 239, 242, 245, 246, 255, 265, 266, 269, 270, 272, 630, 649, 651, 653, 657, 667, 708, 711, 757, 960, 961, 962, 963 | 4 |  | 33 | 211, 215, 216, 219, 220, 224, 225, 226, 227, 231, 235, 239, 242, 245, 246, 255, 265, 269, 270, 272, 630, 649, 651, 653, 657, 667, 708, 711, 757, 960, 961, 962, 963 | -1 |  | 33 | 211, 215, 216, 219, 220, 224, 225, 226, 227, 231, 235, 239, 242, 245, 246, 255, 265, 269, 270, 272, 630, 649, 651, 653, 657, 667, 708, 711, 757, 960, 961, 962, 963 | - |  | 33 | 211, 215, 216, 219, 220, 224, 225, 226, 227, 231, 235, 239, 242, 245, 246, 255, 265, 269, 270, 272, 630, 649, 651, 653, 657, 667, 708, 711, 757, 960, 961, 962, 963 | - |  | 30 | 211, 215, 216, 219, 220, 224, 225, 227, 231, 235, 239, 242, 245, 255, 269, 270, 630, 641, 649, 651, 653, 657, 667, 708, 711, 757, 960, 961, 962, 963 | -3 |  | 35 | 199, 211, 215, 216, 219, 220, 224, 225, 226, 227, 231, 235, 239, 242, 245, 246, 255, 265, 269, 270, 272, 630, 641, 649, 651, 653, 657, 667, 708, 711, 757, 960, 961, 962, 963 | 5 |  | 35 | 199, 211, 215, 216, 219, 220, 224, 225, 226, 227, 231, 235, 239, 242, 245, 246, 255, 265, 269, 270, 272, 630, 641, 649, 651, 653, 657, 667, 708, 711, 757, 960, 961, 962, 963 | - |  | 34 | 199, 211, 215, 216, 219, 220, 224, 225, 226, 227, 231, 235, 239, 242, 245, 246, 255, 269, 270, 272, 630, 641, 649, 651, 653, 657, 667, 708, 711, 757, 960, 961, 962, 963 | -1 |  | 32 | 199, 211, 215, 216, 219, 220, 224, 225, 227, 231, 235, 239, 242, 245, 255, 269, 270, 272, 630, 641, 649, 651, 653, 657, 667, 708, 711, 757, 960, 961, 962, 963 | -2 |  | 32 | 199, 211, 215, 216, 219, 220, 224, 225, 227, 231, 235, 239, 242, 245, 255, 269, 270, 272, 630, 641, 649, 651, 653, 657, 667, 708, 711, 757, 960, 961, 962, 963 | - |  | 31 | 211, 215, 216, 219, 220, 224, 225, 227, 231, 235, 239, 242, 245, 255, 269, 270, 272, 630, 641, 649, 651, 653, 657, 667, 708, 711, 757, 960, 961, 962, 963 | -1 |  | 35 | 199, 211, 215, 216, 219, 220, 224, 225, 226, 227, 231, 235, 239, 242, 245, 246, 255, 265, 269, 270, 272, 630, 641, 649, 651, 653, 657, 667, 708, 711, 757, 960, 961, 962, 963 | 4 |  | 33 | 211, 215, 216, 219, 220, 224, 225, 226, 227, 231, 235, 239, 242, 245, 246, 255, 269, 270, 272, 630, 641, 649, 651, 653, 657, 667, 708, 711, 757, 960, 961, 962, 963 | -2
(2, 3, 8) | X16 |  |  | Back | 450 | 0 | - |  | 0 | - | - |  | 0 | - | - |  | 0 | - | - |  | 0 | - | - |  | 0 | - | - |  | 1 | 4 | 1 |  | 0 | - | -1 |  | 0 | - | - |  | 0 |  | - |  | 0 |  | - |  | 0 |  | - |  | 0 |  | - |  | 0 |  | - |  | 0 |  | - |  | 0 |  | - |  | 0 |  | - |  | 0 |  | - |  | 0 |  | - |  | 0 |  | - |  | 0 |  | - |  | 0 |  | -
(0, 1, 8) | Y16 | MID 037 | 34 | Front | 432 | 3 | 1241, 1247, 1248 | - | 3 | 1241, 1247, 1248 | - |  | 3 | 1241, 1247, 1248 | - |  | 3 | 1241, 1247, 1248 | - |  | 3 | 1241, 1247, 1248 | - |  | 3 | 1241, 1247, 1248 | - |  | 3 | 1241, 1247, 1248 | - |  | 3 | 1241, 1247, 1248 | - |  | 3 | 1241, 1247, 1248 | - |  | 3 | 1241, 1247, 124 | - |  | 0 | 1241, 1247, 1248 | -3 |  | 3 | 1241, 1247, 1248 | 3 |  | 3 | 1241, 1247, 1248 | - |  | 3 | 1241, 1247, 1248 | - |  | 3 | 1241, 1247, 1248 | - |  | 3 | 1241, 1247, 1248 | - |  | 3 | 1241, 1247, 1248 | - |  | 3 | 1241, 1247, 1248 | - |  | 3 | 1241, 1247, 1248 | - |  | 3 | 1241, 1247, 1248 | - |  | 3 | 1241, 1247, 1248 | - |  | 3 | 1241, 1247, 1248 | -
(4, 5, 7) | Y15 |  |  | Back | 11419 | 0 |  | - | 0 | - | - |  | 0 | - | - |  | 0 | - | - |  | 0 | - | - |  | 0 | - | - |  | 0 |  | - |  | 0 |  | - |  | 0 |  | - |  | 0 |  | - |  | 0 |  | - |  | 0 |  | - |  | 0 |  | - |  | 0 |  | - |  | 0 |  | - |  | 0 |  | - |  | 0 |  | - |  | 0 |  | - |  | 0 |  | - |  | 0 |  | - |  | 0 |  | - |  | 0 |  | -
(6, 7, 7) | X15 | MID 057 | 35 | Front | 478 | 1 | 236 | - | 1 | 236 | - |  | 1 | 236 | - |  | 1 | 236 | - |  | 1 | 236 | - |  | 1 | 236 | - |  | 1 | 236 | - |  | 1 | 236 | - |  | 1 | 236 | - |  | 1 | 236 | - |  | 1 | 236 | - |  | 1 | 236 | - |  | 1 | 236 | - |  | 1 | 236 | - |  | 1 | 236 | - |  | 1 | 236 | - |  | 1 | 236 | - |  | 1 | 236 | - |  | 1 | 236 | - |  | 1 | 236 | - |  | 1 | 236 | - |  | 1 | 236 | -
(2, 3, 7) | X14 |  |  | Back | 998 | 6 | 64, 80, 106, 198, 333, 335 | - | 6 | 64, 80, 87, 106, 198, 333 | - |  | 7 | 64, 80, 87, 106, 198, 333, 335 | 1 |  | 7 | 64, 80, 87, 106, 198, 333, 335 | - |  | 7 | 64, 80, 87, 106, 198, 333, 335 | - |  | 7 | 64, 80, 87, 106, 198, 333, 335 | - |  | 6 | 64, 80, 87, 106, 198, 333 | -1 |  | 7 | 64, 80, 106, 198, 333, 335, 1443 | 1 |  | 7 | 64, 80, 87, 106, 198, 333, 335 | - |  | 7 | 64, 80, 106, 198, 333, 335, 1443 | - |  | 8 | 64, 80, 87, 106, 198, 333, 335, 1443 | 1 |  | 7 | 64, 80, 87, 106, 198, 333, 335 | -1 |  | 7 | 64, 80, 87, 106, 198, 333, 335 | - |  | 7 | 64, 80, 87, 106, 198, 333, 335 | - |  | 7 | 64, 80, 87, 106, 198, 333, 335 | - |  | 8 | 64, 80, 87, 106, 198, 333, 335, 1443 | 1 |  | 7 | 64, 80, 87, 106, 198, 333, 335 | -1 |  | 7 | 64, 80, 87, 106, 198, 333, 335 | - |  | 7 | 64, 80, 87, 106, 198, 333, 335 | - |  | 7 | 64, 80, 87, 106, 198, 333, 335 | - |  | 7 | 64, 80, 87, 106, 198, 333, 335 | - |  | 7 | 64, 80, 87, 106, 198, 333, 335 | -
(0, 1, 7) | Y14 | MID 092 | 27 | Front | 392 | 1 | 813 | - | 1 | 813 | - |  | 1 | 813 | - |  | 1 | 813 | - |  | 1 | 813 | - |  | 1 | 813 | - |  | 1 | 813 | - |  | 1 | 813 | - |  | 1 | 813 | - |  | 1 | 813 | - |  | 1 | 813 | - |  | 1 | 813 | - |  | 1 | 813 | - |  | 1 | 813 | - |  | 1 | 813 | - |  | 1 | 813 | - |  | 1 | 813 | - |  | 1 | 813 | - |  | 1 | 813 | - |  | 1 | 813 | - |  | 1 | 813 | - |  | 1 | 813 | -
(4, 5, 6) | Y13 |  |  | Back | 395 | 3 | 832, 833, 960 | - | 3 | 832, 833, 960 | - |  | 3 | 832, 833, 960 | - |  | 3 | 832, 833, 960 | - |  | 3 | 832, 833, 960 | - |  | 3 | 832, 833, 960 | - |  | 3 | 832, 833, 960 | - |  | 3 | 832, 833, 960 | - |  | 4 | 831, 832, 833, 960 | 1 |  | 3 | 832, 833, 960 | -1 |  | 4 | 831, 832, 833, 960 | 1 |  | 3 | 832, 833, 960 | -1 |  | 3 | 832, 833, 960 | - |  | 4 | 831, 832, 833, 960 | 1 |  | 3 | 832, 833, 960 | -1 |  | 4 | 831, 832, 833, 960 | 1 |  | 3 | 832, 833, 960 | -1 |  | 4 | 831, 832, 833, 960 | 1 |  | 4 | 831, 832, 833, 960 | - |  | 4 | 831, 832, 833, 960 | - |  | 4 | 831, 832, 833, 960 | - |  | 4 | 831, 832, 833, 960 | -
(6, 7, 6) | X13 | MID 067 | 71 | Front | 11231 | 0 |  | - | 0 | - | - |  | 0 | - | - |  | 0 | - | - |  | 0 | - | - |  | 0 | - | - |  | 0 |  | - |  | 0 |  | - |  | 0 |  | - |  | 0 |  | - |  | 0 |  | - |  | 0 |  | - |  | 0 |  | - |  | 0 |  | - |  | 0 |  | - |  | 0 |  | - |  | 0 |  | - |  | 0 |  | - |  | 0 |  | - |  | 0 |  | - |  | 0 |  | - |  | 0 |  | -
(2, 3, 6) | X12 |  |  | Back | 11355 | 6 | 49, 50, 321, 360, 361, 1193 | - | 6 | 49, 50, 321, 360, 361, 1193 | - |  | 6 | 49, 50, 321, 360, 361, 1193 | - |  | 6 | 49, 50, 321, 360, 361, 1193 | - |  | 6 | 49, 50, 321, 360, 361, 1193 | - |  | 6 | 49, 50, 321, 360, 361, 1193 | - |  | 5 | 49, 50, 360, 361, 1193 | -1 |  | 6 | 49, 50, 321, 360, 361, 1193 | 1 |  | 5 | 49, 50, 360, 361, 1193 | -1 |  | 6 | 49, 50, 321, 360, 361, 1193 | 1 |  | 6 | 49, 50, 321, 360, 361, 1193 | - |  | 6 | 49, 50, 321, 360, 361, 1193 | - |  | 6 | 49, 50, 321, 360, 361, 1193 | - |  | 5 | 49, 50, 360, 361, 1193 | -1 |  | 6 | 49, 50, 321, 360, 361, 1193 | 1 |  | 6 | 49, 50, 321, 360, 361, 1193 | - |  | 6 | 49, 50, 321, 360, 361, 1193 | - |  | 6 | 49, 50, 321, 360, 361, 1193 | - |  | 5 | 49, 50, 360, 361, 1193 | -1 |  | 5 | 49, 50, 360, 361, 1193 | -1 |  | 6 | 49, 50, 321, 360, 361, 1193 | -1 |  | 6 | 49, 50, 321, 360, 361, 1193 | -
(0, 1, 6) | Y12 | MID 030 | 33 | Front | 777 | 6 | 540, 703, 772, 777, 800, 818 | - | 7 | 540, 703, 772, 777, 800, 818, 894 | 1 |  | 7 | 540, 703, 772, 777, 800, 818, 894 | - |  | 7 | 540, 703, 772, 777, 800, 818, 894 | - |  | 7 | 540, 703, 772, 777, 800, 818, 894 | - |  | 6 | 540, 703, 772, 777, 800, 818 | -1 |  | 7 | 540, 703, 772, 777, 800, 818, 894 | 1 |  | 7 | 540, 703, 772, 777, 800, 818, 894 | - |  | 8 | 540, 702, 703, 772, 777, 800, 818, 894 | 1 |  | 7 | 540, 703, 772, 777, 800, 818, 894 | -1 |  | 9 | 540, 702, 703, 772, 774, 777, 800, 818, 894 | 2 |  | 8 | 540, 702, 703, 772, 777, 800, 818, 894 | -1 |  | 8 | 540, 702, 703, 772, 777, 800, 818, 894 | - |  | 10 | 540, 702, 703, 772, 774, 775, 777, 800, 818, 894 | 2 |  | 8 | 540, 702, 703, 772, 777, 800, 818, 894 | -2 |  | 10 | 540, 702, 703, 772, 774, 775, 777, 800, 818, 894 | 2 |  | 10 | 540, 702, 703, 772, 774, 775, 777, 800, 818, 894 | - |  | 10 | 540, 702, 703, 772, 774, 775, 777, 800, 818, 894 | - |  | 10 | 540, 702, 703, 772, 774, 775, 777, 800, 818, 894 | - |  | 10 | 540, 702, 703, 772, 774, 775, 777, 800, 818, 894 | - |  | 10 | 540, 702, 703, 772, 774, 775, 777, 800, 818, 894 | - |  | 10 | 540, 702, 703, 772, 774, 775, 777, 800, 818, 894 | -
(4, 5, 5) | Y11 |  |  | Back | 622 | 0 |  | - | 0 | - | - |  | 0 | - | - |  | 0 | - | - |  | 0 | - | - |  | 0 | - | - |  | 0 |  | - |  | 0 |  | - |  | 0 |  | - |  | 0 |  | - |  | 0 |  | - |  | 0 |  | - |  | 0 |  | - |  | 0 |  | - |  | 0 |  | - |  | 0 |  | - |  | 0 |  | - |  | 0 |  | - |  | 0 |  | - |  | 0 |  | - |  | 0 |  | - |  | 0 |  | -
(6, 7, 5) | X11 | MID 083 | 88 | Front | 992 | 0 |  | - | 0 | - | - |  | 0 | - | - |  | 0 | - | - |  | 0 | - | - |  | 0 | - | - |  | 0 |  | - |  | 0 |  | - |  | 0 |  | - |  | 0 |  | - |  | 0 |  | - |  | 0 |  | - |  | 0 |  | - |  | 0 |  | - |  | 0 |  | - |  | 0 |  | - |  | 0 |  | - |  | 0 |  | - |  | 0 |  | - |  | 0 |  | - |  | 0 |  | - |  | 0 |  | -
(2, 3, 5) | X10 |  |  | Back | 982 | 7 | 733, 738, 739, 742, 841, 867, 1124 | - | 7 | 733, 738, 739, 742, 841, 867, 1124 | - |  | 7 | 733, 738, 739, 742, 841, 867, 1124 | - |  | 7 | 733, 738, 739, 742, 841, 867, 1124 | - |  | 7 | 733, 738, 739, 742, 841, 867, 1124 | - |  | 7 | 733, 738, 739, 742, 841, 867, 1124 | - |  | 5 | 733, 742, 841, 867, 1124 | -2 |  | 7 | 733, 738, 739, 742, 841, 867, 1124 | 2 |  | 9 | 733, 738, 739, 742, 744, 841, 867, 1124, 1146 | 2 |  | 7 | 733, 738, 739, 742, 841, 867, 1124 | -2 |  | 8 | 733, 738, 739, 742, 841, 867, 1124, 1146 | 1 |  | 9 | 733, 738, 739, 742, 744, 841, 867, 1124, 1146 | 1 |  | 9 | 733, 738, 739, 742, 744, 841, 867, 1124, 1146 | - |  | 10 | 733, 738, 739, 742, 744, 841, 867, 939, 1124, 1146 | 1 |  | 8 | 733, 738, 739, 742, 841, 867, 1124, 1146 | -2 |  | 9 | 733, 738, 739, 742, 744, 841, 867, 1124, 1146 | 1 |  | 10 | 733, 738, 739, 742, 744, 841, 867, 939, 1124, 1146 | 1 |  | 10 | 733, 738, 739, 742, 744, 841, 867, 939, 1124, 1146 | - |  | 9 | 733, 738, 739, 742, 744, 841, 867, 1124, 1146 | -1 |  | 10 | 733, 738, 739, 742, 744, 841, 867, 939, 1124, 1146 | -1 |  | 9 | 733, 738, 739, 742, 744, 841, 867, 1124, 1146 | -1 |  | 10 | 733, 738, 739, 742, 744, 841, 867, 939, 1124, 1146 | 1
(0, 1, 5) | Y10 | MID 058 | 72 | Front | 804 | 0 |  | - | 0 | - | - |  | 0 | - | - |  | 0 | - | - |  | 0 | - | - |  | 0 | - | - |  | 0 |  | - |  | 0 |  | - |  | 0 |  | - |  | 0 |  | - |  | 0 |  | - |  | 0 |  | - |  | 0 |  | - |  | 0 |  | - |  | 0 |  | - |  | 0 |  | - |  | 0 |  | - |  | 0 |  | - |  | 0 |  | - |  | 0 |  | - |  | 0 |  | - |  | 0 |  | -
(4, 5, 4) | Y9 |  |  | Back | 11234 | 8 | 16, 17, 18, 19, 20, 21, 22, 23 | - | 8 | 16, 17, 18, 19, 20, 21, 22, 23 | - |  | 8 | 16, 17, 18, 19, 20, 21, 22, 23 | - |  | 8 | 16, 17, 18, 19, 20, 21, 22, 23 | - |  | 8 | 16, 17, 18, 19, 20, 21, 22, 23 | - |  | 8 | 16, 17, 18, 19, 20, 21, 22, 23 | - |  | 8 | 16, 17, 18, 19, 20, 21, 22, 23 | - |  | 8 | 16, 17, 18, 19, 20, 21, 22, 23 | - |  | 8 | 16, 17, 18, 19, 20, 21, 22, 23 | - |  | 8 | 16, 17, 18, 19, 20, 21, 22, 23 | - |  | 8 | 16, 17, 18, 19, 20, 21, 22, 23 | - |  | 8 | 16, 17, 18, 19, 20, 21, 22, 23 | - |  | 8 | 16, 17, 18, 19, 20, 21, 22, 23 | - |  | 8 | 16, 17, 18, 19, 20, 21, 22, 23 | - |  | 8 | 16, 17, 18, 19, 20, 21, 22, 23 | - |  | 8 | 16, 17, 18, 19, 20, 21, 22, 23 | - |  | 8 | 16, 17, 18, 19, 20, 21, 22, 23 | - |  | 8 | 16, 17, 18, 19, 20, 21, 22, 23 | - |  | 8 | 16, 17, 18, 19, 20, 21, 22, 23 | - |  | 8 | 16, 17, 18, 19, 20, 21, 22, 23 | - |  | 8 | 16, 17, 18, 19, 20, 21, 22, 23 | - |  | 8 | 16, 17, 18, 19, 20, 21, 22, 23 | -
(6, 7, 4) | X9 | MID 101 | 66 | Front | 11443 | 0 |  | - | 0 | - | - |  | 0 | - | - |  | 0 | - | - |  | 0 | - | - |  | 0 | - | - |  | 0 |  | - |  | 0 |  | - |  | 0 |  | - |  | 0 |  | - |  | 0 |  | - |  | 0 |  | - |  | 0 |  | - |  | 0 |  | - |  | 0 |  | - |  | 0 |  | - |  | 0 |  | - |  | 0 |  | - |  | 0 |  | - |  | 0 |  | - |  | 0 |  | - |  | 0 |  | -
(2, 3, 4) | X8 |  |  | Back | 11358 | 0 |  | - | 0 | - | - |  | 0 | - | - |  | 0 | - | - |  | 0 | - | - |  | 0 | - | - |  | 0 |  | - |  | 0 |  | - |  | 0 |  | - |  | 0 |  | - |  | 0 |  | - |  | 0 |  | - |  | 0 |  | - |  | 0 |  | - |  | 0 |  | - |  | 0 |  | - |  | 0 |  | - |  | 0 |  | - |  | 0 |  | - |  | 0 |  | - |  | 0 |  | - |  | 0 |  | -
(0, 1, 4) | Y8 | MID 060 | 87 | Front | 635 | 0 |  | - | 0 | - | - |  | 0 | - | - |  | 0 | - | - |  | 0 | - | - |  | 0 | - | - |  | 0 |  | - |  | 0 |  | - |  | 0 |  | - |  | 0 |  | - |  | 0 |  | - |  | 0 |  | - |  | 0 |  | - |  | 0 |  | - |  | 0 |  | - |  | 0 |  | - |  | 0 |  | - |  | 0 |  | - |  | 0 |  | - |  | 0 |  | - |  | 0 |  | - |  | 0 |  | -
(4, 5, 3) | Y7 |  |  | Back | 269 | 5 | 759, 760, 761, 762, 763 | - | 5 | 759- 763 | - |  | 5 | 759-763 | - |  | 5 | 759-763 | - |  | 5 | 759-763 | - |  | 5 | 759-763 | - |  | 5 | 759, 760, 761, 762, 763 | - |  | 5 | 759, 760, 761, 762, 763 | - |  | 5 | 759, 760, 761, 762, 76 | - |  | 5 | 759, 760, 761, 762, 763 | - |  | 5 | 759, 760, 761, 762, 763 | - |  | 5 | 759, 760, 761, 762, 763 | - |  | 5 | 759, 760, 761, 762, 763 | - |  | 5 | 759, 760, 761, 762, 763 | - |  | 5 | 759, 760, 761, 762, 763 | - |  | 5 | 759, 760, 761, 762, 763 | - |  | 5 | 759, 760, 761, 762, 763 | - |  | 5 | 759, 760, 761, 762, 763 | - |  | 5 | 759, 760, 761, 762, 763 | - |  | 5 | 759, 760, 761, 762, 763 | - |  | 5 | 759, 760, 761, 762, 763 | - |  | 5 | 759, 760, 761, 762, 763 | -
(6, 7, 3) | X7 | MID 024 | 30 | Front | 980 | 2 | ? | - | 1 | 310 | -1 |  | 3 | 304, 305, 310 | 2 |  | 1 | 303 | -2 |  | 2 | 305, 310 | 1 |  | 1 | 310 | -1 |  | 2 | 304, 310 | 1 |  | 1 | 310 | -1 |  | 4 | 303, 304, 305, 310 | 3 |  | 0 |  | -4 |  | 2 | 304, 305 | 2 |  | 2 | 304, 310 | - |  | 2 | 304, 310 | - |  | 3 | 303, 304, 310 | 1 |  | 0 |  | -3 |  | 0 |  | - |  | 0 |  | - |  | 2 | 304, 305 | 2 |  | 4 | 304, 305, 306, 310 | 2 |  | 4 | 303, 304, 305, 310 | 2 |  | 3 | 303, 304, 305 | 2 |  | 2 | 303310 | -1
(2, 3, 3) | X6 |  |  | Back | 388 | 0 |  | - | 0 | - | - |  | 0 | - | - |  | 0 | - | - |  | 0 | - | - |  | 0 | - | - |  | 0 |  | - |  | 0 |  | - |  | 0 |  | - |  | 0 |  | - |  | 0 |  | - |  | 0 |  | - |  | 0 |  | - |  | 0 |  | - |  | 0 |  | - |  | 0 |  | - |  | 0 |  | - |  | 0 |  | - |  | 0 |  | - |  | 0 |  | - |  | 0 |  | - |  | 0 |  | -
(0, 1, 3) | Y6 | HVY 041 | 80 | Front | 697 | 0 |  | - | 0 |  | - |  | 0 | - | - |  | 0 | - | - |  | 0 | - | - |  | 0 | - | - |  | 0 |  | - |  | 0 |  | - |  | 0 |  | - |  | 0 |  | - |  | 0 |  | - |  | 0 |  | - |  | 0 |  | - |  | 0 |  | - |  | 0 |  | - |  | 0 |  | - |  | 0 |  | - |  | 0 |  | - |  | 0 |  | - |  | 0 |  | - |  | 0 |  | - |  | 0 |  | -
(4, 5, 2) | Y5 |  |  | Back | 1010 | 1 | 1257 | - | 1 | 1257 | - |  | 1 | 1257 | - |  | 1 | 1257 | - |  | 1 | 1257 | - |  | 1 | 1257 | - |  | 1 | 1257 | - |  | 1 | 1257 | - |  | 1 | 1257 | - |  | 1 | 1257 | - |  | 1 | 1257 | - |  | 1 | 1257 | - |  | 1 | 1257 | - |  | 1 | 1257 | - |  | 1 | 1257 | - |  | 1 | 1257 | - |  | 1 | 1257 | - |  | 1 | 1257 | - |  | 1 | 1257 | - |  | 1 | 1257 | - |  | 1 | 1257 | - |  | 1 | 1257 | -
(6, 7, 2) | X5 | HVY 023 | 77 | Front | 11438 | 14 | 749, 751, 752, 753, 754, 755, 757, 758, 777, 797, 819, 820, 821, 1216 | - | 14 | 749, 751, 752, 753, 754, 755, 757, 758, 777, 797, 819, 820, 821, 1216 | - |  | 14 | 749, 751, 752, 753, 754, 755, 757, 758, 777, 797, 819, 820, 821, 1216 | - |  | 14 | 749, 751, 752, 753, 754, 755, 757, 758, 777, 797, 819, 820, 821, 1216 | - |  | 14 | 749, 751, 752, 753, 754, 755, 757, 758, 777, 797, 819, 820, 821, 1216 | - |  | 14 | 749, 751, 752, 753, 754, 755, 757, 758, 777, 797, 819, 820, 821, 1216 | - |  | 14 | 751, 752, 753, 754, 755, 757, 758, 777, 797, 819, 820, 821, 823, 1216 | - |  | 14 | 751, 752, 753, 754, 755, 757, 758, 777, 797, 819, 820, 821, 823, 1216 | - |  | 15 | 749, 751, 752, 753, 754, 755, 757, 758, 777, 797, 819, 820, 821, 823, 1216 | 1 |  | 14 | 749, 751, 752, 753, 754, 755, 757, 758, 777, 797, 819, 820, 821, 1216 | -1 |  | 15 | 749, 751, 752, 753, 754, 755, 757, 758, 777, 797, 819, 820, 821, 823, 1216 | 1 |  | 15 | 749, 751, 752, 753, 754, 755, 757, 758, 777, 797, 819, 820, 821, 823, 1216 | - |  | 15 | 749, 751, 752, 753, 754, 755, 757, 758, 777, 797, 819, 820, 821, 823, 1216 | - |  | 15 | 749, 751, 752, 753, 754, 755, 757, 758, 777, 797, 819, 820, 821, 823, 1216 | - |  | 13 | 751, 752, 753, 754, 755, 757, 758, 777, 797, 819, 820, 821, 1216 | -2 |  | 15 | 749, 751, 752, 753, 754, 755, 757, 758, 777, 797, 819, 820, 821, 823, 1216 | 2 |  | 15 | 749, 751, 752, 753, 754, 755, 757, 758, 777, 797, 819, 820, 821, 823, 1216 | - |  | 15 | 749, 751, 752, 753, 754, 755, 757, 758, 777, 797, 819, 820, 821, 823, 1216 | - |  | 15 | 749, 751, 752, 753, 754, 755, 757, 758, 777, 797, 819, 820, 821, 823, 1216 | - |  | 15 | 749, 751, 752, 753, 754, 755, 757, 758, 777, 797, 819, 820, 821, 823, 1216 | - |  | 15 | 749, 751, 752, 753, 754, 755, 757, 758, 777, 797, 819, 820, 821, 823, 1216 | - |  | 15 | 749, 751, 752, 753, 754, 755, 757, 758, 777, 797, 819, 820, 821, 823, 1216 | -
(2, 3, 2) | X4 |  |  | Back | 1099 | 1 | 1326 | - | 1 | 1326 | - |  | 1 | 1326 | - |  | 1 | 1326 | - |  | 1 | 1326 | - |  | 1 | 1326 | - |  | 1 | 1326 | - |  | 1 | 1326 | - |  | 1 | 1326 | - |  | 1 | 1326 | - |  | 1 | 1326 | - |  | 1 | 1326 | - |  | 1 | 1326 | - |  | 1 | 1326 | - |  | 1 | 1326 | - |  | 1 | 1326 | - |  | 1 | 1326 | - |  | 1 | 1326 | - |  | 1 | 1326 | - |  | 1 | 1326 | - |  | 1 | 1326 | - |  | 1 | 1326 | -
(0, 1, 2) | Y4 | HVY 015 | 76 | Front | 481 | 1 | 429 | - | 1 | 429 | - |  | 1 | 429 | - |  | 1 | 429 | - |  | 1 | 429 | - |  | 1 | 429 | - |  | 1 | 429 | - |  | 1 | 429 | - |  | 1 | 429 | - |  | 1 | 429 | - |  | 1 | 429 | - |  | 1 | 429 | - |  | 1 | 429 | - |  | 1 | 429 | - |  | 1 | 429 | - |  | 1 | 429 | - |  | 1 | 429 | - |  | 1 | 429 | - |  | 1 | 429 | - |  | 1 | 429 | - |  | 1 | 429 | - |  | 1 | 429 | -
(4, 5, 1) | Y3 |  |  | Back | 1048 | 29 | 21, 24, 26-28, 30, 32, 33, 34, 35, 37-40, 41, 43-51, 53-56, 847 | - | 26 | 21, 26, 27, 32, 33, 34, 35, 37- 41, 43, 44, 45, 46, 47, 48, 49, 50, 51, 53, 54, 55, 56, 847 | -3 |  | 26 | 21, 26, 27, 32, 33, 34, 35, 37, 38, 39, 40, 41, 43, 44, 45, 46, 47, 48, 50, 51, 53, 54, 55, 56, 847, 1022 | - |  | 29 | 21, 24, 26, 27, 28, 32, 33, 34, 35, 36, 37, 38, 39, 40, 41, 43, 44, 45, 46, 47, 48, 49, 50, 51, 53, 54, 55, 56, 847 | 3 |  | 28 | 21, 26, 27, 28, 32, 33, 34, 35, 36, 37, 38, 39, 40, 41, 43, 44, 45, 46, 47, 48, 49, 50, 51, 53, 54, 55, 56, 847 | -1 |  | 24 | 21, 26, 32, 33, 34, 35, 37, 38, 39, 40, 41, 43, 44, 45, 46, 47, 48, 50, 51, 53, 54, 55, 56, 847 | -4 |  | 38 | 5, 21, 24, 25, 26, 27, 28, 30, 32, 33, 34, 35, 36, 37, 38, 39, 40, 41, 43, 44, 45, 46, 47, 48, 49, 50, 51, 53, 54, 55, 56, 623, 632, 676, 847, 1289, 1297, 1309 | 14 |  | 24 | 21, 26, 32, 33, 34, 35, 37, 38, 39, 40, 41, 43, 44, 45, 46, 47, 48, 50, 51, 53, 54, 55, 56, 847 | -14 |  | 39 | 5, 21, 24, 25, 26, 27, 28, 30, 32, 33, 34, 35, 36, 37, 38, 39, 40, 41, 43, 44, 45, 46, 47, 48, 49, 50, 51, 53, 54, 55, 56, 623, 632, 676, 847, 1284, 1289, 1297, 1309 | 15 |  | 24 | 21, 26, 32, 33, 34, 35, 37, 38, 39, 40, 41, 43, 44, 45, 46, 47, 48, 50, 51, 53, 54, 55, 56, 847 | -15 |  | 31 | 21, 24, 26, 27, 28, 30, 32, 33, 34, 35, 36, 37, 38, 39, 40, 41, 43, 44, 45, 46, 47, 48, 49, 50, 51, 53, 54, 55, 56, 632, 847 | 7 |  | 37 | 21, 24, 25, 26, 27, 28, 30, 32, 33, 34, 35, 36, 37, 38, 39, 40, 41, 43, 44, 45, 46, 47, 48, 49, 50, 51, 53, 54, 55, 56, 623, 630, 632, 675, 847, 1284, 1297 | 6 |  | 37 | 21, 24, 25, 26, 27, 28, 30, 32, 33, 34, 35, 36, 37, 38, 39, 40, 41, 43, 44, 45, 46, 47, 48, 49, 50, 51, 53, 54, 55, 56, 623, 630, 632, 675, 847, 1284, 1297 | - |  | 42 | 5, 21, 24, 25, 26, 27, 28, 30, 32, 33, 34, 35, 36, 37, 38, 39, 40, 41, 43, 44, 45, 46, 47, 48, 49, 50, 51, 53, 54, 55, 56, 436, 623, 630, 632, 675, 676, 847, 1284, 1289, 1297, 1309 | 5 |  | 25 | 21, 26, 27, 32, 33, 34, 35, 37, 38, 39, 40, 41, 43, 44, 45, 46, 47, 48, 50, 51, 53, 54, 55, 56, 847 | -17 |  | 30 | 21, 24, 26, 27, 28, 30, 32, 33, 34, 35, 36, 37, 38, 39, 40, 41, 43, 44, 45, 46, 47, 48, 49, 50, 51, 53, 54, 55, 56, 847 | 5 |  | 35 | 21, 24, 26, 27, 28, 30, 32, 33, 34, 35, 36, 37, 38, 39, 40, 41, 43, 44, 45, 46, 47, 48, 49, 50, 51, 53, 54, 55, 56, 623, 632, 675, 676, 847, 1284 | 5 |  | 39 | 21, 24, 25, 26, 27, 28, 30, 32, 33, 34, 35, 36, 37, 38, 39, 40, 41, 43, 44, 45, 46, 47, 48, 49, 50, 51, 53, 54, 55, 56, 223, 436, 623, 630, 632, 675, 847, 1284, 1297 | 4 |  | 42 | 5, 21, 24, 25, 26, 27, 28, 30, 32, 33, 34, 35, 36, 37, 38, 39, 40, 41, 43, 44, 45, 46, 47, 48, 49, 50, 51, 53, 54, 55, 56, 436, 507, 623, 630, 632, 676, 847, 1284, 1289, 1297, 1309 | 3 |  | 38 | 21, 24, 25, 26, 27, 28, 30, 32, 33, 34, 35, 36, 37, 38, 39, 40, 41, 43, 44, 45, 46, 47, 48, 49, 50, 51, 53, 54, 55, 56, 436, 623, 632, 847, 1284, 1289, 1297, 1309 | -4 |  | 30 | 21, 24, 26, 27, 28, 30, 32, 33, 34, 35, 36, 37, 38, 39, 40, 41, 43, 44, 45, 46, 47, 48, 49, 50, 51, 53, 54, 55, 56, 847 | -8 |  | 30 | 21, 24, 26, 27, 28, 30, 32, 33, 34, 35, 36, 37, 38, 39, 40, 41, 43, 44, 45, 46, 47, 48, 49, 50, 51, 53, 54, 55, 56, 847 | -
(6, 7, 1) | X3 | HVY 026 | 78 | Front | 735 | 11 | 964, 966, 968, 969, 981, 1031, 1032, 1035, 1036, 1037, 1526 | - | 11 | 964, 966, 968, 969, 981, 1031, 1032, 1035, 1036, 1037, 1526 | - |  | 11 | 964, 966, 968, 969, 981, 1031, 1032, 1035, 1036, 1037, 1526 | - |  | 11 | 964, 966, 968, 969, 981, 1031, 1032, 1035, 1036, 1037, 1526 | - |  | 11 | 964, 966, 968, 969, 981, 1031, 1032, 1035, 1036, 1037, 1526 | - |  | 11 | 964, 966, 968, 969, 981, 1031, 1032, 1035, 1036, 1037, 1526 | - |  | 11 | 964, 966, 968, 969, 981, 1031, 1032, 1035, 1036, 1037, 1526 | - |  | 11 | 964, 966, 968, 969, 981, 1031, 1032, 1035, 1036, 1037, 1526 | - |  | 11 | 964, 966, 968, 969, 981, 1031, 1032, 1035, 1036, 1037, 1526 | - |  | 11 | 964, 966, 968, 969, 981, 1031, 1032, 1035, 1036, 1037, 1526 | - |  | 11 | 964, 966, 968, 969, 981, 1031, 1032, 1035, 1036, 1037, 1526 | - |  | 11 | 964, 966, 968, 969, 981, 1031, 1032, 1035, 1036, 1037, 1526 | - |  | 11 | 964, 966, 968, 969, 981, 1031, 1032, 1035, 1036, 1037, 1526 | - |  | 11 | 964, 966, 968, 969, 981, 1031, 1032, 1035, 1036, 1037, 1526 | - |  | 11 | 964, 966, 968, 969, 981, 1031, 1032, 1035, 1036, 1037, 1526 | - |  | 11 | 964, 966, 968, 969, 981, 1031, 1032, 1035, 1036, 1037, 1526 | - |  | 11 | 964, 966, 968, 969, 981, 1031, 1032, 1035, 1036, 1037, 1526 | - |  | 11 | 964, 966, 968, 969, 981, 1031, 1032, 1035, 1036, 1037, 1526 | - |  | 11 | 964, 966, 968, 969, 981, 1031, 1032, 1035, 1036, 1037, 1526 | - |  | 11 | 964, 966, 968, 969, 981, 1031, 1032, 1035, 1036, 1037, 1526 | - |  | 11 | 964, 966, 968, 969, 981, 1031, 1032, 1035, 1036, 1037, 1526 | - |  | 11 | 964, 966, 968, 969, 981, 1031, 1032, 1035, 1036, 1037, 1526 | -
(2, 3, 1) | X2 |  |  | Back | 1040 | 6 | 1499, 1523, 1524, 1525, 1534, 1535 | - | 6 | 1499, 1523, 1524, 1525, 1534, 1535 | - |  | 6 | 1499, 1523, 1524, 1525, 1534, 1535 | - |  | 6 | 1499, 1523, 1524, 1525, 1534, 1535 | - |  | 6 | 1499, 1523, 1524, 1525, 1534, 1535 | - |  | 6 | 1499, 1523, 1524, 1525, 1534, 1535 | - |  | 6 | 1499, 1523, 1524, 1525, 1534, 1535 | - |  | 6 | 1499, 1523, 1524, 1525, 1534, 1535 | - |  | 6 | 1499, 1523, 1524, 1525, 1534, 1535 | - |  | 6 | 1499, 1523, 1524, 1525, 1534, 1535 | - |  | 6 | 1499, 1523, 1524, 1525, 1534, 1535 | - |  | 6 | 1499, 1523, 1524, 1525, 1534, 1535 | - |  | 6 | 1499, 1523, 1524, 1525, 1534, 1535 | - |  | 6 | 1499, 1523, 1524, 1525, 1534, 1535 | - |  | 6 | 1499, 1523, 1524, 1525, 1534, 1535 | - |  | 6 | 1499, 1523, 1524, 1525, 1534, 1535 | - |  | 6 | 1499, 1523, 1524, 1525, 1534, 1535 | - |  | 6 | 1499, 1523, 1524, 1525, 1534, 1535 | - |  | 6 | 1499, 1523, 1524, 1525, 1534, 1535 | - |  | 6 | 1499, 1523, 1524, 1525, 1534, 1535 | - |  | 6 | 1499, 1523, 1524, 1525, 1534, 1535 | - |  | 6 | 1499, 1523, 1524, 1525, 1534, 1535 | -
(0, 1, 1) | Y2 | LGT 006 | 79 | Front | 816 | 0 |  | - | 0 | - | - |  | 0 | - | - |  | 0 | - | - |  | 0 | - | - |  | 0 | - | - |  | 0 |  | - |  | 0 |  | - |  | 0 |  | - |  | 0 |  | - |  | 0 |  | - |  | 0 |  | - |  | 0 |  | - |  | 0 |  | - |  | 0 |  | - |  | 0 |  | - |  | 0 |  | - |  | 0 |  | - |  | 0 |  | - |  | 0 |  | - |  | 0 |  | - |  | 0 |  | -
(4, 5, 0) | Y1 |  |  | Back | 11233 | 8 | 1187, 1430, 1431, 1432, 1433, 1434, 1435, 1437 | - | 9 | 1187, 1429, 1430, 1431, 1432, 1433, 1434, 1435, 1437 | 1 |  | 9 | 1187, 1429, 1430, 1431, 1432, 1433, 1434, 1435, 1437 | - |  | 9 | 1187, 1429, 1430, 1431, 1432, 1433, 1434, 1435, 1437 | - |  | 9 | 1187, 1429, 1430, 1431, 1432, 1433, 1434, 1435, 1437 | - |  | 9 | 1187, 1429, 1430, 1431, 1432, 1433, 1434, 1435, 1437 | - |  | 9 | 1187, 1429, 1430, 1431, 1432, 1433, 1434, 1435, 1437 | - |  | 9 | 1187, 1429, 1430, 1431, 1432, 1433, 1434, 1435, 1437 | - |  | 9 | 1187, 1429, 1430, 1431, 1432, 1433, 1434, 1435, 1437 | - |  | 9 | 1187, 1429, 1430, 1431, 1432, 1433, 1434, 1435, 1437 | - |  | 9 | 1187, 1429, 1430, 1431, 1432, 1433, 1434, 1435, 1437 | - |  | 9 | 1187, 1429, 1430, 1431, 1432, 1433, 1434, 1435, 1437 | - |  | 9 | 1187, 1429, 1430, 1431, 1432, 1433, 1434, 1435, 1437 | - |  | 9 | 1187, 1429, 1430, 1431, 1432, 1433, 1434, 1435, 1437 | - |  | 9 | 1187, 1429, 1430, 1431, 1432, 1433, 1434, 1435, 1437 | - |  | 9 | 1187, 1429, 1430, 1431, 1432, 1433, 1434, 1435, 1437 | - |  | 9 | 1187, 1429, 1430, 1431, 1432, 1433, 1434, 1435, 1437 | - |  | 9 | 1187, 1429, 1430, 1431, 1432, 1433, 1434, 1435, 1437 | - |  | 6 | 1187, 1430, 1431, 1432, 1433, 1434, 1435, 1437 | -3 |  | 9 | 1187, 1429, 1430, 1431, 1432, 1433, 1434, 1435, 1437 | 3 |  | 9 | 1187, 1429, 1430, 1431, 1432, 1433, 1434, 1435, 1437 | - |  | 9 | 1187, 1429, 1430, 1431, 1432, 1433, 1434, 1435, 1437 | -
(6, 7, 0) | X1 | LGT 011 | 84 | Front | 11345 | 7 | 1132, 1134, 1135, 1136, 1137, 1139, 1154] | - | 7 | 1132, 1134, 1135, 1136, 1137, 1139, 1154 | - |  | 7 | 1132, 1134, 1135, 1136, 1137, 1139, 1154 | - |  | 7 | 1132, 1134, 1135, 1136, 1137, 1139, 1154 | - |  | 7 | 1132, 1134, 1135, 1136, 1137, 1139, 1154 | - |  | 7 | 1132, 1134, 1135, 1136, 1137, 1139, 1154 | - |  | 8 | 1132, 1134, 1135, 1136, 1137, 1139, 1153, 1154 | 1 |  | 8 | 1132, 1134, 1135, 1136, 1137, 1139, 1153, 1154 | - |  | 8 | 1132, 1134, 1135, 1136, 1137, 1139, 1153, 1154 | - |  | 8 | 1132, 1134, 1135, 1136, 1137, 1139, 1153, 1154 | - |  | 9 | 1132, 1134, 1135, 1136, 1137, 1139, 1142, 1153, 1154 | 1 |  | 9 | 1132, 1134, 1135, 1136, 1137, 1139, 1142, 1153, 1154 | - |  | 9 | 1132, 1134, 1135, 1136, 1137, 1139, 1142, 1153, 1154 | - |  | 9 | 1132, 1134, 1135, 1136, 1137, 1139, 1142, 1153, 1154 | - |  | 9 | 1132, 1134, 1135, 1136, 1137, 1139, 1142, 1153, 1154 | - |  | 9 | 1132, 1134, 1135, 1136, 1137, 1139, 1142, 1153, 1154 | - |  | 9 | 1132, 1134, 1135, 1136, 1137, 1139, 1142, 1153, 1154 | - |  | 9 | 1132, 1134, 1135, 1136, 1137, 1139, 1142, 1153, 1154 | - |  | 9 | 1132, 1134, 1135, 1136, 1137, 1139, 1142, 1153, 1154 | - |  | 9 | 1132, 1134, 1135, 1136, 1137, 1139, 1142, 1153, 1154 | - |  | 9 | 1132, 1134, 1135, 1136, 1137, 1139, 1142, 1153, 1154 | - |  | 9 | 1132, 1134, 1135, 1136, 1137, 1139, 1142, 1153, 1154 | -
(2, 3, 0) | X0 |  |  | Back | 540 | 9 | 368, 369, 392, 393, 394, 651, 1323, 1395, 1470 | - | 8 | 368, 369, 392, 393, 394, 651, 1323, 1470 | -1 |  | 9 | 368, 369, 392, 393, 394, 651, 1323, 1324, 1470 | 1 |  | 9 | 368, 369, 392, 393, 394, 651, 1323, 1324, 1470 | - |  | 10 | 368, 369, 392, 393, 394, 651, 1323, 1324, 1395, 1470 | 1 |  | 10 | 368, 369, 392, 393, 394, 651, 1323, 1324, 1395, 1470 | - |  | 7 | 368, 369, 392, 393, 394, 651, 1323 | -3 |  | 10 | 368, 369, 392, 393, 394, 651, 1323, 1324, 1395, 1470 | 3 |  | 7 | 368, 392, 393, 394, 651, 1323, 1470 | -3 |  | 9 | 368, 369, 392, 393, 394, 651, 1323, 1395, 1470 | 2 |  | 8 | 368, 369, 392, 393, 394, 651, 1323, 1470 | -1 |  | 8 | 368, 369, 392, 393, 394, 651, 1323, 1470 | - |  | 8 | 368, 369, 392, 393, 394, 651, 1323, 1470 | - |  | 6 | 368, 392, 393, 394, 651, 1323 | -2 |  | 10 | 368, 369, 392, 393, 394, 651, 1323, 1324, 1395, 1470 | 4 |  | 10 | 368, 369, 392, 393, 394, 651, 1323, 1324, 1395, 1470 | - |  | 9 | 368, 369, 392, 393, 394, 651, 1323, 1324, 1470 | -1 |  | 8 | 368, 369, 392, 393, 394, 651, 1323, 1470 | -1 |  | 6 | 368, 392, 393, 394, 651, 1323 | -2 |  | 8 | 368, 369, 392, 393, 394, 651, 1323, 1470 | 2 |  | 10 | 368, 369, 392, 393, 394, 651, 1323, 1324, 1395, 1470 | 2 |  | 0 | 368, 369, 392, 393, 394, 651, 1323, 1324, 1395, 1470 | -10
(0, 1, 0) | Y0 | BTM 005 | 5 | Front | 972 | 31 | 431, 456, 468, 513, 534, 587, 596, 597, 604, 606, 607, 608, 609, 610, 611, 633, 640, 641, 646, 647, 649, 654, 656, 662, 664, 699, 703, 787, 951, 1276, 1279 | - | 31 | 431, 456, 468, 513, 534, 587, 596, 597, 604, 606, 607, 608, 609, 610, 611, 633, 640, 641, 646, 647, 649, 654, 656, 662, 664, 699, 703, 787, 951, 1276, 1279 | - |  | 32 | 431, 456, 468, 513, 534, 587, 596, 597, 602, 604, 606, 607, 608, 609, 610, 611, 633, 640, 641, 646, 647, 649, 654, 656, 662, 664, 699, 703, 787, 951, 1276, 1279 | 1 |  | 32 | 431, 456, 468, 513, 534, 587, 596, 597, 602, 604, 606, 607, 608, 609, 610, 611, 633, 640, 641, 646, 647, 649, 654, 656, 662, 664, 699, 703, 787, 951, 1276, 1279 | - |  | 32 | 431, 456, 468, 513, 534, 587, 596, 597, 602, 604, 606, 607, 608, 609, 610, 611, 633, 640, 641, 646, 647, 649, 654, 656, 662, 664, 699, 703, 787, 951, 1276, 1279 | - |  | 29 | 431, 456, 468, 513, 520, 534, 587, 596, 597, 604, 606, 607, 608, 609, 610, 611, 640, 641, 646, 649, 654, 656, 664, 699, 703, 787, 951, 1276, 1279 | -3 |  | 39 | 431, 456, 468, 513, 520, 534, 585, 587, 596, 597, 601, 602, 604, 606, 607, 608, 609, 610, 611, 633, 640, 641, 646, 647, 649, 650, 654, 656, 658, 662, 664, 698, 699, 703, 787, 951, 952, 1276, 1279 | 10 |  | 32 | 431, 456, 468, 513, 534, 587, 596, 597, 602, 604, 606, 607, 608, 609, 610, 611, 633, 640, 641, 646, 647, 649, 654, 656, 664, 699, 703, 787, 951, 952, 1276, 1279 | -7 |  | 42 | 431, 456, 468, 506, 513, 520, 534, 587, 594, 596, 597, 601, 602, 604, 605, 606, 607, 608, 609, 610, 611, 633, 640, 641, 646, 647, 649, 650, 654, 656, 658, 662, 664, 698, 699, 703, 722, 787, 951, 952, 1276, 1279 | 10 |  | 34 | 431, 456, 468, 513, 534, 587, 596, 597, 602, 604, 606, 607, 608, 609, 610, 611, 633, 640, 641, 646, 647, 649, 654, 656, 662, 664, 698, 699, 703, 787, 951, 952, 1276, 1279 | -8 |  | 44 | 431, 456, 468, 513, 534, 587, 596, 597, 602, 604, 606, 607, 608, 609, 610, 611, 633, 640, 641, 646, 647, 649, 654, 656, 662, 664, 698, 699, 703, 787, 951, 952, 1276, 1279 | 10 |  | 45 | 431, 456, 468, 506, 513, 520, 534, 585, 587, 590, 594, 596, 597, 601, 602, 604, 605, 606, 607, 608, 609, 610, 611, 633, 640, 641, 646, 647, 649, 650, 654, 656, 658, 662, 664, 667, 698, 699, 703, 722, 787, 951, 952, 1276, 1279 | 1 |  | 45 | 431, 456, 468, 506, 513, 520, 534, 585, 587, 590, 594, 596, 597, 601, 602, 604, 605, 606, 607, 608, 609, 610, 611, 633, 640, 641, 646, 647, 649, 650, 654, 656, 658, 662, 664, 667, 698, 699, 703, 722, 787, 951, 952, 1276, 1279 | - |  | 45 | 431, 456, 468, 506, 513, 520, 534, 585, 587, 590, 594, 596, 597, 601, 602, 604, 605, 606, 607, 608, 609, 610, 611, 633, 640, 641, 646, 647, 649, 650, 654, 656, 658, 662, 664, 667, 698, 699, 703, 722, 787, 951, 952, 1276, 1279 | - |  | 42 | 431, 456, 468, 513, 520, 534, 585, 587, 594, 596, 597, 601, 602, 604, 606, 607, 608, 609, 610, 611, 633, 640, 641, 646, 647, 649, 650, 654, 656, 658, 662, 664, 667, 698, 699, 703, 722, 787, 951, 952, 1276, 1279 | -3 |  | 46 | 431, 456, 468, 506, 513, 520, 534, 585, 587, 590, 594, 596, 597, 601, 602, 604, 605, 606, 607, 608, 609, 610, 611, 633, 640, 641, 646, 647, 649, 650, 654, 656, 658, 662, 664, 667, 672, 698, 699, 703, 722, 787, 951, 952, 1276, 1279 | 4 |  | 47 | 431, 456, 468, 506, 513, 520, 534, 585, 587, 590, 594, 596, 597, 601, 602, 604, 605, 606, 607, 608, 609, 610, 611, 613, 633, 640, 641, 646, 647, 649, 650, 654, 656, 658, 662, 664, 667, 672, 698, 699, 703, 722, 787, 951, 952, 1276, 1279 | 1 |  | 48 | 431, 456, 468, 506, 513, 520, 534, 585, 587, 590, 594, 596, 597, 601, 602, 604, 605, 606, 607, 608, 609, 610, 611, 613, 633, 640, 641, 646, 647, 649, 650, 654, 656, 658, 662, 664, 667, 672, 698, 699, 703, 722, 787, 951, 952, 1276, 1279 | 1 |  | 48 | 431, 456, 468, 506, 513, 520, 534, 585, 587, 590, 594, 596, 597, 601, 602, 604, 605, 606, 607, 608, 609, 610, 611, 613, 633, 640, 641, 646, 647, 649, 650, 654, 656, 658, 662, 664, 667, 672, 698, 699, 703, 722, 787, 951, 952, 1276, 1279 | - |  | 48 | 431, 456, 467, 468, 506, 513, 520, 534, 585, 587, 590, 594, 596, 597, 601, 602, 604, 605, 606, 607, 608, 609, 610, 611, 612, 633, 640, 641, 646, 647, 649, 650, 654, 656, 658, 662, 664, 667, 672, 698, 699, 703, 722, 787, 951, 952, 1276, 1279 | - |  | 46 | 431, 456, 468, 506, 513, 520, 534, 585, 587, 590, 594, 596, 597, 601, 602, 604, 605, 606, 607, 608, 609, 610, 611, 633, 640, 641, 646, 647, 649, 650, 654, 656, 658, 662, 664, 667, 672, 698, 699, 703, 722, 787, 951, 952, 1276, 1279 | -2 |  | 47 | 431, 456, 468, 506, 513, 520, 534, 585, 587, 590, 594, 596, 597, 601, 602, 604, 605, 606, 607, 608, 609, 610, 611, 633, 640, 641, 646, 647, 649, 650, 654, 656, 658, 662, 664, 667, 672, 698, 699, 703, 722, 787, 951, 952, 1276, 1279 | 1
|  | Total |  |  |  | 205 |  |  | 201 |  | -4 |  | 207 |  | 6 |  | 206 |  | -1 |  | 208 |  | 2 |  | 201 |  | -7 |  | 219 |  | 18 |  | 208 |  | -11 |  | 235 |  | 27 |  | 211 |  | -24 |  | 232 |  | 21 |  | 239 |  | 7 |  | 239 |  | 0 |  | 243 |  | 4 |  | 224 |  | -19 |  | 240 |  | 16 |  | 243 |  | 3 |  | 248 |  | 5 |  | 246 |  | -2 |  | 246 |  | -1 |  | 242 |  | -3 |  | 231 |  | -11
Note:
| Used Test |  | Description
n disc. ch. (Low ENC) | NoiseAndGain |  | ENC < 500 e-