## Bad chans Data
Tower 13 |  |  |  |  | TV CPT pre TV test - No Cable 2-5 |  |  |  |  | TV CPT vacuum RT - No Cable 2-5 |  |  |  |  | TWR13: 30C LPT from RT to first hot soak |  |  |  |  | TWR13: first hot soak CPT |  |  |  |  | TWR13: LPT 30C first rump down |  |  |  |  | TWR13: LPT 15C first rump down |  |  |  |  | TWR13: LPT 0C first rump down |  |  |  |  | TWR13: CPT at 1st cold soak |  |  |  |  | TWR13: LPT at 0C |  |  |  |  | TWR13: LPT at 15C |  |  |  |  | TWR13: LPT at 30C |  |  |  |  | TWR13: CPT at 2nd hot soak |  |  |  |  | TWR13: LPT at 30C |  |  |  |  | TWR13: LPT at 15C |  |  |  |  | TWR13: LPT at 0C |  |  |  |  | TWR13: CPT 2nd Cold Soak |  |  |  |  | LPT at 0C from 2nd cold soak to 3rd hot. |  |  |  |  | LPT at 15C from 2nd cold soak to 3rd hot. |  |  |  |  | LPT at 30C from 2nd cold soak to 3rd hot. |  |  |  |  | CPT at 3rd hot soak. |  |  |  |  | LPT at 30C from third hot to third cold soak |  |  |  |  | 3rd rump down LPT at 15C |  |  |  |  | 3rd rump down LPT at 0C |  |  |  |  | 3rd Cold Soak |  |  |  |  | 3rd rump up LPT at 0C |  |  |  |  | 3rd rump up LPT at 15C |  |  |  |  | 3rd rump up LPT at 30C |  |  |  |  | CPT at 4th hot soak. |  |  |  |  | 4th rump down LPT at 30C |  |  |  |  | 4th rump down LPT at 15C |  |  |  |  | 4th rump down LPT at 0C |  |  |  |  | 4th Cold Soak |  |  |  |  | 5th rump up LPT at 0C |  |  |  |  | CPT in vacuum room T |  |  |  |  | PostVib-Preship CPT (INFN/PI-gamma-75)
(GTCCs, GTRC) | Layer | Tray | Side | MCM | n disc. | n dead | n noisy | Bad Total | Notes | n disc. | n dead | n noisy | Bad Total | Notes | n disc. | n dead | n noisy | Bad Total | Notes | n disc. | n dead | n noisy | Bad Total | Notes | n disc. | n dead | n noisy | Bad Total | Notes | n disc. | n dead | n noisy | Bad Total | Notes | n disc. | n dead | n noisy | Bad Total | Notes | n disc. | n dead | n noisy | Bad Total | Notes | n disc. | n dead | n noisy | Bad Total | Notes | n disc. | n dead | n noisy | Bad Total | Notes | n disc. | n dead | n noisy | Bad Total | Notes | n disc. | n dead | n noisy | Bad Total | Notes | n disc. | n dead | n noisy | Bad Total | Notes | n disc. | n dead | n noisy | Bad Total | Notes | n disc. | n dead | n noisy | Bad Total | Notes | n disc. | n dead | n noisy | Bad Total | Notes | n disc. | n dead | n noisy | Bad Total | Notes | n disc. | n dead | n noisy | Bad Total | Notes | n disc. | n dead | n noisy | Bad Total | Notes | n disc. | n dead | n noisy | Bad Total | Notes | n disc. | n dead | n noisy | Bad Total | Notes | n disc. | n dead | n noisy | Bad Total | Notes | n disc. | n dead | n noisy | Bad Total | Notes | n disc. | n dead | n noisy | Bad Total | Notes | n disc. | n dead | n noisy | Bad Total | Notes | n disc. | n dead | n noisy | Bad Total | Notes | n disc. | n dead | n noisy | Bad Total | Notes | n disc. | n dead | n noisy | Bad Total | Notes | n disc. | n dead | n noisy | Bad Total | Notes | n disc. | n dead | n noisy | Bad Total | Notes | n disc. | n dead | n noisy | Bad Total | Notes | n disc. | n dead | n noisy | Bad Total | Notes | n disc. | n dead | n noisy | Bad Total | Notes | n disc. | n dead | n noisy | Bad Total | Notes | n disc. | n dead | n noisy | Bad Total | Notes
[5 empty] | (Low ENC) |  |  |  |  | (Low ENC) |  |  |  |  | (Low ENC) |  |  |  |  | (Low ENC) |  |  |  |  | (Low ENC) |  |  |  |  | (Low ENC) |  |  |  |  | (Low ENC) |  |  |  |  | (Low ENC) |  |  |  |  | (Low ENC) |  |  |  |  | (Low ENC) |  |  |  |  | (Low ENC) |  |  |  |  | (Low ENC) |  |  |  |  | (Low ENC) |  |  |  |  | (Low ENC) |  |  |  |  | (Low ENC) |  |  |  |  | (Low ENC) |  |  |  |  | (Low ENC) |  |  |  |  | (Low ENC) |  |  |  |  | (Low ENC) |  |  |  |  | (Low ENC) |  |  |  |  | (Low ENC) |  |  |  |  | (Low ENC) |  |  |  |  | (Low ENC) |  |  |  |  | (Low ENC) |  |  |  |  | (Low ENC) |  |  |  |  | (Low ENC) |  |  |  |  | (Low ENC) |  |  |  |  | (Low ENC) |  |  |  |  | (Low ENC) |  |  |  |  | (Low ENC) |  |  |  |  | (Low ENC) |  |  |  |  | (Low ENC) |  |  |  |  | (Low ENC) |  |  |  |  | (Low ENC) |  |  |  |  | (Low ENC)
(4, 5, 8) | Y17 | TOP 013 | Back | 2708 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 |  | 0 | 0 | 1 | 1 |  | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0
(6, 7, 8) | X17 | MID 194 | Front | 2673 | 0 | 1 | 1 | 2 |  | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 |  | 0 | 0 | 1 | 1 |  | 0 | 0 | 1 | 1 |  | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 |  | 0 | 0 | 1 | 1 |  | 0 | 0 | 1 | 1 |  | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 |  | 0 | 0 | 1 | 1 |  | 0 | 0 | 1 | 1 |  | 0 | 0 | 1 | 1 |  | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 |  | 0 | 1 | 1 | 2
(2, 3, 8) | X16 |  | Back | 2728 | 1 | 1 | 3 | 5 |  | 1 | 1 | 4 | 6 |  | 1 | 1 | 4 | 6 |  | 1 | 1 | 4 | 6 |  | 1 | 1 | 4 | 6 |  | 1 | 1 | 4 | 6 |  | 1 | 1 | 4 | 6 |  | 1 | 1 | 2 | 4 |  | 1 | 1 | 2 | 4 |  | 1 | 1 | 4 | 6 |  | 1 | 1 | 4 | 6 |  | 1 | 1 | 4 | 6 |  | 1 | 1 | 4 | 6 |  | 2 | 1 | 4 | 7 |  | 1 | 1 | 4 | 6 |  | 1 | 1 | 2 | 4 |  | 1 | 1 | 3 | 5 |  | 1 | 1 | 4 | 6 |  | 1 | 1 | 4 | 6 |  | 1 | 1 | 4 | 6 |  | 1 | 1 | 4 | 6 |  | 1 | 1 | 4 | 6 |  | 1 | 1 | 4 | 6 |  | 1 | 1 | 2 | 4 |  | 1 | 1 | 3 | 5 |  | 1 | 1 | 4 | 6 |  | 1 | 1 | 0 | 2 |  | 1 | 1 | 4 | 6 |  | 1 | 1 | 4 | 6 |  | 1 | 1 | 4 | 6 |  | 1 | 1 | 2 | 4 |  | 1 | 1 | 2 | 4 |  | 1 | 1 | 2 | 4 |  | 1 | 1 | 2 | 4 |  | 1 | 1 | 3 | 5
(0, 1, 8) | Y16 | MID 152 | Front | 2134 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0
(4, 5, 7) | Y15 |  | Back | 2067 | 0 | 0 | 0 | 0 |  | 0 | 0 | 1 | 1 |  | 0 | 0 | 1 | 1 |  | 0 | 0 | 1 | 1 |  | 0 | 0 | 1 | 1 |  | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 |  | 0 | 0 | 1 | 1 |  | 0 | 0 | 1 | 1 |  | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 |  | 0 | 0 | 4 | 4 |  | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 |  | 0 | 0 | 1 | 1
(6, 7, 7) | X15 | MID 125 | Front | 905 | 0 | 5 | 0 | 5 |  | 0 | 5 | 0 | 5 |  | 0 | 5 | 0 | 5 |  | 0 | 5 | 0 | 5 |  | 0 | 5 | 0 | 5 |  | 0 | 5 | 0 | 5 |  | 0 | 5 | 0 | 5 |  | 0 | 5 | 0 | 5 |  | 0 | 5 | 0 | 5 |  | 0 | 5 | 0 | 5 |  | 0 | 5 | 0 | 5 |  | 0 | 5 | 0 | 5 |  | 0 | 5 | 0 | 5 |  | 0 | 5 | 0 | 5 |  | 0 | 5 | 0 | 5 |  | 0 | 5 | 0 | 5 |  | 0 | 5 | 0 | 5 |  | 0 | 5 | 0 | 5 |  | 0 | 5 | 0 | 5 |  | 0 | 5 | 0 | 5 |  | 0 | 5 | 0 | 5 |  | 0 | 5 | 0 | 5 |  | 0 | 5 | 0 | 5 |  | 0 | 5 | 0 | 5 |  | 0 | 5 | 0 | 5 |  | 0 | 5 | 0 | 5 |  | 0 | 5 | 0 | 5 |  | 0 | 4 | 0 | 4 |  | 0 | 5 | 0 | 5 |  | 0 | 5 | 0 | 5 |  | 0 | 5 | 0 | 5 |  | 0 | 5 | 0 | 5 |  | 0 | 5 | 0 | 5 |  | 0 | 5 | 0 | 5 |  | 0 | 5 | 0 | 5
(2, 3, 7) | X14 |  | Back | 977 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0
(0, 1, 7) | Y14 | MID 160 | Front | 2233 | 1 | 2 | 5 | 8 |  | 1 | 1 | 3 | 5 |  | 1 | 2 | 3 | 6 |  | 1 | 3 | 3 | 7 |  | 1 | 3 | 2 | 6 |  | 1 | 2 | 2 | 5 |  | 1 | 2 | 1 | 4 |  | 1 | 2 | 1 | 4 |  | 1 | 2 | 1 | 4 |  | 1 | 2 | 2 | 5 |  | 1 | 2 | 2 | 5 |  | 1 | 3 | 4 | 8 |  | 1 | 3 | 4 | 8 |  | 1 | 3 | 1 | 5 |  | 1 | 2 | 1 | 4 |  | 1 | 2 | 1 | 4 |  | 1 | 2 | 1 | 4 |  | 1 | 2 | 1 | 4 |  | 1 | 2 | 1 | 4 |  | 1 | 2 | 2 | 5 |  | 1 | 3 | 1 | 5 |  | 1 | 2 | 1 | 4 |  | 1 | 2 | 1 | 4 |  | 1 | 2 | 1 | 4 |  | 1 | 2 | 1 | 4 |  | 1 | 2 | 1 | 4 |  | 1 | 2 | 1 | 4 |  | 1 | 2 | 1 | 4 |  | 1 | 3 | 1 | 5 |  | 1 | 2 | 1 | 4 |  | 1 | 2 | 1 | 4 |  | 1 | 2 | 1 | 4 |  | 1 | 2 | 1 | 4 |  | 1 | 2 | 1 | 4 |  | 1 | 2 | 3 | 6
(4, 5, 6) | Y13 |  | Back | 2365 | 2 | 0 | 0 | 2 |  | 2 | 0 | 0 | 2 |  | 2 | 0 | 0 | 2 |  | 1 | 0 | 0 | 1 |  | 1 | 0 | 0 | 1 |  | 2 | 0 | 0 | 2 |  | 2 | 0 | 0 | 2 |  | 2 | 0 | 0 | 2 |  | 2 | 0 | 0 | 2 |  | 2 | 0 | 0 | 2 |  | 2 | 0 | 1 | 3 |  | 1 | 0 | 0 | 1 |  | 1 | 0 | 0 | 1 |  | 2 | 0 | 0 | 2 |  | 3 | 0 | 0 | 3 |  | 3 | 0 | 0 | 3 |  | 3 | 0 | 0 | 3 |  | 3 | 0 | 0 | 3 |  | 3 | 0 | 0 | 3 |  | 1 | 0 | 0 | 1 |  | 1 | 0 | 0 | 1 |  | 3 | 0 | 0 | 3 |  | 3 | 0 | 0 | 3 |  | 3 | 0 | 0 | 3 |  | 3 | 0 | 0 | 3 |  | 3 | 0 | 0 | 3 |  | 3 | 0 | 0 | 3 |  | 1 | 0 | 1 | 2 |  | 2 | 0 | 0 | 2 |  | 3 | 0 | 0 | 3 |  | 3 | 0 | 0 | 3 |  | 3 | 0 | 0 | 3 |  | 3 | 0 | 0 | 3 |  | 3 | 0 | 0 | 3 |  | 3 | 0 | 1 | 4
(6, 7, 6) | X13 | MID 142 | Front | 2638 | 0 | 2 | 0 | 2 |  | 0 | 1 | 0 | 1 |  | 0 | 1 | 0 | 1 |  | 0 | 1 | 1 | 2 |  | 0 | 1 | 1 | 2 |  | 0 | 1 | 0 | 1 |  | 0 | 1 | 0 | 1 |  | 0 | 1 | 0 | 1 |  | 0 | 1 | 0 | 1 |  | 0 | 1 | 0 | 1 |  | 0 | 1 | 0 | 1 |  | 0 | 1 | 0 | 1 |  | 0 | 1 | 0 | 1 |  | 0 | 1 | 0 | 1 |  | 0 | 1 | 0 | 1 |  | 0 | 1 | 0 | 1 |  | 0 | 1 | 0 | 1 |  | 0 | 1 | 0 | 1 |  | 0 | 1 | 0 | 1 |  | 0 | 1 | 0 | 1 |  | 0 | 1 | 0 | 1 |  | 0 | 1 | 0 | 1 |  | 0 | 1 | 0 | 1 |  | 0 | 1 | 0 | 1 |  | 0 | 1 | 0 | 1 |  | 0 | 1 | 0 | 1 |  | 0 | 1 | 0 | 1 |  | 0 | 1 | 0 | 1 |  | 0 | 1 | 0 | 1 |  | 0 | 1 | 0 | 1 |  | 0 | 1 | 0 | 1 |  | 0 | 1 | 0 | 1 |  | 0 | 1 | 0 | 1 |  | 0 | 1 | 0 | 1 |  | 0 | 1 | 0 | 1
(2, 3, 6) | X12 |  | Back | 2591 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 |  | 0 | 0 | 1 | 1 |  | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 |  | 0 | 0 | 1 | 1 |  | 0 | 0 | 1 | 1 |  | 0 | 0 | 1 | 1 |  | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 |  | 0 | 0 | 1 | 1 |  | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 |  | 0 | 0 | 1 | 1 |  | 0 | 0 | 1 | 1 |  | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0
(0, 1, 6) | Y12 | MID 138 | Front | 2636 | 0 | 1 | 0 | 1 |  | 0 | 1 | 0 | 1 |  | 0 | 1 | 0 | 1 |  | 0 | 1 | 1 | 2 |  | 0 | 1 | 0 | 1 |  | 0 | 1 | 0 | 1 |  | 1 | 1 | 0 | 2 |  | 0 | 1 | 0 | 1 |  | 0 | 1 | 0 | 1 |  | 0 | 1 | 0 | 1 |  | 0 | 1 | 0 | 1 |  | 0 | 1 | 0 | 1 |  | 0 | 1 | 0 | 1 |  | 0 | 1 | 0 | 1 |  | 0 | 1 | 0 | 1 |  | 0 | 1 | 0 | 1 |  | 0 | 1 | 0 | 1 |  | 0 | 1 | 0 | 1 |  | 0 | 1 | 0 | 1 |  | 0 | 1 | 1 | 2 |  | 0 | 1 | 0 | 1 |  | 0 | 1 | 0 | 1 |  | 0 | 1 | 0 | 1 |  | 0 | 1 | 0 | 1 |  | 0 | 1 | 0 | 1 |  | 0 | 1 | 0 | 1 |  | 0 | 1 | 0 | 1 |  | 0 | 1 | 1 | 2 |  | 1 | 1 | 0 | 2 |  | 0 | 1 | 0 | 1 |  | 0 | 1 | 0 | 1 |  | 0 | 1 | 0 | 1 |  | 0 | 1 | 0 | 1 |  | 0 | 1 | 0 | 1 |  | 0 | 1 | 0 | 1
(4, 5, 5) | Y11 |  | Back | 2583 | 0 | 1 | 2 | 3 |  | 0 | 1 | 1 | 2 |  | 0 | 1 | 2 | 3 |  | 0 | 0 | 2 | 2 |  | 0 | 0 | 2 | 2 |  | 0 | 1 | 1 | 2 |  | 0 | 1 | 1 | 2 |  | 0 | 1 | 1 | 2 |  | 0 | 1 | 1 | 2 |  | 0 | 1 | 1 | 2 |  | 0 | 1 | 2 | 3 |  | 0 | 0 | 2 | 2 |  | 0 | 0 | 2 | 2 |  | 0 | 1 | 1 | 2 |  | 0 | 1 | 1 | 2 |  | 0 | 1 | 1 | 2 |  | 0 | 1 | 1 | 2 |  | 0 | 1 | 1 | 2 |  | 0 | 1 | 2 | 3 |  | 0 | 0 | 2 | 2 |  | 0 | 0 | 2 | 2 |  | 0 | 1 | 1 | 2 |  | 0 | 1 | 1 | 2 |  | 0 | 1 | 0 | 1 |  | 0 | 1 | 1 | 2 |  | 0 | 1 | 1 | 2 |  | 0 | 1 | 2 | 3 |  | 0 | 0 | 2 | 2 |  | 0 | 0 | 2 | 2 |  | 0 | 1 | 1 | 2 |  | 0 | 1 | 1 | 2 |  | 0 | 1 | 0 | 1 |  | 0 | 1 | 1 | 2 |  | 0 | 1 | 1 | 2 |  | 0 | 0 | 2 | 2
(6, 7, 5) | X11 | MID 157 | Front | 2178 | 2 | 1 | 3 | 6 |  | 2 | 0 | 1 | 3 |  | 2 | 0 | 1 | 3 |  | 2 | 0 | 1 | 3 |  | 2 | 0 | 0 | 2 |  | 2 | 0 | 0 | 2 |  | 1 | 0 | 0 | 1 |  | 2 | 0 | 0 | 2 |  | 2 | 0 | 0 | 2 |  | 1 | 0 | 0 | 1 |  | 2 | 0 | 0 | 2 |  | 1 | 0 | 1 | 2 |  | 2 | 0 | 1 | 3 |  | 2 | 0 | 0 | 2 |  | 2 | 0 | 0 | 2 |  | 1 | 0 | 0 | 1 |  | 2 | 0 | 0 | 2 |  | 2 | 0 | 0 | 2 |  | 2 | 0 | 0 | 2 |  | 0 | 0 | 1 | 1 |  | 1 | 0 | 1 | 2 |  | 2 | 0 | 0 | 2 |  | 2 | 0 | 0 | 2 |  | 2 | 0 | 0 | 2 |  | 2 | 0 | 0 | 2 |  | 2 | 0 | 0 | 2 |  | 2 | 0 | 1 | 3 |  | 0 | 0 | 1 | 1 |  | 2 | 0 | 1 | 3 |  | 0 | 0 | 0 | 0 |  | 2 | 0 | 0 | 2 |  | 2 | 0 | 0 | 2 |  | 2 | 0 | 0 | 2 |  | 1 | 0 | 0 | 1 |  | 2 | 0 | 2 | 4
(2, 3, 5) | X10 |  | Back | 2196 | 0 | 0 | 2 | 2 |  | 0 | 0 | 1 | 1 |  | 0 | 0 | 1 | 1 |  | 0 | 0 | 1 | 1 |  | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 |  | 0 | 0 | 2 | 2 |  | 0 | 1 | 0 | 1 |  | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 |  | 0 | 1 | 0 | 1 |  | 0 | 1 | 0 | 1 |  | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 |  | 0 | 0 | 2 | 2 |  | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 |  | 0 | 0 | 1 | 1
(0, 1, 5) | Y10 | MID 158 | Front | 2246 | 0 | 3 | 5 | 8 |  | 0 | 3 | 3 | 6 |  | 0 | 3 | 3 | 6 |  | 0 | 3 | 2 | 5 |  | 0 | 3 | 2 | 5 |  | 0 | 3 | 2 | 5 |  | 0 | 3 | 2 | 5 |  | 0 | 2 | 2 | 4 |  | 0 | 3 | 2 | 5 |  | 0 | 3 | 2 | 5 |  | 0 | 3 | 2 | 5 |  | 0 | 3 | 2 | 5 |  | 0 | 3 | 2 | 5 |  | 0 | 3 | 2 | 5 |  | 0 | 2 | 2 | 4 |  | 0 | 3 | 2 | 5 |  | 0 | 3 | 2 | 5 |  | 0 | 3 | 2 | 5 |  | 0 | 3 | 2 | 5 |  | 0 | 3 | 2 | 5 |  | 0 | 3 | 2 | 5 |  | 0 | 3 | 2 | 5 |  | 0 | 3 | 2 | 5 |  | 0 | 2 | 2 | 4 |  | 0 | 3 | 2 | 5 |  | 0 | 3 | 2 | 5 |  | 0 | 3 | 2 | 5 |  | 0 | 3 | 2 | 5 |  | 0 | 3 | 2 | 5 |  | 0 | 3 | 2 | 5 |  | 0 | 3 | 2 | 5 |  | 0 | 3 | 2 | 5 |  | 0 | 3 | 2 | 5 |  | 0 | 3 | 2 | 5 |  | 0 | 4 | 4 | 8
(4, 5, 4) | Y9 |  | Back | 2262 | 0 | 2 | 3 | 5 |  | 0 | 2 | 4 | 6 |  | 0 | 2 | 2 | 4 |  | 0 | 2 | 2 | 4 |  | 0 | 2 | 2 | 4 |  | 0 | 2 | 2 | 4 |  | 0 | 2 | 2 | 4 |  | 0 | 2 | 0 | 2 |  | 0 | 2 | 2 | 4 |  | 0 | 2 | 2 | 4 |  | 0 | 2 | 2 | 4 |  | 0 | 2 | 3 | 5 |  | 0 | 2 | 2 | 4 |  | 0 | 2 | 2 | 4 |  | 0 | 2 | 2 | 4 |  | 0 | 2 | 0 | 2 |  | 0 | 2 | 2 | 4 |  | 0 | 2 | 2 | 4 |  | 0 | 2 | 2 | 4 |  | 0 | 2 | 3 | 5 |  | 0 | 2 | 2 | 4 |  | 0 | 2 | 2 | 4 |  | 0 | 2 | 2 | 4 |  | 0 | 2 | 0 | 2 |  | 0 | 2 | 0 | 2 |  | 0 | 2 | 2 | 4 |  | 0 | 2 | 2 | 4 |  | 0 | 2 | 3 | 5 |  | 0 | 2 | 2 | 4 |  | 0 | 2 | 2 | 4 |  | 0 | 2 | 0 | 2 |  | 0 | 2 | 0 | 2 |  | 0 | 2 | 0 | 2 |  | 0 | 2 | 2 | 4 |  | 0 | 2 | 3 | 5
(6, 7, 4) | X9 | MID 147 | Front | 2737 | 0 | 2 | 0 | 2 |  | 0 | 1 | 0 | 1 |  | 0 | 1 | 0 | 1 |  | 0 | 1 | 0 | 1 |  | 0 | 1 | 0 | 1 |  | 0 | 1 | 0 | 1 |  | 0 | 1 | 0 | 1 |  | 0 | 1 | 0 | 1 |  | 0 | 1 | 0 | 1 |  | 0 | 1 | 0 | 1 |  | 0 | 1 | 0 | 1 |  | 0 | 1 | 0 | 1 |  | 0 | 1 | 0 | 1 |  | 0 | 1 | 0 | 1 |  | 0 | 1 | 0 | 1 |  | 0 | 1 | 0 | 1 |  | 0 | 1 | 0 | 1 |  | 0 | 1 | 0 | 1 |  | 0 | 1 | 0 | 1 |  | 0 | 1 | 0 | 1 |  | 0 | 1 | 0 | 1 |  | 0 | 1 | 0 | 1 |  | 0 | 1 | 0 | 1 |  | 0 | 1 | 0 | 1 |  | 0 | 1 | 0 | 1 |  | 0 | 1 | 0 | 1 |  | 0 | 1 | 0 | 1 |  | 0 | 1 | 0 | 1 |  | 0 | 1 | 0 | 1 |  | 0 | 1 | 0 | 1 |  | 0 | 1 | 0 | 1 |  | 0 | 1 | 0 | 1 |  | 0 | 1 | 0 | 1 |  | 0 | 1 | 0 | 1 |  | 0 | 1 | 0 | 1
(2, 3, 4) | X8 |  | Back | 11003 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0
(0, 1, 4) | Y8 | MID 124 | Front | 11019 | 0 | 1 | 1 | 2 |  | 0 | 0 | 0 | 0 |  | 0 | 1 | 1 | 2 |  | 0 | 1 | 2 | 3 |  | 0 | 1 | 2 | 3 |  | 0 | 1 | 1 | 2 |  | 0 | 1 | 1 | 2 |  | 0 | 0 | 1 | 1 |  | 0 | 0 | 1 | 1 |  | 0 | 1 | 1 | 2 |  | 0 | 1 | 1 | 2 |  | 0 | 1 | 1 | 2 |  | 0 | 1 | 1 | 2 |  | 0 | 1 | 1 | 2 |  | 0 | 1 | 1 | 2 |  | 0 | 1 | 1 | 2 |  | 0 | 1 | 1 | 2 |  | 0 | 1 | 1 | 2 |  | 0 | 1 | 1 | 2 |  | 0 | 1 | 1 | 2 |  | 0 | 0 | 1 | 1 |  | 0 | 1 | 1 | 2 |  | 0 | 0 | 1 | 1 |  | 0 | 1 | 1 | 2 |  | 0 | 1 | 1 | 2 |  | 0 | 0 | 1 | 1 |  | 0 | 0 | 1 | 1 |  | 0 | 1 | 1 | 2 |  | 0 | 0 | 1 | 1 |  | 0 | 1 | 1 | 2 |  | 0 | 0 | 1 | 1 |  | 0 | 1 | 1 | 2 |  | 0 | 0 | 1 | 1 |  | 0 | 1 | 1 | 2 |  | 0 | 1 | 3 | 4
(4, 5, 3) | Y7 |  | Back | 11213 | 0 | 1 | 4 | 5 |  | 0 | 1 | 3 | 4 |  | 0 | 1 | 3 | 4 |  | 0 | 1 | 6 | 7 |  | 0 | 2 | 7 | 9 |  | 0 | 2 | 5 | 7 |  | 0 | 1 | 1 | 2 |  | 0 | 1 | 1 | 2 |  | 0 | 1 | 1 | 2 |  | 0 | 2 | 6 | 8 |  | 0 | 2 | 7 | 9 |  | 0 | 2 | 7 | 9 |  | 0 | 2 | 7 | 9 |  | 0 | 2 | 3 | 5 |  | 1 | 1 | 1 | 3 |  | 0 | 1 | 1 | 2 |  | 0 | 1 | 1 | 2 |  | 1 | 1 | 2 | 4 |  | 0 | 2 | 7 | 9 |  | 0 | 2 | 7 | 9 |  | 0 | 2 | 5 | 7 |  | 0 | 1 | 2 | 3 |  | 0 | 1 | 1 | 2 |  | 1 | 1 | 0 | 2 |  | 0 | 1 | 1 | 2 |  | 0 | 1 | 2 | 3 |  | 0 | 2 | 5 | 7 |  | 0 | 2 | 7 | 9 |  | 0 | 2 | 4 | 6 |  | 0 | 1 | 2 | 3 |  | 0 | 1 | 1 | 2 |  | 1 | 1 | 0 | 2 |  | 1 | 1 | 1 | 3 |  | 0 | 1 | 1 | 2 |  | 0 | 1 | 6 | 7
(6, 7, 3) | X7 | MID 127 | Front | 2622 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0
(2, 3, 3) | X6 |  | Back | 2691 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0
(0, 1, 3) | Y6 | HVY 053 | Front | 2678 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0
(4, 5, 2) | Y5 |  | Back | 3119 | 0 | 1 | 0 | 1 |  | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0
(6, 7, 2) | X5 | HVY 059 | Front | 2047 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0
(2, 3, 2) | X4 |  | Back | 3121 | 1 | 1 | 0 | 2 |  | 1 | 1 | 0 | 2 |  | 1 | 1 | 0 | 2 |  | 1 | 1 | 0 | 2 |  | 1 | 1 | 0 | 2 |  | 1 | 1 | 0 | 2 |  | 1 | 1 | 0 | 2 |  | 1 | 1 | 0 | 2 |  | 1 | 1 | 0 | 2 |  | 1 | 1 | 0 | 2 |  | 1 | 1 | 0 | 2 |  | 1 | 1 | 0 | 2 |  | 1 | 1 | 0 | 2 |  | 1 | 1 | 0 | 2 |  | 1 | 1 | 0 | 2 |  | 1 | 1 | 0 | 2 |  | 1 | 1 | 0 | 2 |  | 1 | 1 | 0 | 2 |  | 1 | 1 | 0 | 2 |  | 1 | 1 | 0 | 2 |  | 1 | 1 | 0 | 2 |  | 1 | 1 | 0 | 2 |  | 1 | 1 | 0 | 2 |  | 1 | 1 | 0 | 2 |  | 1 | 1 | 0 | 2 |  | 1 | 1 | 0 | 2 |  | 1 | 1 | 0 | 2 |  | 1 | 1 | 0 | 2 |  | 1 | 1 | 0 | 2 |  | 1 | 1 | 0 | 2 |  | 1 | 1 | 0 | 2 |  | 1 | 1 | 0 | 2 |  | 1 | 1 | 0 | 2 |  | 1 | 1 | 0 | 2 |  | 1 | 1 | 0 | 2
(0, 1, 2) | Y4 | HVY 060 | Front | 2565 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0
(4, 5, 1) | Y3 |  | Back | 3096 | 0 | 1 | 2 | 3 |  | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 |  | 0 | 1 | 2 | 3
(6, 7, 1) | X3 | HVY 061 | Front | 2570 | 1 | 0 | 1 | 2 |  | 1 | 0 | 1 | 2 |  | 1 | 0 | 1 | 2 |  | 1 | 0 | 1 | 2 |  | 1 | 0 | 1 | 2 |  | 1 | 0 | 1 | 2 |  | 1 | 0 | 1 | 2 |  | 1 | 0 | 1 | 2 |  | 1 | 0 | 1 | 2 |  | 1 | 0 | 1 | 2 |  | 1 | 0 | 1 | 2 |  | 1 | 0 | 1 | 2 |  | 1 | 0 | 1 | 2 |  | 1 | 0 | 1 | 2 |  | 1 | 0 | 1 | 2 |  | 1 | 0 | 1 | 2 |  | 1 | 0 | 1 | 2 |  | 1 | 0 | 1 | 2 |  | 1 | 0 | 1 | 2 |  | 1 | 0 | 1 | 2 |  | 1 | 0 | 1 | 2 |  | 1 | 0 | 1 | 2 |  | 1 | 0 | 1 | 2 |  | 1 | 0 | 1 | 2 |  | 1 | 0 | 1 | 2 |  | 1 | 0 | 1 | 2 |  | 1 | 0 | 1 | 2 |  | 1 | 0 | 1 | 2 |  | 1 | 0 | 1 | 2 |  | 1 | 0 | 1 | 2 |  | 1 | 0 | 1 | 2 |  | 1 | 0 | 1 | 2 |  | 1 | 0 | 1 | 2 |  | 1 | 0 | 1 | 2 |  | 1 | 0 | 1 | 2
(2, 3, 1) | X2 |  | Back | 3098 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0
(0, 1, 1) | Y2 | LGT 093 | Front | 2577 | 1 | 1 | 0 | 2 |  | 1 | 1 | 0 | 2 |  | 1 | 1 | 0 | 2 |  | 1 | 1 | 0 | 2 |  | 1 | 1 | 0 | 2 |  | 1 | 1 | 0 | 2 |  | 1 | 1 | 0 | 2 |  | 1 | 1 | 0 | 2 |  | 1 | 1 | 0 | 2 |  | 1 | 1 | 0 | 2 |  | 1 | 1 | 0 | 2 |  | 1 | 1 | 0 | 2 |  | 1 | 1 | 0 | 2 |  | 1 | 1 | 0 | 2 |  | 1 | 1 | 0 | 2 |  | 1 | 1 | 0 | 2 |  | 1 | 1 | 0 | 2 |  | 1 | 1 | 0 | 2 |  | 1 | 1 | 0 | 2 |  | 1 | 1 | 0 | 2 |  | 1 | 1 | 0 | 2 |  | 1 | 1 | 0 | 2 |  | 1 | 1 | 0 | 2 |  | 1 | 1 | 0 | 2 |  | 1 | 1 | 0 | 2 |  | 1 | 1 | 0 | 2 |  | 1 | 1 | 0 | 2 |  | 1 | 1 | 0 | 2 |  | 1 | 1 | 0 | 2 |  | 1 | 1 | 0 | 2 |  | 1 | 1 | 0 | 2 |  | 1 | 1 | 0 | 2 |  | 1 | 1 | 0 | 2 |  | 1 | 1 | 0 | 2 |  | 1 | 1 | 0 | 2
(4, 5, 0) | Y1 |  | Back | 2596 | 0 | 1 | 2 | 3 |  | 0 | 0 | 0 | 0 |  | 0 | 0 | 1 | 1 |  | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0
(6, 7, 0) | X1 | LGT 040 | Front | 2643 | 0 | 1 | 0 | 1 |  | 0 | 1 | 0 | 1 |  | 0 | 1 | 0 | 1 |  | 0 | 1 | 0 | 1 |  | 0 | 1 | 0 | 1 |  | 0 | 1 | 0 | 1 |  | 0 | 1 | 0 | 1 |  | 0 | 1 | 0 | 1 |  | 0 | 1 | 0 | 1 |  | 0 | 1 | 0 | 1 |  | 0 | 1 | 0 | 1 |  | 0 | 1 | 0 | 1 |  | 0 | 1 | 0 | 1 |  | 0 | 1 | 0 | 1 |  | 0 | 1 | 0 | 1 |  | 0 | 1 | 0 | 1 |  | 0 | 1 | 0 | 1 |  | 0 | 1 | 0 | 1 |  | 0 | 1 | 0 | 1 |  | 0 | 1 | 0 | 1 |  | 0 | 1 | 0 | 1 |  | 0 | 1 | 0 | 1 |  | 0 | 1 | 0 | 1 |  | 0 | 1 | 0 | 1 |  | 0 | 1 | 0 | 1 |  | 0 | 1 | 0 | 1 |  | 0 | 1 | 0 | 1 |  | 0 | 1 | 0 | 1 |  | 0 | 1 | 0 | 1 |  | 0 | 1 | 0 | 1 |  | 0 | 1 | 0 | 1 |  | 0 | 1 | 0 | 1 |  | 0 | 1 | 0 | 1 |  | 0 | 1 | 0 | 1 |  | 0 | 1 | 0 | 1
(2, 3, 0) | X0 |  | Back | 2607 | 0 | 2 | 0 | 2 |  | 0 | 1 | 0 | 1 |  | 0 | 1 | 0 | 1 |  | 0 | 1 | 0 | 1 |  | 0 | 1 | 0 | 1 |  | 0 | 1 | 0 | 1 |  | 0 | 1 | 0 | 1 |  | 0 | 1 | 0 | 1 |  | 0 | 1 | 0 | 1 |  | 0 | 1 | 0 | 1 |  | 0 | 1 | 0 | 1 |  | 0 | 1 | 0 | 1 |  | 0 | 1 | 0 | 1 |  | 0 | 1 | 0 | 1 |  | 0 | 1 | 0 | 1 |  | 0 | 1 | 0 | 1 |  | 0 | 1 | 0 | 1 |  | 0 | 1 | 0 | 1 |  | 0 | 1 | 0 | 1 |  | 0 | 1 | 0 | 1 |  | 0 | 1 | 0 | 1 |  | 0 | 1 | 0 | 1 |  | 0 | 1 | 0 | 1 |  | 0 | 1 | 0 | 1 |  | 0 | 1 | 0 | 1 |  | 0 | 1 | 0 | 1 |  | 0 | 1 | 0 | 1 |  | 0 | 1 | 0 | 1 |  | 0 | 1 | 0 | 1 |  | 0 | 1 | 0 | 1 |  | 0 | 1 | 0 | 1 |  | 0 | 1 | 0 | 1 |  | 0 | 1 | 0 | 1 |  | 0 | 1 | 0 | 1 |  | 0 | 1 | 0 | 1
(0, 1, 0) | Y0 | BTM 009 | Front | 2272 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0
|  | Total |  |  | 9 | 31 | 34 | 74 |  | 9 | 21 | 22 | 52 |  | 9 | 23 | 23 | 55 |  | 8 | 23 | 28 | 59 |  | 8 | 24 | 24 | 56 |  | 9 | 24 | 18 | 51 |  | 9 | 23 | 13 | 45 |  | 9 | 21 | 9 | 39 |  | 9 | 22 | 11 | 42 |  | 8 | 24 | 19 | 51 |  | 9 | 24 | 23 | 56 |  | 7 | 24 | 30 | 61 |  | 8 | 25 | 26 | 59 |  | 10 | 25 | 16 | 51 |  | 11 | 22 | 13 | 46 |  | 9 | 23 | 9 | 41 |  | 10 | 23 | 12 | 45 |  | 11 | 23 | 14 | 48 |  | 10 | 24 | 20 | 54 |  | 6 | 24 | 25 | 55 |  | 7 | 24 | 21 | 52 |  | 10 | 23 | 14 | 47 |  | 10 | 22 | 13 | 45 |  | 11 | 22 | 7 | 40 |  | 10 | 23 | 10 | 43 |  | 10 | 22 | 15 | 47 |  | 10 | 23 | 21 | 54 |  | 6 | 22 | 28 | 56 |  | 10 | 23 | 19 | 52 |  | 8 | 23 | 14 | 45 |  | 10 | 22 | 9 | 41 |  | 11 | 23 | 7 | 41 |  | 11 | 22 | 9 | 42 |  | 9 | 23 | 11 | 43 |  | 10 | 25 | 33 | 68
Note: | [9 empty] | 0 | -10 | -12 | -22 |  | 0 | 2 | 1 | 3 |  | -1 | 0 | 5 | 4 |  | 0 | 1 | -4 | -3 |  | 1 | 0 | -6 | -5 |  | 0 | -1 | -5 | -6 |  | 0 | -2 | -4 | -6 |  | 0 | 1 | 2 | 3 |  | -1 | 2 | 8 | 9 |  | 1 | 0 | 4 | 5 |  | -2 | 0 | 7 | 5 |  | 1 | 1 | -4 | -2 |  | 2 | 0 | -10 | -8 |  | 1 | -3 | -3 | -5 |  | -2 | 1 | -4 | -5 |  | 1 | 0 | 3 | 4 |  | 1 | 0 | 2 | 3 |  | -1 | 1 | 6 | 6 |  | -4 | 0 | 5 | 1 |  | 1 | 0 | -4 | -3 |  | 3 | -1 | -7 | -5 |  | 0 | -1 | -1 | -2 |  | 1 | 0 | -6 | -5 |  | -1 | 1 | 3 | 3 |  | 0 | -1 | 5 | 4 |  | 0 | 1 | 6 | 7 |  | -4 | -1 | 7 | 2 |  | 4 | 1 | -9 | -4 |  | -2 | 0 | -5 | -7 |  | 2 | -1 | -5 | -4 |  | 1 | 1 | -2 | 0 |  | 0 | -1 | 2 | 1 |  | -2 | 1 | 2 | 1 |  | 1 | 2 | 22 | 25
Used Test
n disc. ch. (Low ENC) | NoiseAndGain
n daed | NoiseAndGain
n noisy | NoiseOccupancy
TRAY XXX

## data4plot
Tower 10 | TV CPT pre TV test - No Cable 2-5 | TV CPT vacuum RT - No Cable 2-5 | TWR13: 30C LPT from RT to first hot soak | TWR13: first hot soak CPT | TWR13: LPT 30C first rump down | TWR13: LPT 15C first rump down | TWR13: LPT 0C first rump down | TWR13: CPT at 1st cold soak | TWR13: LPT at 0C | TWR13: LPT at 15C | TWR13: LPT at 30C | TWR13: CPT at 2nd hot soak | TWR13: LPT at 30C | TWR13: LPT at 15C | TWR13: LPT at 0C | TWR13: CPT 2nd Cold Soak |  |  | LPT at 0C from 2nd cold soak to 3rd hot. | LPT at 15C from 2nd cold soak to 3rd hot. | LPT at 30C from 2nd cold soak to 3rd hot. | CPT at 3rd hot soak. | LPT at 30C from third hot to third cold soak | 3rd rump down LPT at 15C | 3rd rump down LPT at 0C | 3rd Cold Soak | 3rd rump up LPT at 0C | 3rd rump up LPT at 15C | 3rd rump up LPT at 30C | CPT at 4th hot soak. | 4th rump down LPT at 30C | 4th rump down LPT at 15C | 4th rump down LPT at 0C | 4th Cold Soak | 5th rump up LPT at 0C | CPT in vacuum room T | PostVib-Preship CPT (INFN/PI-gamma-75)
Y17 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0
X17 | 2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 0 | 0 | 0 |  |  | 0 | 0 | 0 | 1 | 1 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 1 | 0 | 0 | 0 | 0 | 0 | 2
X16 | 5 | 6 | 6 | 6 | 6 | 6 | 6 | 4 | 4 | 6 | 6 | 6 | 6 | 7 | 6 | 4 |  |  | 5 | 6 | 6 | 6 | 6 | 6 | 6 | 4 | 5 | 6 | 2 | 6 | 6 | 6 | 4 | 4 | 4 | 4 | 5
Y16 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Y15 | 0 | 1 | 1 | 1 | 1 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 0 | 0 | 0 | 0 |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 4 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1
X15 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5 |  |  | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 4 | 5 | 5 | 5 | 5 | 5 | 5 | 5
X14 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Y14 | 8 | 5 | 6 | 7 | 6 | 5 | 4 | 4 | 4 | 5 | 5 | 8 | 8 | 5 | 4 | 4 |  |  | 4 | 4 | 4 | 5 | 5 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 5 | 4 | 4 | 4 | 4 | 4 | 6
Y13 | 2 | 2 | 2 | 1 | 1 | 2 | 2 | 2 | 2 | 2 | 3 | 1 | 1 | 2 | 3 | 3 |  |  | 3 | 3 | 3 | 1 | 1 | 3 | 3 | 3 | 3 | 3 | 3 | 2 | 2 | 3 | 3 | 3 | 3 | 3 | 4
X13 | 2 | 1 | 1 | 2 | 2 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 |  |  | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1
X12 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 1 | 0 | 0 |  |  | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 1 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Y12 | 1 | 1 | 1 | 2 | 1 | 1 | 2 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 |  |  | 1 | 1 | 1 | 2 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 2 | 2 | 1 | 1 | 1 | 1 | 1 | 1
Y11 | 3 | 2 | 3 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 3 | 2 | 2 | 2 | 2 | 2 |  |  | 2 | 2 | 3 | 2 | 2 | 2 | 2 | 1 | 2 | 2 | 3 | 2 | 2 | 2 | 2 | 1 | 2 | 2 | 2
X11 | 6 | 3 | 3 | 3 | 2 | 2 | 1 | 2 | 2 | 1 | 2 | 2 | 3 | 2 | 1 | 1 |  |  | 2 | 2 | 2 | 1 | 2 | 2 | 2 | 2 | 2 | 2 | 3 | 1 | 3 | 0 | 2 | 2 | 2 | 1 | 4
X10 | 2 | 1 | 1 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2 | 1 | 0 | 0 | 0 |  |  | 0 | 0 | 0 | 1 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 2 | 0 | 0 | 0 | 0 | 0 | 0 | 1
Y10 | 8 | 6 | 6 | 5 | 5 | 5 | 5 | 4 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5 |  |  | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 4 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 8
Y9 | 5 | 6 | 4 | 4 | 4 | 4 | 4 | 2 | 4 | 4 | 4 | 5 | 4 | 4 | 4 | 2 |  |  | 4 | 4 | 4 | 5 | 4 | 4 | 4 | 2 | 2 | 4 | 4 | 5 | 4 | 4 | 2 | 2 | 2 | 4 | 5
X9 | 2 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 |  |  | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1
X8 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Y8 | 2 | 0 | 2 | 3 | 3 | 2 | 2 | 1 | 1 | 2 | 2 | 2 | 2 | 2 | 2 | 2 |  |  | 2 | 2 | 2 | 2 | 1 | 2 | 1 | 2 | 2 | 1 | 1 | 2 | 1 | 2 | 1 | 2 | 1 | 2 | 4
Y7 | 5 | 4 | 4 | 7 | 9 | 7 | 2 | 2 | 2 | 8 | 9 | 9 | 9 | 5 | 2 | 2 |  |  | 2 | 4 | 9 | 9 | 7 | 3 | 2 | 2 | 2 | 3 | 7 | 9 | 6 | 3 | 2 | 2 | 3 | 2 | 7
X7 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
X6 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Y6 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Y5 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
X5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
X4 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 |  |  | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2
Y4 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Y3 | 3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 3
X3 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 |  |  | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2
X2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Y2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 |  |  | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2
Y1 | 3 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
X1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 |  |  | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1
X0 | 2 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 |  |  | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1
Y0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| 16 | 16 | 16 | 16 | 16 | 16 | 16 | 16 | 16 | 16 | 16 | 16 | 16 | 16 | 16 | 16 | 16 | 16 | 16 | 16 | 16 | 16 | 16 | 16 | 16 | 16 | 16 | 16 | 16 | 16 | 16 | 16 | 16 | 16 | 16 | 16 | 16 | 16