## Bad chans Data (2)
Tower 16 |  |  |  |  | Tray test |  | Tower in assembly jig (INFN/PI-g-85) |  |  |  | Tower CPT before ship (INFN/PI-g-86)
(GTCCs, GTRC) | Layer | Tray | Side | MCM | Bad | Note | n disc. | n dead | n noisy | Bad | n disc. | n dead | n noisy | Bad
[7 empty] | (Low ENC) |  |  |  | (Low ENC)
(4, 5, 8) | Y17 | TOP 023 | Back | 2144 | 20 | 19 disconnected | 19 | 1 | 1 | 21 | 19 | 1 | 1 | 21
(6, 7, 8) | X17 | MID 010 | Front | 260 | 4 | from tower 7: crazy ladders @ Hi T GTRC LO, Front Side, Not working | 0 | 3 | 3 | 6 |  | 3 |  | 3
(2, 3, 8) | X16 |  | Back | 263 | 0 |  |  |  |  | 0 |  |  |  | 0
(0, 1, 8) | Y16 | MID 012 | Front | 391 | 0 |  |  |  |  | 0 |  |  |  | 0
(4, 5, 7) | Y15 |  | Back | 453 | 160 | 160 disconnected | 158 | 1 |  | 159 | 158 | 1 |  | 159
(6, 7, 7) | X15 | MID 011 | Front | 385 | <16 |  |  |  |  | 0 |  |  |  | 0
(2, 3, 7) | X14 |  | Back | 346 | <16 |  |  | 2 |  | 2 |  | 2 |  | 2
(0, 1, 7) | Y14 | MID 008 | Front | 443 | 3 |  |  |  | 3 | 3 |  |  | 2 | 2
(4, 5, 6) | Y13 |  | Back | 623 | 1 |  |  | 1 |  | 1 |  | 1 |  | 1
(6, 7, 6) | X13 | MID 184 | Front | 11120 | 40 |  | 32 | 2 | 2 | 36 | 32 | 3 | 5 | 40
(2, 3, 6) | X12 |  | Back | 11353 | 22 |  | 17 | 4 | 10 | 31 | 13 | 4 | 14 | 31
(0, 1, 6) | Y12 | MID 122 | Front | 2282 | 2 |  |  | 2 | 2 | 4 |  | 2 | 2 | 4
(4, 5, 5) | Y11 |  | Back | 2028 | 69 | Non working GTFE 2, but data and trigger works fine (after ~1hr) | 1 | 66 | 2 | 69 | 1 | 66 | 2 | 69
(6, 7, 5) | X11 | MID 173 | Front | 529 | 17 | 17 disconnected | 13 | 1 | 1 | 15 | 13 | 1 | 1 | 15
(2, 3, 5) | X10 |  | Back | 881 | 15 | 14 disconnected | 9 |  | 1 | 10 | 5 |  | 1 | 6
(0, 1, 5) | Y10 | MID 063 | Front | 448 | 23 | HV Short in Vacuum | 22 |  |  | 22 | 22 |  |  | 22
(4, 5, 4) | Y9 |  | Back | 436 | 4 |  | 2 | 1 | 1 | 4 | 2 | 1 | 1 | 4
(6, 7, 4) | X9 | MID 148 | Front | 2652 | 1 | Fiber peeling |  | 1 |  | 1 |  | 1 |  | 1
(2, 3, 4) | X8 |  | Back | 2576 | 3 |  |  | 2 | 4 | 6 |  | 2 | 7 | 9
(0, 1, 4) | Y8 | MID 046 | Front | 458 | 1 | From Tower 0: Connectors Out of Stay-clear |  |  | 1 | 1 |  |  | 1 | 1
(4, 5, 3) | Y7 |  | Back | 468 | 3 |  | 3 |  |  | 3 | 3 |  |  | 3
(6, 7, 3) | X7 | MID 007 | Front | 259 | 7 | from tower 8: crazy ladders @ Hi T | 3 |  |  | 3 | 3 |  |  | 3
(2, 3, 3) | X6 |  | Back | 314 | 2 |  |  |  | 3 | 3 |  | 1 | 3 | 4
(0, 1, 3) | Y6 | HEA 067 | Front | 2654 | 0 |  |  | 7 | 3 | 10 |  | 7 | 7 | 14
(4, 5, 2) | Y5 |  | Back | 3156 | 2 |  | 2 |  |  | 2 | 2 |  |  | 2
(6, 7, 2) | X5 | HEA 069 | Front | 2681 | 0 |  |  |  |  | 0 |  |  |  | 0
(2, 3, 2) | X4 |  | Back | 3273 | 1 |  |  |  |  | 0 |  |  | 6 | 6
(0, 1, 2) | Y4 | HEA 079 | Front | 11504 | 7 |  | 7 | 1 | 1 | 9 | 7 | 1 | 2 | 10
(4, 5, 1) | Y3 |  | Back | 3175 | 3 |  | 2 |  | 2 | 4 | 2 |  | 1 | 3
(6, 7, 1) | X3 | HEA 081 | Front | 13077 | 7 |  | 1 |  | 2 | 3 | 1 | 1 | 3 | 5
(2, 3, 1) | X2 |  | Back | 3254 | 3 |  |  |  | 3 | 3 |  | 2 | 5 | 7
(0, 1, 1) | Y2 | LGT 015 | Front | 627 | 22 | From Tower 0 | 22 |  | 2 | 24 | 22 |  | 2 | 24
(4, 5, 0) | Y1 |  | Back | 631 | 6 |  | 3 |  |  | 3 | 3 |  |  | 3
(6, 7, 0) | X1 | LGT 501 | Front | 13086 | 0 | 8 disconnected |  |  |  | 0 |  |  |  | 0
(2, 3, 0) | X0 |  | Back | 351 | 12 |  | 2 | 2 | 2 | 6 | 3 | 2 | 3 | 8
(0, 1, 0) | Y0 | BTM 018 | Front | 2693 | 13 | Short found after twr assy, solved removing few dead chans | 5 | 8 | 3 | 16 | 6 | 7 | 2 | 15
|  | Total |  |  |  |  | 323 | 105 | 52 | 480 | 317 | 109 | 71 | 497
Note: |  | Fraction | [7 empty] | 0.8681% |  |  |  | 0.8988%
Used Test
n disc. ch. (Low ENC) | NoiseAndGain
n daed | NoiseAndGain
n noisy | NoiseOccupancy

## Bad chans Data
Tower 16 |  |  |  |  | Tray test |  | Tower in assembly jig (INFN/PI-gamma 85) |  |  |  |  | Tower CPT before shipment (INFN/PI-gamma 86)
(GTCCs, GTRC) | Layer | Tray | Side | MCM | Bad | Note | n disc. | n dead | n noisy | Bad | Notes | n disc. | n dead | n noisy | Bad | Notes
[7 empty] | (Low ENC) |  |  |  |  | (Low ENC)
(4, 5, 8) | Y17 | TOP 023 | Back | 2144 | 20 | 19 disconnected | 19 | 1 | 1 | 21 |  | 19 | 1 | 1 | 21
(6, 7, 8) | X17 | MID 010 | Front | 260 | 4 | from tower 7: crazy ladders @ Hi T GTRC LO, Front Side, Not working | 0 | 3 | 3 | 6 |  |  | 3 |  | 3
(2, 3, 8) | X16 |  | Back | 263 | 0 |  |  |  |  | 0 |  |  |  |  | 0
(0, 1, 8) | Y16 | MID 012 | Front | 391 | 0 |  |  |  |  | 0 |  |  |  |  | 0
(4, 5, 7) | Y15 |  | Back | 453 | 160 | 160 disconnected | 158 | 1 |  | 159 |  | 158 | 1 |  | 159
(6, 7, 7) | X15 | MID 011 | Front | 385 | <16 |  |  |  |  | 0 |  |  |  |  | 0
(2, 3, 7) | X14 |  | Back | 346 | <16 |  |  | 2 |  | 2 |  |  | 2 |  | 2
(0, 1, 7) | Y14 | MID 008 | Front | 443 | 3 | Noisy Chans Only |  |  | 3 | 3 |  |  |  | 2 | 2
(4, 5, 6) | Y13 |  | Back | 623 | 1 | Dead |  | 1 |  | 1 |  |  | 1 |  | 1
(6, 7, 6) | X13 | MID 184 | Front | 11120 | 40 |  | 32 | 2 | 2 | 36 |  | 32 | 3 | 5 | 40
(2, 3, 6) | X12 |  | Back | 11353 | 22 |  | 17 | 4 | 10 | 31 |  | 13 | 4 | 14 | 31
(0, 1, 6) | Y12 | MID 122 | Front | 2282 | 2 |  |  | 2 | 2 | 4 |  |  | 2 | 2 | 4
(4, 5, 5) | Y11 |  | Back | 2028 | 69 | Non working GTFE 2, but data and trigger works fine (after ~1hr) | 1 | 66 | 2 | 69 |  | 1 | 66 | 2 | 69
(6, 7, 5) | X11 | MID 173 | Front | 529 | 17 | 17 disconnected | 13 | 1 | 1 | 15 |  | 13 | 1 | 1 | 15
(2, 3, 5) | X10 |  | Back | 881 | 15 | 14 disconnected | 9 |  | 1 | 10 |  | 5 |  | 1 | 6
(0, 1, 5) | Y10 | MID 063 | Front | 448 | 23 | HV Short in Vacuum | 22 |  |  | 22 |  | 22 |  |  | 22
(4, 5, 4) | Y9 |  | Back | 436 | 4 |  | 2 | 1 | 1 | 4 |  | 2 | 1 | 1 | 4
(6, 7, 4) | X9 | MID 148 | Front | 2652 | 1 | Fiber peeling |  | 1 |  | 1 |  |  | 1 |  | 1
(2, 3, 4) | X8 |  | Back | 2576 | 3 |  |  | 2 | 4 | 6 |  |  | 2 | 7 | 9
(0, 1, 4) | Y8 | MID 046 | Front | 458 | 1 | From Tower 0: Connectors Out of Stay-clear |  |  | 1 | 1 |  |  |  | 1 | 1
(4, 5, 3) | Y7 |  | Back | 468 | 3 |  | 3 |  |  | 3 |  | 3 |  |  | 3
(6, 7, 3) | X7 | MID 007 | Front | 259 | 7 | from tower 8: crazy ladders @ Hi T | 3 |  |  | 3 |  | 3 |  |  | 3
(2, 3, 3) | X6 |  | Back | 314 | 2 |  |  |  | 3 | 3 |  |  | 1 | 3 | 4
(0, 1, 3) | Y6 | HEA 067 | Front | 2654 | 0 |  |  | 7 | 3 | 10 |  |  | 7 | 7 | 14
(4, 5, 2) | Y5 |  | Back | 3156 | 2 |  | 2 |  |  | 2 |  | 2 |  |  | 2
(6, 7, 2) | X5 | HEA 069 | Front | 2681 | 0 |  |  |  |  | 0 |  |  |  |  | 0
(2, 3, 2) | X4 |  | Back | 3273 | 1 |  |  |  |  | 0 |  |  |  | 6 | 6
(0, 1, 2) | Y4 | HEA 079 | Front | 11504 | 7 |  | 7 | 1 | 1 | 9 |  | 7 | 1 | 2 | 10
(4, 5, 1) | Y3 |  | Back | 3175 | 3 |  | 2 |  | 2 | 4 |  | 2 |  | 1 | 3
(6, 7, 1) | X3 | HEA 081 | Front | 13077 | 7 |  | 1 |  | 2 | 3 |  | 1 | 1 | 3 | 5
(2, 3, 1) | X2 |  | Back | 3254 | 3 |  |  |  | 3 | 3 |  |  | 2 | 5 | 7
(0, 1, 1) | Y2 | LGT 015 | Front | 627 | 22 | From Tower 0 | 22 |  | 2 | 24 |  | 22 |  | 2 | 24
(4, 5, 0) | Y1 |  | Back | 631 | 6 |  | 3 |  |  | 3 |  | 3 |  |  | 3
(6, 7, 0) | X1 | LGT 501 | Front | 13086 | 0 | 8 disconnected |  |  |  | 0 |  |  |  |  | 0
(2, 3, 0) | X0 |  | Back | 351 | 12 |  | 2 | 2 | 2 | 6 |  | 3 | 2 | 3 | 8
(0, 1, 0) | Y0 | BTM 018 | Front | 2693 | 13 | Short found after twr assy, solved removing few dead chans | 5 | 8 | 3 | 16 |  | 6 | 7 | 2 | 15
|  | Total |  |  |  |  | 323 | 105 | 52 | 480 |  | 317 | 109 | 71 | 497
Note: |  | Fraction | [7 empty] | 0.8681% |  |  |  |  | 0.8988%
Used Test
n disc. ch. (Low ENC) | NoiseAndGain
n daed | NoiseAndGain
n noisy | NoiseOccupancy

## data4plot
Tower 16 | Tray Test | Tower in assembly jig (INFN/PI-gamma 85) | Tower CPT before shipment (INFN/PI-gamma 86)
Y17 | 20 | 21 | 21
X17 | 4 | 6 | 3
X16 | 0 | 0 | 0
Y16 | 0 | 0 | 0
Y15 | 160 | 159 | 159
X15 | <16 | 0 | 0
X14 | <16 | 2 | 2
Y14 | 3 | 3 | 2
Y13 | 1 | 1 | 1
X13 | 40 | 36 | 40
X12 | 22 | 31 | 31
Y12 | 2 | 4 | 4
Y11 | 69 | 69 | 69
X11 | 17 | 15 | 15
X10 | 15 | 10 | 6
Y10 | 23 | 22 | 22
Y9 | 4 | 4 | 4
X9 | 1 | 1 | 1
X8 | 3 | 6 | 9
Y8 | 1 | 1 | 1
Y7 | 3 | 3 | 3
X7 | 7 | 3 | 3
X6 | 2 | 3 | 4
Y6 | 0 | 10 | 14
Y5 | 2 | 2 | 2
X5 | 0 | 0 | 0
X4 | 1 | 0 | 6
Y4 | 7 | 9 | 10
Y3 | 3 | 4 | 3
X3 | 7 | 3 | 5
X2 | 3 | 3 | 7
Y2 | 22 | 24 | 24
Y1 | 6 | 3 | 3
X1 | 0 | 0 | 0
X0 | 12 | 6 | 8
Y0 | 13 | 16 | 15
| 16 | 16 | 16 | 16 | 16 | 16 | 16 | 16 | 16 | 16 | 16 | 16 | 16 | 16 | 16 | 16 | 16 | 16 | 16 | 16 | 16 | 16 | 16 | 16 | 16 | 16 | 16 | 16 | 16 | 16 | 16 | 16 | 16 | 16 | 16 | 16 | 16 | 16